New Business Practice: 1.13 Current-hour Transmission Service

A new Non-firm Hourly service subclass called Current Hour has been added to the SPP Oasis. The characteristics of Current –hour Transmission Service (CTS) are very similar to Emergency transmission service (ETS). ETS is described in Business Practice 1.11. CTS is designed to provide service beyond those specifically listed in BP 1.11 and is not limited to “emergency” circumstances.

CTS  will have ATC evaluations done the same as other non-firm hourly service. CTS may be utilized for 1 hour only, either the current hour or the next hour but submitted after the 30 minutes prior to the start of the hour deadline normally used for non-firm hourly service. CTS must be purchased for the full hour even if the intent is to schedule the service for a partial hour. It must be scheduled and tagged. CTS is also subject to all applicable scheduling timing requirements and approvals. CTS is not to be used for after the fact transmission usage.