Upgrade complete:

The upgrade of Redbud – Arcadia 345 kV line is completed and the line has been put back in service this afternoon.  On 5/13/2006 at 0000 SPP will apply the new rating of 1426 for the REDARCREDARC flow gate. The old rating was 1195.

The following temporary flow gates that were in place during the upgrade will be made inactive.

5255 RedAr1MusPit                       (Redbud – Arcadia circuit 1. for outage of 345 kV-line Muskogee – Pittsburg)

5256 RedAr2MusPit                       (Redbud – Arcadia circuit 2. for outage of 345 kV-line Muskogee – Pittsburg)

5257 RedAr1WicWod                      (Redbud – Arcadia circuit 1. for outage of 345 kV-line Wichita - Woodring)

5258 RedAr2WicWod                       (Redbud – Arcadia circuit 2. for outage of 345 kV-line Wichita - Woodring)

5259 RedRSSRedAr1                      (Redbud – Riverside for outage of Redbud – Arcadia circuit 1.)

5260 RedRSSRedAr2                      (Redbud – Riverside for outage of Redbud – Arcadia circuit 1.)