## Addendum 1 OF ATTACHMENT BC:

## Sample Request For a High Impact Large Load Delivery Point Initial Assessment

Pursuant to the High Impact Large Load (“HILL”) Delivery Point Limitations Assessment process in Attachment BC of the Tariff, notice is hereby provided on ________________ (date of notice) to _______________(the Host Transmission Owner) and Southwest Power Pool, Inc. (“Transmission Provider”) that Transmission Customer or Network Customer requests certain additions or modifications of in HILL delivery point(s).

Responses marked with an asterisk (*) are required.  Supply all details that are known or projected.

Requested Modification

1)	Description of the HILL delivery point modification or addition*

a)	Type of change requested (new delivery point, upgrade of an existing delivery point, retirement or abandonment of an existing delivery point, etc.) *

b)	Proposed in service date of the modification*

c)	Reason for the requested change (i.e. upgrade, retirement, replacement of existing HILL delivery point facilities; establishment of a HILL delivery point and facilities) *

d)	Related transmission service agreement*

e)	Location of the delivery point change and identification of the facilities involved*

i)	Geographic location of the new HILL delivery point or the HILL delivery point to be modified*

ii)	The transmission facilities of the Host Transmission Owner involved in the change*

iii)	Voltage of the facilities involved*

iv)	Desired metering locations*

v)	Expected impact on other delivery points, if any, including anticipated modifications to other delivery points due to this change *

vi)	Facilities of others that may be involved*

f) Type of HILL (data center, cryptocurrency mining, hydrogen electrolyzer, industrial, commercial, etc.)*

2)	Facilities to be constructed

a)	Facilities to be constructed or provided by the Host Transmission Owner

b)	Facilities to be constructed or provided by the Transmission Customer

3)	Technical Aspects of a HILL delivery point

a)	Location

i)	Located near structure number

ii)	911 address

iii)	State, County and ¼ of ¼ Section number

iv)	GPS Coordinates

b)	Technical aspects

i)	Anticipated service voltage

ii)	Number of wires (3 or 4 wire connection)

iii)	Service voltage

iv)	Metering

(1)	Type

(2)	Voltage

(3)	Supplied by

(4)	Owned by

(5)	PTs and CTs required

(6)	Communications configuration

v)	Anticipated starting load

vi)	Transformer (size, voltages, taps, connection, impedance)

vii)	Transmission line conductor size and impedance rating

viii) Type and location of protective and isolation devices

4)	Request by the Transmission Customer or Network Customer for SPP to provide information detailing the limitations of the Transmission System in supporting any Conditional High Impact Large Load Service.

5)	Details of supporting generation*

i) 	Location of generation (bus number or point of interconnection)*

ii) 	Nameplate capacity of generation*

iii)	 Idev(s) modeling files for supporting generation*

iv) 	DYR modeling file for supporting generation*

v) 	Fuel type*

vi) 	Any expected environmental restrictions (e.g. run-time restrictions) or any other

limitations.

6)	Other pertinent information

Attachments:

1)	Ten-year load forecast (MW and MVAR) for the HILL delivery point being added or modified and any associated changes in the load forecast for other delivery points.*

2)	One-line diagram showing existing and proposed changes to HILL local delivery facilities pertaining to the request. *

3)	Idev modeling file(s) for anticipated load. *

4)	Dynamic model files (Composite Load Model (“CMLD”)). *

5)	The completed “Additional HILL Characteristics Form”, which is located in Southwest Power Pool, Inc.’s Open Access Transmission Tariff Business Practices, Business Practice 7850.*

Requestor Contact:

Name:  ________________________________

Title:  _________________________________

Mailing Address:  _______________________

Email Address:  _________________________

Voice Phone No.:  _______________________

By: ______________________________________

(Representative of Transmission Customer)

Title: ____________________________________

Date: ____________________________________