## Addendum 1 to Attachment AQ

## Sample Request for Change in Local Delivery Facilities

Pursuant to the Delivery Point Assessment Process in Attachment AQ of the Tariff notice is hereby provided on ________________ (date of notice) to _______________(the Host Transmission Owner) and Transmission Provider that Transmission Customer requests certain changes in delivery point(s) under the agreement.

Responses marked with an asterisk (*) are required.  Supply all details that are known or projected.

Requested Modification

1)	Description of  delivery point modification*

a)	Type of change requested (new delivery point, upgrade of an existing delivery point, retirement or abandonment of an existing delivery point, etc.) *

b)	Proposed in service date of the modification*

c)	Reason for the requested change (i.e. upgrade, retirement, replacement of existing delivery point facilities; establishment of a delivery point and facilities; unexpected step load changes at an existing delivery point) *

d)	Related transmission service agreement*

e)	Location of the delivery point change and identification of the facilities involved*

i)	Geographic location of the new delivery point or the delivery point to be modified*

ii)	The transmission facilities of the Host Transmission Owner involved in the change*

iii)	Voltage of the facilities involved*

iv)	Desired meter location*

v)	Expected impact on other delivery points, if any*

(1)	Load transfer from another delivery point and, if so, estimated amount*

(2)	Anticipated modifications to other delivery points due to this change, if any*

vi)	Facilities of others that may be involved*

2)	Facilities to be constructed

a)	Facilities to be constructed or provided by the Host Transmission Owner

b)	Facilities to be constructed or provided by the Transmission Customer

3)	Technical Aspects of a new delivery point

a)	Location

i)	Located near structure number

ii)	911 address

iii)	State, County and ¼ of ¼ Section number

iv)	GPS Coordinates

b)	Technical aspects

i)	Anticipated service voltage

ii)	Number of wires (3 or 4 wire connection)

iii)	Service voltage

iv)	Meter

(1)	Type

(2)	Voltage

(3)	Supplied by

(4)	Owned by

(5)	PTs and CTs required

(6)	Communications configuration

v)	Anticipated starting load

vi)	Transformer size and voltages

vii)	Transmission line conductor size and impedance rating

viii)	Type and location of protective devices

4)	Other pertinent information

Attachments:

1)	Ten year load forecast for the delivery point being added or modified and  any associated changes in the load forecast for other delivery points.

2)	One-line diagram showing existing and proposed changes to local delivery facilities pertaining to the request.

3)  Idev modeling file(s) for anticipated load.

For a High Impact Large Load (“HILL”), the following additional data is required:

1)	Dynamic model files (Composite Load Model (“CMLD”)). *

2)	The completed “Additional HILL Characteristics Form”, which is located in Southwest Power Pool, Inc.’s Open Access Transmission Tariff Business Practices, Business Practice 7850.*

3)	Type of HILL (data center, cryptocurrency mining, hydrogen electrolyzer, industrial, commercial, etc.)*

Requestor Contact:

Name:  ________________________________

Title:  _________________________________

Mailing Address:  _______________________

Email Address:  _________________________

Voice Phone No.:  _______________________

By: ______________________________________

(Representative of Transmission Customer)

Title: ____________________________________

Date: ____________________________________