OATT Attachment AX Provisional Load Process Guidelines

The purpose of the Provisional Load Process (PLP) of Attachment AX is to provide Transmission Customers (Customer) with a process for addition or modification of delivery points, and the Customer does not have enough existing Designated Resources to serve the increased load plus losses.  This document provides the guidelines for interaction between Transmission Customers and SPP pertaining to the Provisional Load Process.

Requests for Provisional Load Process and Associated Timeline

STEP 1.  The Customer submits request for change in Delivery Point facilities.

- Provisional Load requests shall be submitted if:

- It is a new or modified delivery point

- There will be physical changes to delivery point facilities

- The Customer does not have enough existing Designated Resources to serve the increased load plus losses.

- The Customer shall send the following items to SPP at loadstudies@spp.org. NOTE: Exclusion of any of these items will delay acceptance of the PLP request for assessment.

- Fully completed PLP Request Form (available at SPP Studies page on OASIS)

- Fully executed Provisional Load Process Study (“PLPS”) agreement (available at SPP Studies page on OASIS)

- Ten-year load forecast with Summer, Winter and Light loads for the delivery point being added or modified and any associated changes in the load forecast for other delivery points

- One-line diagram showing anticipated load and changes to local delivery facilities pertaining to the request

- Details of planned generation, including the location and amount of the generation, along with the associated idev and DYR files

- Any other useful supplemental information

STEP 2.  SPP shall acknowledge receipt of application.

- SPP will notify the Customer as soon as possible if any information is lacking from application materials, in order that the Customer may provide this information for SPP to assess the request in a timely manner. If the email address of the appropriate contact employee of the Host Transmission Owner for the Customer has been supplied to SPP, they will be copied on this email.

STEP 3.  SPP shall set up a scoping call.

- SPP will reach out to the Customer with some available time slots for a scoping call between SPP, the Customer, and the Transmission Owner (TO) to discuss the details of the study.  The 90-day timeline for the PLPS will begin on the day of the scoping call if SPP determines that all information needed to complete the study has been submitted.

STEP 4.  SPP shall perform the PLPS.

- SPP will assess impacts on the Transmission System caused by adding or modifying a delivery point.  SPP will use power flow, short-circuit, dynamics, and any other analysis that may be appropriate.

- If the Customer, TO, or SPP identify changes in the PLP during the study, SPP will conduct any necessary restudy for the PLPS if acceptable to all parties.  This restudy would be at the expense of the Customer.

- Within 90 days of the scoping call or when SPP receives all necessary information, SPP will complete the study and send the PLPS report to the Customer and the TO.

  - If SPP is unable to complete the study within 90 days, they shall provide an explanation to the Customer and the Host Transmission Owner regarding the cause(s) of delay and a revised completion date.

- After the study has completed, SPP will bill the Customer for the cost of the study.

STEP 4.  The Customer notifies SPP to request an update to the Service Agreement

- The Customer will reply to the email from SPP containing the PLPS report to request that SPP update the Service Agreement.

  - The Service Agreement will only need to be updated if it is for a new delivery point and/or Network Upgrades are identified.

- The Host TO will be responsible for coordinating and ensuring the Model on Demand (MOD) information is submitted through the MOD portal for each applicable DPA request.

STEP 5.  Coordination of Study Results and Impact Mitigation with TO

- SPP and TO shall coordinate transmission facility upgrades if upgrades are needed.

- TO shall notify SPP when official agreement has been reached between Customer and TO regarding load connection facility upgrades.

- SPP will issue a Notification to Construct (NTC) to the Host TO if transmission facilities must be installed.

- The delivery point facilities, as modified, should not be connected to the Transmission System until SPP has authorized such connection.

- In accordance with a NTC, each affected TO shall notify SPP in writing or email that all facilities it has been required to install are completed (a certificate of commercial operation).

- SPP will inform Customer when such notification has been provided by all affected transmission owners.