## Table 1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | Note | Mimimum Allocated ATC (MW) within reservation period | Season of Minimum Allocated ATC within reservation period
SPSM | AG2-2006-074 | 1090699 | WPEK | KCPL | 50 | 2006-10-01 | 2012-01-01 | 2007-09-01 | 2013-09-01 |  |  |  | 0 | 07SP
SPSM | AG2-2006-124 | 1090705 | WPEK | KCPL | 50 | 2006-10-01 | 2012-01-01 | 2007-09-01 | 2013-09-01 |  |  |  | 0 | 07SP

## Table 2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required | 2Potential Base Plan Engineering and Construction Funding Allowable | NOTE | Additional Engineering and Construction Cost for 3rd Party Upgrades | 3 Total Revenue Requirements for Assigned Upgrades over term of reservation without potential base plan funding allocation | 3 Total Revenue Requirements for Assigned Upgrades over term of reservation WITH potential base plan funding allocation | Point-to-Point Base Rate over reservation period | 4Total Cost of Reservation Assignable to Customer contingent upon base plan funding
SPSM | AG2-2006-074 | 1090699 | 223153 | 223153 | 0 |  |  | 310495.31 | 310495.31 | 3168000 | 3168000
SPSM | AG2-2006-124 | 1090705 | 223153 | 223153 | 0 |  |  | 310495.31 | 310495.31 | 3168000 | 3168000
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner plus network upgrades for assigned upgrades less that $100,000 which are base plan funded but still require a letter of credit.
Note 2. If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if PTP base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4. For PTP requests, total cost is based on the higher of the base rate or assigned upgrade revenue requirements. For Network requests, the total cost is based on the assigned upgrade revenue requirement. Allocation of base plan funding will be determined after verification of designated resource meeting Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits required will be determined at a later date.

## Table 3
Customer | Study Number
SPSM | AG2-2006-074
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 1090699 | WPEK | KCPL | 50 | 2006-10-01 | 2012-01-01 | 2007-09-01 | 2013-09-01 | 0 | 3168000 | 223153 | 310495.31
[9 empty] | 0 | 3168000 | 223153 | 310495.31
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
1090699 | MEDICINE LODGE - SUN CITY 115KV CKT 1 | 2007-06-01 | 2007-09-01 | 2007-09-01 |  | 83750 | 167500 | 140962.31
| COLLEGE - CRAIG 161KV CKT 1 DISPLACEMENT | 2011-06-01 | 2011-06-01 |  |  | 139403 | 278805 | 169533
[5 empty] | Total | 223153 | 446305 | 310495.31
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090699 | MARTIN CITY- TURNER ROAD SUBSTATION 161KV CKT 1 | 2006-12-01 | 2007-06-01
| GREENSBURG - JUDSON LARGE 115KV CKT 1 | 2007-04-01 | 2007-06-01
Credits may be required for the following network upgrades directly assigned to transmission customers in previous aggregate study.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090699 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01
Customer | Study Number
SPSM | AG2-2006-124
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 1090705 | WPEK | KCPL | 50 | 2006-10-01 | 2012-01-01 | 2007-09-01 | 2013-09-01 | 0 | 3168000 | 223153 | 310495.31
[9 empty] | 0 | 3168000 | 223153 | 310495.31
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
1090705 | MEDICINE LODGE - SUN CITY 115KV CKT 1 | 2007-06-01 | 2007-09-01 | 2007-09-01 |  | 83750 | 167500 | 140962.31
| COLLEGE - CRAIG 161KV CKT 1 DISPLACEMENT | 2011-06-01 | 2011-06-01 |  |  | 139403 | 278805 | 169533
[5 empty] | Total | 223153 | 446305 | 310495.31
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090699 | MARTIN CITY - TURNER ROAD SUBSTATION 161KV CKT 1 | 2006-12-01 | 2007-06-01
| GREENSBURG - JUDSON LARGE 115KV CKT 1 | 2007-04-01 | 2007-06-01
Credits may be required for the following network upgrades directly assigned to transmission customers in previous aggregate study.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090705 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01

## Table 4
Transmission Owner | Upgrade | Solution | Earliest Data Upgrade Required (COD) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
KACP | COLLEGE - CRAIG 161KV CKT 1 Displacement | Reconductor 4 miles with 1192.5 ACSS, 558 normal/emergency rating and upgrade breaker. | 2011-06-01 | 2011-06-01 | 278805
WEPL | MEDICINE LODGE - SUN CITY 115KV CKT 1 | Replace relay, wavetrap, and CCVT at Judson Large Plant and replace wave trap, CCVT,and CT ratios at Medicine Lodge substation | 2007-06-01 | 2007-09-01 | 167500