## Table 1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | Note | Mimimum Allocated ATC (MW) within reservation period | Season of Minimum Allocated ATC within reservation period
KEPC | AG2-2006-067 | 1090416 | KCPL | WR | 30 | 2010-06-01 | 2030-06-01 | [5 empty] | 0 | 11SP
WRGS | AG2-2006-030 | 1293991 | OKGE | WR | 225 | 2006-10-01 | 2026-10-01 | 2009-07-01 | 2029-07-01 | 2007-06-01 | 2027-06-01 | 1,2 | 0 | 16SP
Note 1: Disregard Redispatch shown in Table 6 for limitations identified earlier than the start date with redispatch with the exception of limitations identified in the 2006 Fall Peak, 2007 Spring Peak, 2007 April Minimum, 2007 Summer Shoulder, and 2007 F
Note 2: Start and Stop Dates are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.

## Table 2
Customer | Study Number | Reservation | 9 Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required | 2Potential Base Plan Engineering and Construction Funding Allowable | NOTE | Additional Engineering and Construction Cost for 3rd Party Upgrades | 3 Total Revenue Requirements for Assigned Upgrades over term of reservation without potential base plan funding allocation | 3 Total Revenue Requirements for Assigned Upgrades over term of reservation WITH potential base plan funding allocation | Point-to-Point Base Rate over reservation period | 4Total Cost of Reservation Assignable to Customer contingent upon base plan funding
KEPC | AG2-2006-067 | 1090416 | 56133 | 64948 | 56133 |  | 0 | 182005 | 0 | 0 | Sch 9 Charges
WRGS | AG2-2006-030 | 1293991 | 55288401 | 1000000 | 55288401 |  | 0 | 122106108 | 0 | 0 | Sch 9 Charges

## Table 3
Customer | Study Number
KEPC | AG2-2006-067
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KEPC | 1090416 | KCPL | WR | 30 | 2010-06-01 | 2030-06-01 |  |  | 56133 | 0 | 64948 | 182005
[9 empty] | 56133 | 0 | 64948 | 182005
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
1090416 | COFFEYVILLE TAP - DEARING 138KV CKT 1 AEPW Displacement | 2011-06-01 | 2011-06-01 |  |  | 8815 | 80140
| COFFEYVILLE TAP - DEARING 138KV CKT 1 WERE Displacement | 2011-06-01 | 2011-06-01 |  |  | 42312 | 384656 | 140933
| ROSE HILL (ROSEHL1X) 345/138/13.8KV TRANSFORMER CKT 3 Displacement | 2011-06-01 | 2011-06-01 |  |  | 13821 | 145580 | 41072
[5 empty] | Total | 64948 | 610376 | 182005
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090416 | CIRCLEVILLE - HOYT HTI SWITCHING JUNCTION 115KV CKT 1 | 2006-12-01 | 2010-06-01
| COFFEYVILLE SUB - CRA 69KV CKT 1 | 2011-06-01 | 2011-06-01
| COFFEYVILLE SUB - DEARING 69KV CKT 1 | 2011-06-01 | 2011-06-01
| COUNTY LINE - HOOK JCT 115KV CKT 1 | 2011-06-01 | 2011-06-01
| COUNTY LINE - TECUMSEH HILL 115KV CKT 1 | 2011-06-01 | 2011-06-01
| CRESWELL (CRESWL1X) 138/69/13.2KV TRANSFORMER | 2012-06-01 | 2012-06-01
| Evans - Grant - Chisolm Rebuild and Conversion Project | 2008-06-01 | 2009-06-01
| HOOK JCT - TECUMSEH ENERGY CENTER 115KV CKT 1 #1 | 2011-06-01 | 2011-06-01
| HOOK JCT - TECUMSEH ENERGY CENTER 115KV CKT 1 #2 | 2011-06-01 | 2011-06-01
| NEOSHO - NORTHEAST PARSONS 138KV CKT 1 | 2013-06-01 | 2013-06-01
| Stranger - Thorton 115 kV | 2010-06-01 | 2010-06-01
| STRANGER CREEK TRANSFORMER CKT 2 | 2011-06-01 | 2011-06-01
| TECUMSEH ENERGY CENTER - TECUMSEH HILL 115KV CKT 1 | 2010-06-01 | 2010-06-01
Construction Pending - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1090416 | IATAN - ST JOE 345KV CKT 1 | 2011-06-01 | 2011-06-01
| RENO - SUMMIT 345KV | 2011-01-01 | 2011-01-01
| WICHITA - RENO 345KV | 2006-12-01 | 2009-07-01
Customer | Study Number
WRGS | AG2-2006-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 1293991 | OKGE | WR | 225 | 2006-10-01 | 2026-10-01 | 2009-07-01 | 2029-07-01 | 55288401 | 0 | 55288401 | 122106108
[9 empty] | 55288401 | 0 | 55288401 | 122106108
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
1086655 | COFFEYVILLE TAP - DEARING 138KV CKT 1 AEPW Displacement | 6/1/2010* | 6/1/2010* |  |  | 71325 | 80140
| COFFEYVILLE TAP - DEARING 138KV CKT 1 WERE Displacement | 6/1/2010* | 6/1/2010* |  |  | 324344 | 384657 | 906016
| ROSE HILL (ROSEHL1X) 345/138/13.8KV TRANSFORMER CKT 3 Displacement | 2011-06-01 | 2011-06-01 |  |  | 131758 | 145579 | 347454
| Sooner to Rose Hill 345 kV OKGE | 2016-06-01 | 2016-06-01 |  |  | 27380487 | 27380487 | 62306245
| Sooner to Rose Hill 345 kV WERE | 2016-06-01 | 2016-06-01 |  |  | 27380487 | 27380487 | 58546393
Note: Sooner to Rose Hill 345kV defers need for CONTINENTAL BLACKS - OSAGE 69KV CKT 1 upgrade |  |  |  |  | Total | 55288401 | 55371350 | 122106108
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1086655 | COFFEYVILLE SUB - CRA 69KV CKT 1 | 6/1/2010* | 6/1/2010*
| COFFEYVILLE SUB - DEARING 69KV CKT 1 | 6/1/2010* | 6/1/2010*
| CRESWELL (CRESWL1X) 138/69/13.2KV TRANSFORMER | 2012-06-01 | 2012-06-01
| DEARING (DEARIN1X) 138/69/13.2KV TRANSFORMER CKT 1 | 2011-12-01 | 2011-12-01
| Evans - Grant - Chisolm Rebuild and Conversion Project | 2008-06-01 | 2009-06-01 |  | Yes
| GILL ENERGY CENTER EAST - INTERSTATE 138KV CKT 1 | 2012-06-01 | 2012-06-01
| Mooreland - Potter 345 kV SPS | 2015-06-01 | 2015-06-01
| Mooreland - Potter 345 kV WFEC | 2015-06-01 | 2015-06-01
| Mooreland 345/138 kV Transformer | 2015-06-01 | 2015-06-01
| POTTER COUNTY INTERCHANGE (POTTR CO) 345/230/13.2KV TRANSFORMER CKT 2 | 2015-06-01 | 2015-06-01
| Spearville - Mooreland 345 kV SUNC | 2015-06-01 | 2015-06-01
| Spearville - Mooreland 345 kV WFEC | 2015-06-01 | 2015-06-01
| STRANGER CREEK TRANSFORMER CKT 2 | 2011-06-01 | 2011-06-01
| TUCO INTERCHANGE 345/115KV TRANSFORMER CKT 1 | 2015-06-01 | 2015-06-01
Credits may be required for the following network upgrades directly assigned to transmission customers in previous aggregate study.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1086655 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01
Construction Pending - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | COD | EOC | Earliest Service Start Date | Redispatch Available
1086655 | RENO - SUMMIT 345KV | 2011-01-01 | 2011-01-01
| WICHITA - RENO 345KV | 2006-12-01 | 2009-07-01 |  | Yes

## Table 4
Transmission Owner | Upgrade | Solution | Earliest Data Upgrade Required (COD) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
AEPW | COFFEYVILLE TAP - DEARING 138KV CKT 1 AEPW Displacement | Rebuild 1.09 miles of line using 1590 ACSR | 2011-06-01 | 2011-06-01 | 80140
OKGE | Sooner to Rose Hill 345 kV OKGE | New 345 kV line from Sooner to Oklahoma/Kansas | 2016-06-01 | 2016-06-01 | 27380487
WERE | COFFEYVILLE TAP - DEARING 138KV CKT 1 WERE Displacement | Tie Line, Rebuild 3.93 miles of 795 ACSR with 1590 ACSR. | 2011-06-01 | 2011-06-01 | 384657
WERE | ROSE HILL (ROSEHL1X) 345/138/13.8KV TRANSFORMER CKT 3 Displacement | Add third 345-138 kV transformer at Rose Hill | 2011-06-01 | 2011-06-01 | 145579
WERE | Sooner to Rose Hill 345 kV WERE | New 345 kV line from Oklahoma/Kansas Stateline to Rose Hill | 2016-06-01 | 2016-06-01 | 27380487