## Executive Summary
Executive Summary: ESR-LA GEN-2015-045 Group 4 Power Flow
Pursuant to the Southwest Power Pool (SPP) Open Access Transmission Tariff (OATT) Revision Request (RR) 676, SPP has conducted this Electric Storage Resource Load Assessment (ESR-LA) for Electric Storage Resource (ESR) generation interconnection requests that are near their Commercial Operation Date (COD). The primary objective of this ESR-LA is to evaluate the impacts of an ESR withdrawing energy from the Transmission System. The study will identify the steady state system constraints associated with connecting the ESR to the area transmission system. The study is designed to identify the maximum allowed withdraw of the interconnecting Generating Facility without requiring additional Network Upgrades. The study analysis for the generation interconnection requests included in this ESR-LA are displayed in this workbook. This workbook provides a convenient method to sort and analyze required study data. The ESR-LA analysis is an active Revision Request (RR) progressing through SPP’s stakeholder process: “RR676 Electric Storage Resource Load Assessment.” The RR submission form with proposed redlines to Attachment V of SPP OATT and throughout BP7250, Section 5, Interconnection Service For Electric Energy Storage Resources is located here: https://spp.org/Documents/73617/RR676.zip In addition, the ESR-LA projects under study and their co-located Electrically Equivalent (EE) units are listed in the Request Tab along with their MW dispatch amount for this analysis. The steady state analysis for the ESR-LA was performed consistent with the DISIS Manual Version 4.0 posted on http://opsportal.spp.org/Studies/Gen. This manual contains details about the DISIS process, methodology, definitions, and useful links. Please review the DISIS Manual and ESR-LA RR, or contact gistudies@spp.org for more information about the study process. This ESR-LA-1 study report includes GEN-2015-045 in the following cluster groups: (04 - Southeast)
DISIS Manual Version 4.0
https://opsportal.spp.org/documents/studies/GI%20MANUAL%20BUSINESS%20PRACTICE_7250_20250225.pdf
ESR-LA RR676 Submission Form
https://spp.org/Documents/73617/RR676.zip
This Group 4 ESR-LA-1 analyzes the impact of interconnecting ESRs for total of:
-10.3MW
Model Used in Steady State Study
2022 ITP Series, DISIS-2021-001 Phase 2 Steady State BC Models
ERIS HVER Light: 2027
By: SPP Generator Interconnection Department
Published: May 20, 2025
The Requests tab has a Study Assumptions column that lists whether the project was under study (ESR-LA) or if it was dispatched as a co-located electrically equivalent (EE) project per the modeling methodology.
Refer to the 'Constraint Violation Criteria' column on the All Thermal tab for constraint identification per the DISIS Manual Section 4.2.2.2.
Note that because the units under study are withdrawing power and have a negative MW dispatch, the TDF will also be negative. This means that the relevant TDFs for impacts will be negative instead of positive (i.e. -3% TDF for base case thermal violations)

## Revision History
Revision History
Date | Author | Change Description
2025-05-20 | SPP | ESR-LA GEN-2015-045 Group 4 Power Flow

## Revision Details
Revision Date | Update Type | Tab Order | Results Data Tab | Update Details

## Requests
Gen Number | Group | Queue | Study Assumptions | Fuel Type | Dispatch Amount (MW) | LOIS Amount | Limiting Element | Service | Area | POI | Status
GEN-2015-045 | 04 SOUTHEAST | DIS-15-2 | ESR-LA-1 | Battery/Storage | -10.3 | -10.3 | None | ER | AEP | Lawton East Side-Sunnyside (Terry Road) 345kV | IA FULLY EXECUTED/COMMERCIAL OPERATION
GEN-2014-057 | 04 SOUTHEAST | DIS-14-2 | EE | Wind | 0 |  |  | ER | AEP | Lawton East Side-Sunnyside (Terry Road) 345kV | IA FULLY EXECUTED/COMMERCIAL OPERATION

## Constraints Summary
Group | Study Name | Service Type | Constraint Type | Constraints | Seasons | Most Severe Contingency | MVA Rate A | MVA Rate B | BC Loading % | TC Loading % | TC Voltage | VMIN | VMAX
04ALL | ESR-LA-1 | ERIS | Thermal | None | 27L | None
04ALL | ESR-LA-1 | ERIS | Non-Converged | None | 27L | None
04ALL | ESR-LA-1 | ERIS | Voltage | None | 27L | None

## All Thermal
SOLUTIONTYPE | Study Name | GROUP | SEASON | SOURCE | DIRECTION | MONTCOMMONNAME | RATEA | RATEB | TDF | TC%LOADING | CONTNAME | Constraint Violation Criteria
Thermal | ESR-LA-1 | 04ALL | 27L | N/A | " | None |  |  |  |  | None
Non-Converged | ESR-LA-1 | 04ALL | 27L | N/A | " | None |  |  |  |  | None

## All Voltage
SOLUTIONTYPE | Study Name | GROUP | SEASON | SOURCE | MONTCOMMONNAME | BC VOLTAGE | TC VOLTAGE | VOLTAGE DIFF | VINIT | VMIN | VMAX | TDF | CONTNAME
Voltage | ESR-LA-1 | 04ALL | 27L | N/A | None | [7 empty] | None