## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | Minimum Allocated ATC (MW) within reservation period | Season of Minimum Allocated ATC within reservation period | ⁵One or More Study Parameters Exceeded
BEPM | AG1-2018-003 | 86883893 | WAUE | WAUE | 200 | 2019-10-01 | 2049-12-01 | 2019-10-01 | 2049-12-01 | Note 4 | Note 4 | 200 | 22SP | NO
BEPM | AG1-2018-004 | 86988042 | SCSE | WAUE | 50 | 2020-10-01 | 2028-04-01 | 2020-10-01 | 2028-04-01 | Note 4 | Note 4 | 50 | 22SP | NO
BPWN | AG1-2018-007 | 87023394 | NPPD | NPPD | 1 | 2019-01-01 | 2031-01-01 | 2019-01-01 | 2031-01-01 | 2019-01-01 | 2031-01-01 | 1 | 19SP | NO
BPWN | AG1-2018-008 | 87024184 | LES | NPPD | 18 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 18 | 19SP | NO
BPWN | AG1-2018-009 | 87024232 | LES | NPPD | 25 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 25 | 19SP | NO
HCPD | AG1-2018-017 | 86925309 | NPPD | NPPD | 9 | 2019-01-01 | 2022-01-01 | 2019-01-01 | 2022-01-01 | 2019-01-01 | 2022-01-01 | 9 | 19SP | NO
HCPD | AG1-2018-018 | 86925329 | NPPD | NPPD | 1 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 1 | 19SP | NO
HCPD | AG1-2018-019 | 86925339 | NPPD | NPPD | 14 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 14 | 19SP | NO
KMEA | AG1-2018-020 | 86972522 | NPPD | SECI | 1 | 2019-05-01 | 2054-10-01 | 2019-05-01 | 2054-10-01 | 2019-05-01 | 2054-10-01 | 1 | 19SP | NO
NWPS | AG1-2018-026 | 86605281 | WAUE | WAUE | 20 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 20 | 19SP | NO
NWPS | AG1-2018-027 | 86605298 | WAUE | WAUE | 20 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 20 | 19SP | NO
OPPM | AG1-2018-028 | 86755780 | LES | OPPD | 50 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 50 | 22SP | NO
OPPM | AG1-2018-029 | 86755822 | LES | OPPD | 61 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 61 | 22SP | NO
SSCN | AG1-2018-033 | 87023553 | LES | NPPD | 5 | 2019-01-01 | 2021-01-01 | 2019-01-01 | 2021-01-01 | 2019-01-01 | 2021-01-01 | 5 | 19SP | NO
SSCN | AG1-2018-034 | 87023685 | LES | NPPD | 15 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 15 | 19SP | NO
TNSK | AG1-2018-035 | 86527825 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 50 | 19SP | NO
TNSK | AG1-2018-036 | 86527828 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 50 | 19SP | NO
WRGS | AG1-2018-037 | 86901218 | WR | WR | 20 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 0 | 19SP | NO
610
Requests with Study Parameters Exceeded
AEPM | AG1-2018-001 | 87008991 | CSWS | CSWS | 300 | 2022-06-01 | 2027-06-01 | 2022-06-01 | 2027-06-01 | Note 4 | Note 4 | 0 | 22SP | YES
BEPM | AG1-2018-002 | 86691232 | RCEAST | WAUE | 70 | 2020-10-01 | 2028-04-01 | 2023-06-01 | 2030-12-01 | Note 4 | Note 4 | 0 | 22SP | YES
BEPM | AG1-2018-005 | 86988317 | SCSE | WAUE | 50 | 2020-10-01 | 2028-04-01 | 2023-06-01 | 2030-12-01 | Note 4 | Note 4 | 0 | 22SP | YES
BPWN | AG1-2018-006 | 87022977 | WAUE | NPPD | 2 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 0 | 19SP | YES
BRPS | AG1-2018-010 | 87015320 | CSWS | NPPD | 14 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | 0 | 22SP | YES
DCT | AG1-2018-011 | 86527842 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
DCT | AG1-2018-012 | 86527850 | CSWS | ERCOTE | 200 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
DCT | AG1-2018-013 | 86527853 | CSWS | ERCOTE | 150 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
DCT | AG1-2018-014 | 86765500 | CSWS | ERCOTE | 500 | 2019-06-01 | 2020-09-01 | 2023-06-01 | 2024-09-01 | Note 4 | Note 4 | 0 | 19SP | YES
ETCT | AG1-2018-015 | 87021360 | OKGE | CSWS | 23 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 0 | 19SP | YES
ETEC | AG1-2018-016 | 87021043 | OKGE | CSWS | 76 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 0 | 19SP | YES
MCPI | AG1-2018-021 | 86527657 | CSWS | ERCOTN | 70 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
MCPI | AG1-2018-022 | 86527679 | CSWS | ERCOTN | 50 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
MCPI | AG1-2018-023 | 86527696 | CSWS | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
MCPI | AG1-2018-024 | 86638341 | WFEC | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
MCPI | AG1-2018-025 | 86638345 | WFEC | ERCOTN | 120 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
REMC | AG1-2018-030 | 86527874 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | Note 4 | Note 4 | 0 | 22SP | YES
SPSM | AG1-2018-031 | 86876399 | SPS | SPS | 80 | 2018-12-01 | 2048-12-01 | 2018-12-01 | 2048-12-01 | Note 4 | Note 4 | 0 | 19SP | YES
SPSM | AG1-2018-032 | 86876404 | SPS | SPS | 150 | 2018-12-01 | 2048-12-01 | 2018-12-01 | 2048-12-01 | Note 4 | Note 4 | 0 | 19SP | YES
WRGS | AG1-2018-038 | 86901409 | WR | WR | 50 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 0 | 19SP | YES
2305
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter)
BEPM | AG1-2018-003 | 86883893 | 814045.87 | 814045.87 | 0 | 8 | 0 | 0 | 0 | 1442512.08 | 0 | 0 | 1442512.08 | 814045.87
BEPM | AG1-2018-004 | 86988042 | 219595.18 | 0 | 219595.18 |  | 0 | 0 | 0 | 0 | 281720.7 | 0 | Schedule 9 & 11 Charges | 0
BPWN | AG1-2018-007 | 87023394 | 66123.09 | 465.22 | 65657.87 |  | 0 | 0 | 0 | 2982.8 | 93003.28 | 0 | 2982.8 | 465.22
BPWN | AG1-2018-008 | 87024184 | 27553.94 | 0 | 27553.94 |  | 0 | 0 | 0 | 0 | 117274.8 | 0 | Schedule 9 & 11 Charges | 0
BPWN | AG1-2018-009 | 87024232 | 29757.05 | 0 | 29757.05 |  | 0 | 0 | 0 | 0 | 127819.8 | 0 | Schedule 9 & 11 Charges | 0
HCPD | AG1-2018-017 | 86925309 | 2093.84 | 2093.84 | 0 |  | 0 | 0 | 0 | 2693.52 | 0 | 0 | 2693.52 | 2093.84
HCPD | AG1-2018-018 | 86925329 | 1148.66 | 0 | 1148.66 |  | 0 | 0 | 0 | 0 | 1603 | 0 | Schedule 9 & 11 Charges | 0
HCPD | AG1-2018-019 | 86925339 | 8603.16 | 0 | 8603.16 |  | 0 | 0 | 0 | 0 | 44610 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG1-2018-020 | 86972522 | 83735.59 | 0 | 83735.59 |  | 0 | 0 | 0 | 0 | 235310 | 0 | Schedule 9 & 11 Charges | 0
NWPS | AG1-2018-026 | 86605281 | 103802.94 | 103802.94 | 0 |  | 0 | 0 | 0 | 151434.76 | 0 | 0 | 151434.76 | 103802.94
NWPS | AG1-2018-027 | 86605298 | 103802.94 | 103802.94 | 0 |  | 0 | 0 | 0 | 151434.76 | 0 | 0 | 151434.76 | 103802.94
OPPM | AG1-2018-028 | 86755780 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2018-029 | 86755822 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SSCN | AG1-2018-033 | 87023553 | 14767.96 | 14767.96 | 0 |  | 0 | 0 | 0 | 17802 | 0 | 0 | 17802 | 14767.96
SSCN | AG1-2018-034 | 87023685 | 14108.49 | 0 | 14108.49 |  | 0 | 0 | 0 | 0 | 31514.4 | 0 | Schedule 9 & 11 Charges | 0
TNSK | AG1-2018-035 | 86527825 | 0 | 0 | 0 |  | 0 | 0 | 0 | 2529047.36 | 0 | 3510991 | 3510991 | 0
TNSK | AG1-2018-036 | 86527828 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 3510991 | 3510991 | 0
WRGS | AG1-2018-037 | 86901218 | 111784.62 | 0 | 111784.62 |  | 0 | 0 | 0 | 0 | 258016 | 0 | Schedule 9 & 11 Charges | 0
Grand Total |  |  | 1600923.33 |  | 561944.56 |  |  | 0 | 0 | 4297907.28 | 1190871.98 |  |  | 1038978.77
Requests with Study Parameters Exceeded
AEPM | AG1-2018-001 | 87008991 | 2056360.73 | 0 | 2056360.73 |  | 3000000 | 0 | 2689519.34 | 0 | 1548331.2 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG1-2018-002 | 86691232 | 40000000 | 27400000 | 12600000 |  | 0 | 41100000 | 18900000 | 0 | 0 | 0 | 41100000 | 27400000
BEPM | AG1-2018-005 | 86988317 | 219595.18 | 0 | 219595.18 |  | 20000000 | 0 | 0 | 0 | 281720.7 | 0 | Schedule 9 & 11 Charges | 0
BPWN | AG1-2018-006 | 87022977 | 6135043.25 | 5775043.25 | 360000 |  | 0 | 7087339 | 442274 | 19903.8 | 0 | 0 | 7107242.8 | 5775043.25
BRPS | AG1-2018-010 | 87015320 | 231184.71 | 231184.71 | 0 |  | 0 | 0 | 0 | 376249.44 | 0 | 0 | Schedule 9 & 11 Charges | 231184.71
DCT | AG1-2018-011 | 86527842 | 10792449.36 | 10792449.36 | 0 |  | 1492537.31 | 0 | 0 | 10792449.36 | 0 | 6803992 | 10792449.36 | 10792449.36
DCT | AG1-2018-012 | 86527850 | 21561065.4 | 21561065.4 | 0 |  | 2985074.63 | 0 | 0 | 21561065.4 | 0 | 13607983.2 | 21561065.4 | 21561065.4
DCT | AG1-2018-013 | 86527853 | 16176760.74 | 16176760.74 | 0 |  | 2238805.97 | 0 | 0 | 16176760.74 | 0 | 10205987.4 | 16176760.74 | 16176760.74
DCT | AG1-2018-014 | 86765500 | 219481896.58 | 219481896.58 | 0 |  | 0 | 416666666.66 | 0 | 11148563.25 | 0 | 36449955 | 427815229.91 | 219481896.58
ETCT | AG1-2018-015 | 87021360 | 1875095.99 | 27896.3 | 1847199.69 |  | 0 | 0 | 0 | 138281.0731 | 3663953.8069 | 0 | Schedule 9 & 11 Charges | 27896.3
ETEC | AG1-2018-016 | 87021043 | 6057443.04 | 49102.6 | 6008340.44 |  | 0 | 0 | 0 | 109921.9964 | 11959771.4436 | 0 | Schedule 9 & 11 Charges | 49102.6
MCPI | AG1-2018-021 | 86527657 | 5480354.74 | 5480354.74 | 0 |  | 1044776.12 | 0 | 0 | 5480354.74 | 0 | 4762794.12 | 5480354.74 | 5480354.74
MCPI | AG1-2018-022 | 86527679 | 3956770.86 | 3956770.86 | 0 |  | 746268.66 | 0 | 0 | 3956770.86 | 0 | 3401995.8 | 3956770.86 | 3956770.86
MCPI | AG1-2018-023 | 86527696 | 7765733.64 | 7765733.64 | 0 |  | 1492537.31 | 0 | 0 | 7765733.64 | 0 | 6803991.6 | 7765733.64 | 7765733.64
MCPI | AG1-2018-024 | 86638341 | 56902492.87 | 56902492.87 | 0 |  | 0 | 109090911.08 | 0 | 2357038.32 | 0 | 6803991.6 | 111447949.4 | 56902492.87
MCPI | AG1-2018-025 | 86638345 | 68259701.51 | 68259701.51 | 0 |  | 0 | 130909090 | 0 | 2805156.06 | 0 | 8164789.92 | 133714246.06 | 68259701.51
REMC | AG1-2018-030 | 86527874 | 41666666.67 | 41666666.67 | 0 |  | 0 | 83333334 | 0 | 0 | 0 | 6803991.6 | 83333334 | 41666666.67
SPSM | AG1-2018-031 | 86876399 | 4097875.65 | 4096549.87 | 1325.78 |  | 0 | 0 | 0 | 7574544 | 2368.8 | 0 | 7574544 | 4096549.87
SPSM | AG1-2018-032 | 86876404 | 6552264.62 | 6549927.45 | 2337.17 |  | 0 | 0 | 0 | 12348986.4 | 4176 | 0 | 12348986.4 | 6549927.45
WRGS | AG1-2018-038 | 86901409 | 5648560.63 | 5615312.8 | 33247.83 |  | 0 | 0 | 0 | 7379740.8 | 47224.8 | 0 | 7379740.8 | 5615312.8
Grand Total |  |  | 524917316.17 |  | 23128406.82 |  | 33000000 | 788187340.74 | 22031793.34 | 109991519.8795 | 17507546.7505 |  |  | 501788909.35
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.

## Table3
Customer | Study Number
BEPM | AG1-2018-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 86883893 | WAUE | WAUE | 200 | 2019-10-01 | 2049-12-01 | 2019-10-01 | 2049-12-01 | 0 | 0 | 814045.87 | 1442512.08
[9 empty] | 0 | 0 | 814045.87 | 1442512.08
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86883893 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86883893 | Daglum - Dickinson 230kV CKT 1 | 2019-03-01 | 2019-03-01 |  |  | 0 | 675571.35 | 675571.35 | 1187533.76
| Hoskins - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 0 | 33683.66 | 33683.66 | 56446.66
| Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 0 | 104790.86 | 104790.86 | 198531.66
[5 empty] | Total | 0 | 814045.87 | 814045.87 | 1442512.08
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2018-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 86988042 | SCSE | WAUE | 50 | 2020-10-01 | 2028-04-01 | 2020-10-01 | 2028-04-01 | 219595.18 | 0 | 219595.18 | 281720.7
[9 empty] | 219595.18 | 0 | 219595.18 | 281720.7
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86988042 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86988042 | Daglum - Dickinson 230kV CKT 1 | 3/1/2019 | 3/1/2019 |  |  | 158867.69 | 196276.5
| Fort Randall - Madison County 230kV Ckt 1 | 2013-12-23 | 2013-12-23 |  |  | 60727.49 | 85444.2
[5 empty] | Total | 219595.18 | 281720.7
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BPWN | AG1-2018-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 87023394 | NPPD | NPPD | 1 | 2019-01-01 | 2031-01-01 | 2019-01-01 | 2031-01-01 | 65657.87 | 0 | 66123.09 | 95986
[9 empty] | 65657.87 | 0 | 66123.09 | 95986
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87023394 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87023394 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 287.06 | 0 | 287.06 | 424.8
| CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 860.67 | 423.91 | 1284.58 | 8236.8
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 83.88 | 41.31 | 125.19 | 802.08
| Rosemont 115kV Substation | 11/1/2017 | 11/1/2017 |  |  | 64426.26 | 0 | 64426.26 | 86522.4
[5 empty] | Total | 65657.87 | 465.22 | 66123.09 | 95986.08
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BPWN | AG1-2018-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 87024184 | LES | NPPD | 18 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 27553.94 | 0 | 27553.94 | 117274.8
[9 empty] | 27553.94 | 0 | 27553.94 | 117274.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87024184 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87024184 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 2012-12-31 | 2012-12-31 |  |  | 3555.59 | 4720.8
| CLIFTON - GREENLEAF 115KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 21867.33 | 102559.2
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 2013-06-01 | 2013-06-01 |  |  | 2131.02 | 9994.8
[5 empty] | Total | 27553.94 | 117274.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BPWN | AG1-2018-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 87024232 | LES | NPPD | 25 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 29757.05 | 0 | 29757.05 | 127819.8
[9 empty] | 29757.05 | 0 | 29757.05 | 127819.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87024232 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87024232 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 2012-12-31 | 2012-12-31 |  |  | 3492.55 | 4637.4
| CLIFTON - GREENLEAF 115KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 23932.24 | 112243.8
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 2013-06-01 | 2013-06-01 |  |  | 2332.26 | 10938.6
[5 empty] | Total | 29757.05 | 127819.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
HCPD | AG1-2018-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
HCPD | 86925309 | NPPD | NPPD | 9 | 2019-01-01 | 2022-01-01 | 2019-01-01 | 2022-01-01 | 0 | 0 | 2093.84 | 2693.52
[9 empty] | 0 | 0 | 2093.84 | 2693.52
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86925309 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86925309 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 2093.84 | 2693.52
[5 empty] | Total | 2093.84 | 2693.52
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: This request is related to OASIS request 86762380.
Customer | Study Number
HCPD | AG1-2018-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
HCPD | 86925329 | NPPD | NPPD | 1 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 1149 | 0 | 1149 | 1603
[9 empty] | 1149 | 0 | 1149 | 1603
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86925329 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86925329 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 314.64 | 451.2
| Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 834.02 | 1152
[5 empty] | Total | 1148.66 | 1603.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: This request is related to OASIS request 86762380.
Customer | Study Number
HCPD | AG1-2018-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
HCPD | 86925339 | NPPD | NPPD | 14 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 8603 | 0 | 8603 | 44610
[9 empty] | 8603 | 0 | 8603 | 44610
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86925339 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86925339 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 1360.43 | 1952.4
| CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 6599.59 | 38869.2
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 643.14 | 3788.4
[5 empty] | Total | 8603.16 | 44610
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: This request is related to OASIS request 86762380.
Customer | Study Number
KMEA | AG1-2018-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 86972522 | NPPD | SECI | 1 | 2019-05-01 | 2054-10-01 | 2019-05-01 | 2054-10-01 | 83736 | 0 | 83736 | 235310
[9 empty] | 83736 | 0 | 83736 | 235310
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86972522 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86972522 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 180.01 | 374
| Antelope - County Line - 115kV Rebuild | 5/1/2017 | 5/1/2017 |  |  | 956.98 | 1797.75
| Battle Creek - County Line 115kV Rebuild | 5/1/2017 | 5/1/2017 |  |  | 912.88 | 1717
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 1114.2 | 14416
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 40065.6 | 76733.75
| Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 426.85 | 854.25
| MEDICINE LODGE - PRATT 115KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 3758.25 | 46962.5
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 351.19 | 5044.75
| North Ft. Dodge - Spearville 115kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 11873.77 | 22741.75
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 1848.99 | 21628.25
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 2495.16 | 5210.5
| Spearville 345/115 kV Transformer CKT 1 | 5/1/2015 | 5/1/2015 |  |  | 19751.71 | 37829.25
[5 empty] | Total | 83735.59 | 235309.75
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NWPS | AG1-2018-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NWPS | 86605281 | WAUE | WAUE | 20 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 0 | 0 | 103803 | 151435
[9 empty] | 0 | 0 | 103803 | 151435
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86605281 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86605281 | Gavins Point - Yankton Junction 115 kV | 2020-10-01 | 2020-10-01 |  |  | 0 | 96517.05 | 96517.05 | 139770.36
| Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 0 | 7285.89 | 7285.89 | 11664.4
[5 empty] | Total | 0 | 103802.94 | 103802.94 | 151434.76
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NWPS | AG1-2018-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NWPS | 86605298 | WAUE | WAUE | 20 | 2018-12-01 | 2039-01-01 | 2018-12-01 | 2039-01-01 | 0 | 0 | 103803 | 151435
[9 empty] | 0 | 0 | 103803 | 151435
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86605298 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86605298 | Gavins Point - Yankton Junction 115 kV | 2020-10-01 | 2020-10-01 |  |  | 0 | 96517.05 | 96517.05 | 139770.36
| Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 0 | 7285.89 | 7285.89 | 11664.4
[5 empty] | Total | 0 | 103802.94 | 103802.94 | 151434.76
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
OPPM | AG1-2018-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 86755780 | LES | OPPD | 50 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86755780 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2018-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 86755822 | LES | OPPD | 61 | 2020-06-01 | 2025-06-01 | 2020-06-01 | 2025-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86755822 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SSCN | AG1-2018-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SSCN | 87023553 | LES | NPPD | 5 | 2019-01-01 | 2021-01-01 | 2019-01-01 | 2021-01-01 | 0 | 0 | 14768 | 17802
[9 empty] | 0 | 0 | 14768 | 17802
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87023553 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87023553 | Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 13609.44 | 16590.72
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 1158.52 | 1211.52
[5 empty] | Total | 14767.96 | 17802.24
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SSCN | AG1-2018-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SSCN | 87023685 | LES | NPPD | 15 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 14108 | 0 | 14108 | 31514
[9 empty] | 14108 | 0 | 14108 | 31514
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87023685 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87023685 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 979.94 | 1301.4
| CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 3750.68 | 17590.8
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 6283.67 | 8034
| Gavins Point - Yankton Junction 115 kV | 2020-10-01 | 2020-10-01 |  |  | 2188.21 | 2278.8
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 365.51 | 1714.2
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 540.48 | 595.2
[5 empty] | Total | 14108.49 | 31514.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG1-2018-035
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 86527825 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 0 | 3510991 | 0 | 0
[9 empty] | 0 | 3510991 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527825 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86527825 | Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 375867.66 | 375867.66
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 765742.32 | 765742.32
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 116805.22 | 116805.22
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 119401.66 | 119401.66
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 9620.52 | 9620.52
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 765742.32 | 765742.32
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 375867.66 | 375867.66
[5 empty] | Total | 2529047.36 | 2529047.36
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG1-2018-036
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 86527828 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 0 | 3510991 | 0 | 0
[9 empty] | 0 | 3510991 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527828 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
WRGS | AG1-2018-037
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 86901218 | WR | WR | 20 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 111785 | 0 | 111785 | 258016
[9 empty] | 111785 | 0 | 111785 | 258016
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86901218 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Base Case Violations Projects - Reported for informational purposes only.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
86901218 | Wolf Creek 345/69kV Transformer #6 (69kV) | 2019-01-01 | 2021-10-01
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86901218 | LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 13858.56 | 118602
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 56292.84 | 79695.6
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 25613.02 | 36853.2
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 16020.2 | 22864.8
[5 empty] | Total | 111784.62 | 258015.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Requests with Study Parameters Exceeded
Customer | Study Number
AEPM | AG1-2018-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AEPM | 87008991 | CSWS | CSWS | 300 | 2022-06-01 | 2027-06-01 | 2022-06-01 | 2027-06-01 | 2056360.73 | 0 | 2056360.73 | 4237850.54
[9 empty] | 2056360.73 | 0 | 2056360.73 | 4237850.54
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87008991 | ONETA - ONETA ENERGY CENTER 345KV CKT 1 | 2022-10-01 | 2022-10-01 |  |  | 750000 | 750000 | 1344759.672
| ONETA - ONETA ENERGY CENTER 345KV CKT 2 | 2022-10-01 | 2022-10-01 |  |  | 750000 | 750000 | 1344759.672
[5 empty] | Total | 1500000 | 1500000 | 2689519.34
Base Case Violations Projects - Reported for informational purposes only.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
87008991 | BROKEN ARROW NORTH - SOUTH TAP - ONETA 138KV CKT 1 | 2022-10-01 | 2022-10-01
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Total E & C Cost | Total Revenue Requirements
87008991 | Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 34629.03 | 53188.2
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 163457.96 | 796306.2
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 81546.96 | 106748.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 20963.62 | 123366.6
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 32058.48 | 136068.6
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 223704.68 | 332653.2
[5 empty] | Total | 556360.73 | 1548331.2
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87008991 | Oneta 345kV Substation (ONTA-1) | 2022-06-01 | 2022-06-01 |  |  | 1500000 | 1500000
| Oneta 345kV Substation (ONTA-2) | 2022-06-01 | 2022-06-01 |  |  | 1500000 | 1500000
[5 empty] | Total | 3000000 | 3000000
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2018-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 86691232 | RCEAST | WAUE | 70 | 2020-10-01 | 2028-04-01 | 2023-06-01 | 2030-12-01 | 12600000 | 0 | 40000000 | 60000000
[9 empty] | 12600000 | 0 | 40000000 | 60000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86691232 | RCEAST HVDC Tie Expansion | 2022-06-01 | 2023-06-01 |  |  | 40000000 | 40000000 | 60000000
[5 empty] | Total | 40000000 | 40000000 | 60000000
Customer | Study Number
BEPM | AG1-2018-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 86988317 | SCSE | WAUE | 50 | 2020-10-01 | 2028-04-01 | 2023-06-01 | 2030-12-01 | 219595.18 | 0 | 219595.18 | 281721
[9 empty] | 219595.18 | 0 | 219595.18 | 281721
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86988317 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86988317 | Daglum - Dickinson 230kV CKT 1 | 3/1/2019 | 3/1/2019 |  |  | 158867.69 | 196276.5
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 60727.49 | 85444.2
[5 empty] | Total | 219595.18 | 281720.7
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86988317 | SCSE HVDC Tie Expansion | 2020-10-01 | 2023-06-01 |  |  | 20000000 | 20000000
[5 empty] | Total | 20000000 | 20000000
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BPWN | AG1-2018-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 87022977 | WAUE | NPPD | 2 | 2019-01-01 | 2024-01-01 | 2019-01-01 | 2024-01-01 | 360000 | 0 | 6135043.25 | 7549516.39
[9 empty] | 360000 | 0 | 6135043.25 | 7549516.39
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87022977 | Kelly - King Hill 115kV Ckt 1 | 2019-06-01 | 2021-06-01 |  |  | 6128924 | 6128924 | 7529612.592
[5 empty] | Total | 6128924 | 6128924 | 7529612.59
Base Case Violations Projects - Reported for informational purposes only.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
87022977 | Circleville - King Hill 115kV Ckt 1 | 2019-06-01 | 2021-06-01
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87022977 | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | 12/31/2012 | 12/31/2012 |  |  | 578.62 | 768
| CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 3236.11 | 15177.6
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 314.07 | 1473
| Hoskins - Dixon County 230kV Line Upgrade | 10/24/2015 | 10/24/2015 |  |  | 334.91 | 368.4
| Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 1655.54 | 2116.8
[5 empty] | Total | 6119.25 | 19903.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG1-2018-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 87015320 | CSWS | NPPD | 14 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | 0 | 0 | 231185 | 376249
[9 empty] | 0 | 0 | 231185 | 376249
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87015320 | None | [6 empty] | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87015320 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 7529.12 | 7529.12 | 32344.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 2122.24 | 2122.24 | 17724
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 1492.87 | 1492.87 | 7751.04
| Sweetwater 230kV Substation GEN-2006-035 Addition | 2012-10-05 | 2012-10-05 |  |  | 0 | 43828.43 | 43828.43 | 62109.12
| Sweetwater 230kV Substation GEN-2006-043 Addition | 2010-03-31 | 2010-03-31 |  |  | 0 | 9060.37 | 9060.37 | 13921.44
| Tap Elk City - Wheeler 230kV (Sweetwater) POI for GEN-2006-002 (NU) | 2012-06-01 | 2012-06-01 |  |  | 0 | 163837.19 | 163837.19 | 234692.64
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 0 | 1844.84 | 1844.84 | 2172
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 1469.65 | 1469.65 | 5534.4
[5 empty] | Total | 0 | 231184.71 | 231184.71 | 376249.44
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
DCT | AG1-2018-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
DCT | 86527842 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 6803992 | 10792449.36 | 10792449.36
[9 empty] | 0 | 6803992 | 10792449.36 | 10792449.36
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527842 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527842 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 1971320.54 | 1971320.54 | 1971320.54
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 21976.92 | 21976.92 | 21976.92
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 6803991.6 | 6803991.6 | 6803991.6
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 1971320.54 | 1971320.54 | 1971320.54
[5 empty] | Total | 0 | 10792449.36 | 10792449.36 | 10792449.36
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527842 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 1492537.31 | 1492537.31
[5 empty] | Total | 1492537.31 | 1492537.31
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
***Available capacity will be allocated on a first come first served basis in accordance with Attachment Z1 III.C.6 of SPP OATT.
Customer | Study Number
DCT | AG1-2018-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
DCT | 86527850 | CSWS | ERCOTE | 200 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 13607983.2 | 21561065.4 | 21561065.4
[9 empty] | 0 | 13607983.2 | 21561065.4 | 21561065.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527850 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527850 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 3942640.94 | 3942640.94 | 3942640.94
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 43960.56 | 43960.56 | 43960.56
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 13607983.2 | 13607983.2 | 13607983.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 3942640.94 | 3942640.94 | 3942640.94
[5 empty] | Total | 0 | 21561065.4 | 21561065.4 | 21561065.4
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527850 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 2985074.63 | 2985074.63
[5 empty] | Total | 2985074.63 | 2985074.63
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
***Available capacity will be allocated on a first come first served basis in accordance with Attachment Z1 III.C.6 of SPP OATT.
Customer | Study Number
DCT | AG1-2018-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
DCT | 86527853 | CSWS | ERCOTE | 150 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 10205987.4 | 16176760.74 | 16176760.74
[9 empty] | 0 | 10205987.4 | 16176760.74 | 16176760.74
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527853 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527853 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 2956980.74 | 2956980.74 | 2956980.74
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 32972.1 | 32972.1 | 32972.1
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 10205987.4 | 10205987.4 | 10205987.4
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 2956980.74 | 2956980.74 | 2956980.74
[5 empty] | Total | 0 | 16176760.74 | 16176760.74 | 16176760.74
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527853 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 2238805.97 | 2238805.97
[5 empty] | Total | 2238805.97 | 2238805.97
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
***Available capacity will be allocated on a first come first served basis in accordance with Attachment Z1 III.C.6 of SPP OATT.
Customer | Study Number
DCT | AG1-2018-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
DCT | 86765500 | CSWS | ERCOTE | 500 | 2019-06-01 | 2020-09-01 | 2023-06-01 | 2024-09-01 | 0 | 36449955 | 219481896.58 | 427815229.91
[9 empty] | 0 | 36449955 | 219481896.58 | 427815229.91
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86765500 | ERCOT East HVDC Tie Expansion | 2019-06-01 | 2023-06-01 |  |  | 208333333.33 | 250000000 | 416666666.66
[5 empty] | Total | 208333333.33 | 250000000 | 416666666.66
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86765500 | Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 966997.2 | 966997.2
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 4153107.9 | 4153107.9
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 4153107.9 | 4153107.9
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 1875350.25 | 1875350.25
[5 empty] | Total | 11148563.25 | 11148563.25
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Available capacity will be allocated on a first come first served basis in accordance with Attachment Z1 III.C.6 of SPP OATT.
Customer | Study Number
ETCT | AG1-2018-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETCT | 87021360 | OKGE | CSWS | 23 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 1847200 | 0 | 1875096 | 3802235
[9 empty] | 1847200 | 0 | 1875096 | 3802235
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87021360 | None | [6 empty] | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Base Case Violations Projects - Reported for informational purposes only.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
87021360 | BIG SANDY - PERDUE 69KV CKT 1 | 2023-06-01 | 2023-06-01
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87021360 | Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 3730.45 | 1837.39 | 5567.84 | 9922.56
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 89456.88 | 0 | 89456.88 | 597009.92
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 10799.98 | 0 | 10799.98 | 71562.24
| Leonard 138kV Switching Station (NU - OGE) | 2017-06-14 | 2017-06-14 |  |  | 4768.98 | 0 | 4768.98 | 7454.72
| Leonard 138kV Switching Station (NU) | 2017-06-06 | 2017-06-06 |  |  | 1668238.25 | 0 | 1668238.25 | 2607582.72
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 28882.33 | 14225.62 | 43107.95 | 347248.64
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 17297.67 | 0 | 17297.67 | 99591.68
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 24025.15 | 11833.29 | 35858.44 | 61862.4
[5 empty] | Total | 1847199.69 | 27896.3 | 1875095.99 | 3802234.88
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
ETEC | AG1-2018-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 87021043 | OKGE | CSWS | 76 | 2019-06-01 | 2040-10-01 | 2019-06-01 | 2040-10-01 | 6008340 | 0 | 6057443 | 12069693
[9 empty] | 6008340 | 0 | 6057443 | 12069693
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87021043 | None | [6 empty] | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Base Case Violations Projects - Reported for informational purposes only.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
87021043 | BIG SANDY - PERDUE 69KV CKT 1 | 2023-06-01 | 2023-06-01
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87021043 | ALUMAX TAP - BANN 138KV CKT 1 | 2008-03-26 | 2008-03-26 |  |  | 77820.2 | 0 | 77820.2 | 624808.96
| Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 12327.14 | 6071.57 | 18398.71 | 32785.92
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 306847.77 | 0 | 306847.77 | 2047810.56
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 35690.32 | 0 | 35690.32 | 236492.8
| Leonard 138kV Switching Station (NU - OGE) | 2017-06-14 | 2017-06-14 |  |  | 15475.48 | 0 | 15475.48 | 24189.44
| Leonard 138kV Switching Station (NU) | 2017-06-06 | 2017-06-06 |  |  | 5413480.43 | 0 | 5413480.43 | 8461680.64
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 7975.9 | 3928.43 | 11904.33 | 95892.48
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 59333.07 | 0 | 59333.07 | 341614.08
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 79390.13 | 39102.6 | 118492.73 | 204418.56
[5 empty] | Total | 6008340.44 | 49102.6 | 6057443.04 | 12069693.44
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2018-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 86527657 | CSWS | ERCOTN | 70 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 4762794.12 | 5480354.74 | 5480354.74
[9 empty] | 0 | 4762794.12 | 5480354.74 | 5480354.74
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527657 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527657 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 203514.22 | 203514.22 | 203514.22
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 162731.1 | 162731.1 | 162731.1
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 0 | 123961.32 | 123961.32 | 123961.32
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 4762794.12 | 4762794.12 | 4762794.12
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 203514.22 | 203514.22 | 203514.22
[5 empty] | Total | 0 | 5480354.74 | 5480354.74 | 5480354.74
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527657 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 1044776.12 | 1044776.12
[5 empty] | Total | 1044776.12 | 1044776.12
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2018-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 86527679 | CSWS | ERCOTN | 50 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 3401995.8 | 3956770.86 | 3956770.86
[9 empty] | 0 | 3401995.8 | 3956770.86 | 3956770.86
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527679 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527679 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 145367.32 | 145367.32 | 145367.32
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 116239.34 | 116239.34 | 116239.34
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 0 | 123961.32 | 123961.32 | 123961.32
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 3401995.8 | 3401995.8 | 3401995.8
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 145367.32 | 145367.32 | 145367.32
[5 empty] | Total | 0 | 3956770.86 | 3956770.86 | 3956770.86
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527679 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 746268.66 | 746268.66
[5 empty] | Total | 746268.66 | 746268.66
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2018-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 86527696 | CSWS | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2021-06-01 | 2022-08-01 | 0 | 6803991.6 | 7765733.64 | 7765733.64
[9 empty] | 0 | 6803991.6 | 7765733.64 | 7765733.64
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527696 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86527696 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 290734.5 | 290734.5 | 290734.5
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 232471.96 | 232471.96 | 232471.96
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 0 | 123961.32 | 123961.32 | 123961.32
| Sunnyside Relays for Grady Interconnection | 11/23/2016 | 11/23/2016 |  |  | 0 | 23839.76 | 23839.76 | 23839.76
| Terry Road 345kV Station (NU) | 11/16/2016 | 11/16/2016 |  |  | 0 | 6803991.6 | 6803991.6 | 6803991.6
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 290734.5 | 290734.5 | 290734.5
[5 empty] | Total | 0 | 7765733.64 | 7765733.64 | 7765733.64
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
86527696 | RUSHSPR7 345.00 (RUSHSPRW1-1) 345/34.5/13.8KV TRANSFORMER CKT 1 | 2019-07-01 | 2021-06-01 |  |  | 1492537.31 | 1492537.31
[5 empty] | Total | 1492537.31 | 1492537.31
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
**Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2018-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 86638341 | WFEC | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 0 | 6803991.6 | 56902492.87 | 111447949.4
[9 empty] | 0 | 6803991.6 | 56902492.87 | 111447949.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86638341 | ERCOT North HVDC Tie Expansion | 2019-07-01 | 2023-06-01 |  |  | 54545454.55 | 120000000 | 109090911.08
[5 empty] | Total | 54545454.55 | 120000000 | 109090911.08
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86638341 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 304070.34 | 304070.34
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 477708.28 | 477708.28
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 562193.38 | 562193.38
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 116504.36 | 116504.36
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 304070.34 | 304070.34
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 592491.62 | 592491.62
[5 empty] | Total | 2357038.32 | 2357038.32
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2018-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 86638345 | WFEC | ERCOTN | 120 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 0 | 8164789.92 | 68259701.51 | 133714246.06
[9 empty] | 0 | 8164789.92 | 68259701.51 | 133714246.06
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86638345 | ERCOT North HVDC Tie Expansion | 2019-07-01 | 2023-06-01 |  |  | 65454545.45 | 120000000 | 130909090
[5 empty] | Total | 65454545.45 | 120000000 | 130909090
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
86638345 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 364884.52 | 364884.52
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 573249.88 | 573249.88
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 674642.92 | 674642.92
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 116504.36 | 116504.36
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 364884.52 | 364884.52
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 710989.86 | 710989.86
[5 empty] | Total | 2805156.06 | 2805156.06
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
REMC | AG1-2018-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
REMC | 86527874 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 0 | 6803991.6 | 41666666.67 | 83333334
[9 empty] | 0 | 6803991.6 | 41666666.67 | 83333334
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86527874 | ERCOT East HVDC Tie Expansion | 2019-07-01 | 2023-06-01 |  |  | 41666666.67 | 250000000 | 83333334
[5 empty] | Total | 41666666.67 | 250000000 | 83333334
*Available capacity will be allocated on a first come first served basis in accordance with Attachment Z1 III.C.6 of SPP OATT.
Customer | Study Number
SPSM | AG1-2018-031
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 86876399 | SPS | SPS | 80 | 2018-12-01 | 2048-12-01 | 2018-12-01 | 2048-12-01 | 1325.78 | 0 | 4097875.65 | 7576912.8
[9 empty] | 1325.78 | 0 | 4097875.65 | 7576912.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86876399 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86876399 | Crosby County Interchange - Floyd County Interchange 115kV Ckt 1 | 2017-11-06 | 2017-11-06 |  |  | 0 | 3996004.25 | 3996004.25 | 7382941.2
| HARRINGTON MID - NICHOLS 230 KV CKT 2 | 12/1/2012 | 12/1/2012 |  |  | 0 | 49506.8 | 49506.8 | 94341.6
| HARRINGTON WEST - NICHOLS 230KV CKT 1 | 12/1/2012 | 12/1/2012 |  |  | 0 | 51038.82 | 51038.82 | 97261.2
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 1325.78 | 0 | 1325.78 | 2368.8
[5 empty] | Total | 1325.78 | 4096549.87 | 4097875.65 | 7576912.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SPSM | AG1-2018-032
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 86876404 | SPS | SPS | 150 | 2018-12-01 | 2048-12-01 | 2018-12-01 | 2048-12-01 | 2337.17 | 0 | 6552264.62 | 12353162.4
[9 empty] | 2337.17 | 0 | 6552264.62 | 12353162.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86876404 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86876404 | HARRINGTON MID - NICHOLS 230 KV CKT 2 | 12/1/2012 | 12/1/2012 |  |  | 0 | 96308.9 | 96308.9 | 183528
| HARRINGTON WEST - NICHOLS 230KV CKT 1 | 12/1/2012 | 12/1/2012 |  |  | 0 | 99515.84 | 99515.84 | 189637.2
| Lost Draw 115 kV Substation (NU) | 2018-10-31 | 2018-10-31 |  |  | 0 | 5738204.45 | 5738204.45 | 10899583.2
| PLANT X - TOLK 230KV REBUILD CIRCUIT #1 | 12/31/2017 | 12/31/2017 |  |  | 0 | 106429.9 | 106429.9 | 185979.6
| PLANT X - TOLK 230KV REBUILD CIRCUIT #2 | 12/31/2017 | 12/31/2017 |  |  | 0 | 103519.21 | 103519.21 | 180892.8
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 2337.17 | 0 | 2337.17 | 4176
| TUCO INTERCHANGE 345/230KV CKT 1 REPLACEMENT | 6/1/2018 | 6/1/2018 |  |  | 0 | 405949.15 | 405949.15 | 709365.6
[5 empty] | Total | 2337.17 | 6549927.45 | 6552264.62 | 12353162.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2018-038
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 86901409 | WR | WR | 50 | 2019-01-01 | 2029-01-01 | 2019-01-01 | 2029-01-01 | 33247.83 | 0 | 5648560.63 | 7426965.6
[9 empty] | 33247.83 | 0 | 5648560.63 | 7426965.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
86901409 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
86901409 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 13587.62 | 13587.62 | 72076.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 10598.44 | 10598.44 | 90702
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 4297.2 | 4297.2 | 25309.2
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 0 | 111280.59 | 111280.59 | 157543.2
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 0 | 64628.73 | 64628.73 | 92990.4
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | 12/31/2016 | 12/31/2016 |  |  | 1578.84 | 0 | 1578.84 | 2025.6
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 10/16/2016 | 10/16/2016 |  |  | 0 | 5410920.22 | 5410920.22 | 6941119.2
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 31668.99 | 0 | 31668.99 | 45199.2
[5 empty] | Total | 33247.83 | 5615312.8 | 5648560.63 | 7426965.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded

## Table4
Base Case Violations Projects - Reported for informational purposes only.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC)
WERE | Wolf Creek 345/69kV Transformer #6 (69kV) | Replace 100 Mva Tx #6 with 150 Mva & associated equipments. | 2019-01-01 | 2021-10-01
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
BEPM | Daglum - Dickinson 230kV CKT 1 | Build new 230kV line from Daglum - Dickinson | 3/1/2019 | 3/1/2019 | 1383810.26
CSWS | Valliant 345 kV (AEP) | Install 345 kV terminal equipment at Valliant substation. | 4/17/2012 | 4/17/2012 | 765742.32
ITCM | HUGO - VALLIANT 345KV CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. | 7/1/2012 | 7/1/2012 | 765742.32
ITCM | HUGO 345/138KV TRANSFORMER CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. Note that ITC is building the line from Valiant to Hugo. | 7/1/2012 | 7/1/2012 | 116805.22
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 6/1/2006 | 6/1/2006 | 118602
MIDW | Rice - Lyons 115 kV Ckt 1 | Rebuild and extend 115 kV transmission line from existing Rice Co. substation to new Rice Co. substation, including engineering, surveying, and modification of existing easements as required. | 4/1/2013 | 4/1/2013 | 79695.6
MIDW | Rice County 230/115 kV transformer Ckt 1 | Install 230/115 kV transformer at Rice County. | 10/1/2012 | 10/1/2012 | 42063.7
MIDW | Wheatland 115 kV #2 | Install metering equipment at the Wheatland 115 kV substation. | 12/31/2012 | 12/31/2012 | 22864.8
MKEC | CLIFTON - GREENLEAF 115KV CKT 1 | Rebuild 14.4 miles | 6/1/2011 | 6/1/2011 | 279499.8
MKEC | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | Rebuild 8.05 mile line | 12/1/2009 | 12/1/2009 | 14416
MKEC | Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | Build appoximately 0.5 mile 115 kV line | 5/1/2015 | 5/1/2015 | 76733.75
MKEC | GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | Rebuild 43.5% Ownership of 20.9 miles | 6/1/2013 | 6/1/2013 | 27238.08
MKEC | MEDICINE LODGE - PRATT 115KV CKT 1 | Rebuild 26 mile line | 12/1/2009 | 12/1/2009 | 46962.5
MKEC | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | Upgrade transformer | 12/1/2009 | 12/1/2009 | 5044.75
MKEC | North Ft. Dodge - Spearville 115kV Ckt 2 | Build appoximately 20 mile 115 kV line | 5/1/2015 | 5/1/2015 | 22741.75
MKEC | Spearville 345/115 kV Transformer CKT 1 | Spearville Substation - Add 345/115kV autotransformer and 345kV and 115kV terminal positions for autotransformer. | 5/1/2015 | 5/1/2015 | 37829.25
NPPD | Albion - Petersburg 115kV Ckt 1 Hansford Upgrade | Replace Breaker Switch 1106-D & jumpers; Replace Petersburg 115kV Substation main bus; Upgrade and replace transmission structures on 115kV lines TL1168 A & B to facilitate 100 degrees Centigrade line operation | 12/31/2012 | 12/31/2012 | 16555.52
NPPD | Antelope - County Line - 115kV Rebuild | Rebuild/Upgrade the Antelope – County Line 115kV to rerate line segments to greater than 125 MVA. | 5/1/2017 | 5/1/2017 | 1797.75
NPPD | Battle Creek - County Line 115kV Rebuild | Rebuild/Upgrade the Battle Creek – County Line 115kV to rerate line segments to greater than 125 MVA. | 5/1/2017 | 5/1/2017 | 1717
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 12/23/2013 | 12/23/2013 | 110068.92
NPPD | Hoskins - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating to address loading issues | 10/24/2015 | 10/24/2015 | 56446.66
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 11/1/2014 | 11/1/2014 | 223866.71
NPPD | Rosemont 115kV Substation | 115kV Substation addition to accommodate new 115kV interconnection & 115kV breakers at Guide Rock due to addition of Rosemont 115kV Substation | 11/1/2017 | 11/1/2017 | 86522.4
NPPD | Twin Church - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating | 11/1/2018 | 11/1/2018 | 1806.72
OKGE | Gracemont 138kV line terminal addition | 138kV line terminal at Gracemont substation, including breaker, line relaying, disconnect switches and associated equipment, dead end structures, revenue metering with CT's and PT's. | 10/15/2011 | 10/15/2011 | 375867.66
OKGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 3/1/2018 | 3/1/2018 | 119401.66
OKGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 1/1/2010 | 1/1/2010 | 31248.77
WAPA | Gavins Point - Yankton Junction 115 kV | Rebuild approximately four (4) miles of 115 kV and replace associated terminal equipment. | 2020-10-01 | 2020-10-01 | 281819.52
WFEC | WASHITA - GRACEMONT 138 KV CKT 2 | BUILD WASHITA - GRACEMONT 138KV CKT 2 (APPROXIMATELY 7 MILES). ADD LINE TERMINAL AT WASHITA AND PROCURE RIGHT OF WAY. | 10/12/2012 | 10/12/2012 | 375867.66
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | UpgradeName | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
None

## Table6
No Redispatch Requirements

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
None | None | None | 0 | 0% | 0
|  |  |  | Total: | 0