## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
AECC | AG2-2018-001 | 88042937 | CSWS | CSWS | 100 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
BEPM | AG2-2018-002 | 88011070 | WAUE | WAUE | 101 | 2019-06-01 | 2025-06-01 | 2019-06-01 | 2025-06-01 | Note 4 | Note 4 | NO
BPWN | AG2-2018-003 | 88044037 | WAUE | NPPD | 2 | 2019-06-01 | 2024-07-01 | 2019-06-01 | 2024-07-01 | Note 4 | Note 4 | NO
BPWN | AG2-2018-004 | 88107260 | OKGE | NPPD | 43 | 2024-01-01 | 2031-01-01 | 2024-01-01 | 2031-01-01 | Note 4 | Note 4 | YES
BRPS | AG2-2018-005 | 88004964 | CSWS | NPPD | 14 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | YES
CHAN | AG2-2018-006 | 88078115 | NPPD | WR | 1 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | YES
COSN | AG2-2018-007 | 87997388 | CSWS | NPPD | 7 | 2023-01-01 | 2028-06-01 | 2023-01-01 | 2028-06-01 | Note 4 | Note 4 | YES
MCPI | AG2-2018-008 | 87026257 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
MCPI | AG2-2018-009 | 87026258 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
MCPI | AG2-2018-010 | 87026259 | WFEC | ERCOTN | 120 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | NO
MCPI | AG2-2018-011 | 87026260 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
MCPI | AG2-2018-012 | 87026261 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
MCPI | AG2-2018-013 | 87026263 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
MCPI | AG2-2018-014 | 87026265 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
MCPI | AG2-2018-015 | 87026267 | WFEC | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | NO
NMCA | AG2-2018-016 | 88049579 | WAUE | WAUE | 2 | 2019-06-01 | 2039-06-01 | 2019-06-01 | 2039-06-01 | Note 4 | Note 4 | YES
PRTT | AG2-2018-017 | 88019870 | SECI | SECI | 13 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | NO
PRTT | AG2-2018-018 | 88019885 | SECI | SECI | 7 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | NO
PRTT | AG2-2018-019 | 88019897 | SECI | SECI | 7 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | NO
PRTT | AG2-2018-020 | 88043704 | GRDA | SECI | 6 | 2019-06-01 | 2026-05-01 | 2019-06-01 | 2026-05-01 | 2019-06-01 | 2026-05-01 | YES
SECI | AG2-2018-021 | 88011057 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | NO
SECI | AG2-2018-022 | 88037532 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | NO
SECI | AG2-2018-023 | 88037551 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | NO
SECI | AG2-2018-024 | 88091540 | NPPD | WR | 1 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | NO
SPRM | AG2-2018-025 | 88019329 | WR | SPRM | 15 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | YES
SPRM | AG2-2018-026 | 88037468 | OKGE | SPRM | 30 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | YES
SPSM | AG2-2018-027 | 88037749 | SPS | SPS | 478 | 2019-06-01 | 2044-06-01 | 2019-06-01 | 2044-06-01 | Note 4 | Note 4 | YES
TNSK | AG2-2018-028 | 87026254 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 2021-08-01 | 2022-10-01 | YES
TNSK | AG2-2018-029 | 87026271 | OKGE | ERCOTN | 50 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
WRGS | AG2-2018-030 | 87865243 | WR | WR | 50 | 2019-06-01 | 2030-01-01 | 2019-06-01 | 2030-01-01 | 2019-06-01 | 2030-01-01 | YES
1600
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,8Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter)
AECC | AG2-2018-001 | 88042937 | 1356087.84 | 1356087.84 | 0 |  | 0 | 0 | 0 | 2540928.6 | 0 | 0 | 2540928.6 | 1356087.84
BEPM | AG2-2018-002 | 88011070 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BPWN | AG2-2018-003 | 88044037 | 1460.93 | 0 | 1460.93 |  | 0 | 0 | 0 | 0 | 1895.88 | 0 | Schedule 9 & 11 Charges | 0
BPWN | AG2-2018-004 | 88107260 | 129624.87 | 129624.87 | 0 |  | 0 | 0 | 0 | 842799.72 | 0 | 0 | 842799.72 | 129624.87
BRPS | AG2-2018-005 | 88004964 | 252011.89 | 252011.89 | 0 |  | 0 | 0 | 0 | 403096.8 | 0 | 0 | 515206.08 | 252011.89
CHAN | AG2-2018-006 | 88078115 | 3598.38 | 3598.38 | 0 |  | 0 | 0 | 0 | 20182.4 | 0 | 0 | 20182.4 | 3598.38
COSN | AG2-2018-007 | 87997388 | 114884.34 | 114884.34 | 0 |  | 0 | 0 | 0 | 229624.85 | 0 | 0 | 229624.85 | 114884.34
MCPI | AG2-2018-008 | 87026257 | 1333333 | 1333333 | 0 |  | 1482324.53 | 1653577 | 0 | 0 | 0 | 3415215.3 | 3415215.3 | 0
MCPI | AG2-2018-009 | 87026258 | 2666667 | 2666667 | 0 |  | 2964647.0888 | 3307156 | 0 | 0 | 0 | 6830430.6 | 6830430.6 | 0
MCPI | AG2-2018-010 | 87026259 | 0 | 0 | 0 |  | 0 | 0 | 0 | 116504.36 | 0 | 8196516.72 | 8196516.72 | 0
MCPI | AG2-2018-011 | 87026260 | 1333333 | 1333333 | 0 |  | 1482324.53 | 1653577 | 0 | 0 | 0 | 3415215.3 | 3415215.3 | 0
MCPI | AG2-2018-012 | 87026261 | 2666667 | 2666667 | 0 |  | 2964647.0888 | 3307156 | 0 | 0 | 0 | 6830430.6 | 6830430.6 | 0
MCPI | AG2-2018-013 | 87026263 | 1333333 | 1333333 | 0 |  | 1482324.53 | 1653577 | 0 | 0 | 0 | 3415215.3 | 3415215.3 | 0
MCPI | AG2-2018-014 | 87026265 | 24060606 | 24060606 | 0 | 9 | 1482324.53 | 47108123.2414 | 0 | 0 | 0 | 3415215.3 | 47108123.2414 | 24060606
MCPI | AG2-2018-015 | 87026267 | 0 | 0 | 0 |  | 0 | 0 | 0 | 116504.36 | 0 | 6830430.6 | 6830430.6 | 0
NMCA | AG2-2018-016 | 88049579 | 1079.07 | 1079.07 | 0 |  | 0 | 0 | 0 | 1665.6 | 0 | 0 | 1665.6 | 1079.07
PRTT | AG2-2018-017 | 88019870 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
PRTT | AG2-2018-018 | 88019885 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
PRTT | AG2-2018-019 | 88019897 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
PRTT | AG2-2018-020 | 88043704 | 150745.63 | 150745.63 | 0 |  | 0 | 0 | 0 | 643162.85 | 0 | 0 | 643162.85 | 150745.63
SECI | AG2-2018-021 | 88011057 | 29649.64 | 0 | 29649.64 |  | 0 | 0 | 0 | 0 | 66138.24 | 0 | Schedule 9 & 11 Charges | 0
SECI | AG2-2018-022 | 88037532 | 29743.19 | 0 | 29743.19 |  | 0 | 0 | 0 | 0 | 66726.24 | 0 | Schedule 9 & 11 Charges | 0
SECI | AG2-2018-023 | 88037551 | 29674.25 | 0 | 29674.25 |  | 0 | 0 | 0 | 0 | 66270.96 | 0 | Schedule 9 & 11 Charges | 0
SECI | AG2-2018-024 | 88091540 | 29110.2 | 0 | 29110.2 |  | 0 | 0 | 0 | 0 | 80517.6 | 0 | Schedule 9 & 11 Charges | 0
SPRM | AG2-2018-025 | 88019329 | 137097.91 | 43888.65 | 93209.26 |  | 0 | 0 | 0 | 110336.5723 | 230230.1277 | 0 | 110336.5723 | 43888.65
SPRM | AG2-2018-026 | 88037468 | 916557.01 | 1129.4833 | 915427.538 |  | 0 | 0 | 0 | 6529.8667 | 1435665.1986 | 0 | 6529.8667 | 1129.4833
SPSM | AG2-2018-027 | 88037749 | 1675758.32 | 1669332.44 | 6425.88 |  | 0 | 0 | 0 | 2810082 | 10887 | 0 | 2810082 | 1669332.44
TNSK | AG2-2018-028 | 87026254 | 1333333 | 1333333 | 0 | 9 | 1482324.53 | 1653577 | 0 | 0 | 0 | 3415215.3 | 3415215.3 | 0
TNSK | AG2-2018-029 | 87026271 | 30524156.22 | 30524156.22 | 0 |  | 0 | 60000000 | 0 | 524156.22 | 0 | 3415215.3 | 60524156.22 | 30524156.22
WRGS | AG2-2018-030 | 87865243 | 7024492.41 | 6977365.73 | 47126.68 |  | 0 | 0 | 0 | 9525933.45 | 68557.14 | 0 | 9525933 | 6977365.73
Grand Total |  |  | 77133004.1 |  | 1181827.568 |  |  | 120336743.2414 | 0 | 17891507.649 | 2026888.3863 |  |  | 65284510.5433
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.
Note 9: RR may increase or decrease due to estimated assumptions and is subject to change.

## Table3
Customer | Study Number
AECC | AG2-2018-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AECC | 88042937 | CSWS | CSWS | 100 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 0 | 0 | 1356087.84 | 2540928.6
[9 empty] | 0 | 0 | 1356087.84 | 2540928.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88042937 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88042937 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 88696.28 | 88696.28 | 351296.4
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 142311.57 | 142311.57 | 559639.8
| MCNAB REC - Turk 115KV CKT 1 #2 (AEP) | 12/1/2011 | 12/1/2011 |  |  | 0 | 620018.02 | 620018.02 | 875917.8
| SE TEXARKANA - TURK 138KV CKT 2 | 3/12/2012 | 3/12/2012 |  |  | 0 | 184436.52 | 184436.52 | 258459
| SUGAR HILL - TURK 138KV CKT 2 | 12/16/2010 | 12/16/2010 |  |  | 0 | 164559.94 | 164559.94 | 239479.8
| TURK 138/115KV TRANSFORMER CKT 1 | 12/1/2011 | 12/1/2011 |  |  | 0 | 138867.9 | 138867.9 | 196182.6
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 17197.61 | 17197.61 | 59953.2
[5 empty] | Total | 0 | 1356087.84 | 1356087.84 | 2540928.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2018-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 88011070 | WAUE | WAUE | 101 | 2019-06-01 | 2025-06-01 | 2019-06-01 | 2025-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88011070 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
BPWN | AG2-2018-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 88044037 | WAUE | NPPD | 2 | 2019-06-01 | 2024-07-01 | 2019-06-01 | 2024-07-01 | 1460.93 | 0 | 1460.93 | 1895.88
[9 empty] | 1460.93 | 0 | 1460.93 | 1895.88
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88044037 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88044037 | Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 1460.93 | 1895.88
[5 empty] | Total | 1460.93 | 1895.88
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BPWN | AG2-2018-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BPWN | 88107260 | OKGE | NPPD | 43 | 2024-01-01 | 2031-01-01 | 2024-01-01 | 2031-01-01 | 0 | 0 | 129624.87 | 842799.72
[9 empty] | 0 | 0 | 129624.87 | 842799.72
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88107260 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88107260 | CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 0 | 39880.01 | 39880.01 | 346632.72
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 0 | 5791.21 | 5791.21 | 8982.12
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 0 | 3488.16 | 3488.16 | 30318.96
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 558.54 | 558.54 | 3370.08
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 26660.14 | 26660.14 | 38578.68
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 6008.03 | 6008.03 | 71112.72
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 47128.4 | 47128.4 | 343229.88
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 110.38 | 110.38 | 574.56
[5 empty] | Total | 0 | 129624.87 | 129624.87 | 842799.72
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG2-2018-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 88004964 | CSWS | NPPD | 14 | 2021-06-01 | 2025-06-01 | 2021-06-01 | 2025-06-01 | 0 | 0 | 252011.89 | 403096.8
[9 empty] | 0 | 0 | 252011.89 | 403096.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88004964 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88004964 | Antelope - County Line - 115kV Rebuild | 5/1/2017 | 5/1/2017 |  |  | 0 | 11088.97 | 11088.97 | 13796.16
| Battle Creek - County Line 115kV Rebuild | 5/1/2017 | 5/1/2017 |  |  | 0 | 10577.92 | 10577.92 | 13160.16
| CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 0 | 17900.35 | 17900.35 | 103018.56
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 0 | 1579.56 | 1579.56 | 9090.72
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 7749.7 | 7749.7 | 33292.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 2134.97 | 2134.97 | 17830.08
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 1490.24 | 1490.24 | 7737.12
| Sweetwater 230kV Substation Beckham 1 | 10/5/2012 | 10/5/2012 |  |  | 0 | 43828.43 | 43828.43 | 62109.12
| Sweetwater 230kV Substation Beckham 2 | 3/31/2010 | 3/31/2010 |  |  | 0 | 9060.37 | 9060.37 | 13921.44
| Tap Elk City - Wheeler 230kV (Sweetwater) POI for Beckham (NU) | 6/1/2012 | 6/1/2012 |  |  | 0 | 163837.19 | 163837.19 | 234692.64
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 0 | 731.4 | 731.4 | 861.12
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 1512.7 | 1512.7 | 5696.16
[5 empty] | Total | 0 | 252011.89 | 252011.89 | 403096.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
CHAN | AG2-2018-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
CHAN | 88078115 | NPPD | WR | 1 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | 0 | 0 | 3598.38 | 20182.4
[9 empty] | 0 | 0 | 3598.38 | 20182.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88078115 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88078115 | NEOSHO - NORTHEAST PARSONS 138KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 1.65 | 16.96
| DEARING 138KV | 2013-06-30 | 2013-06-30 |  |  | 2.94 | 25.44
| COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 6/9/2010 | 6/9/2010 |  |  | 1.71 | 16.96
| Neligh - Petersburg North 115kV Ckt 1 | 11/9/2012 | 11/9/2012 |  |  | 1833.06 | 3824.48
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 1312.55 | 15433.6
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 446.47 | 864.96
[5 empty] | Total | 3598.38 | 20182.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
COSN | AG2-2018-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
COSN | 87997388 | CSWS | NPPD | 7 | 2023-01-01 | 2028-06-01 | 2023-01-01 | 2028-06-01 | 0 | 0 | 114884.34 | 229624.85
[9 empty] | 0 | 0 | 114884.34 | 229624.85
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87997388 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 |  | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87997388 | CLIFTON - GREENLEAF 115KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 0 | 5014.5 | 5014.5 | 36457.85
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 0 | 1998.83 | 1998.83 | 2928.25
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 6/1/2013 | 6/1/2013 |  |  | 0 | 438.6 | 438.6 | 3188.9
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 2771.26 | 2771.26 | 14428.7
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 861.9 | 861.9 | 8769.15
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 431.37 | 431.37 | 2712.45
| Sweetwater 230kV Substation Beckham 1 | 10/5/2012 | 10/5/2012 |  |  | 0 | 20806.85 | 20806.85 | 31737.55
| Sweetwater 230kV Substation Beckham 2 | 3/31/2010 | 3/31/2010 |  |  | 0 | 4281.41 | 4281.41 | 7081.1
| Tap Elk City - Wheeler 230kV (Sweetwater) POI for Beckham (NU) | 6/1/2012 | 6/1/2012 |  |  | 0 | 77734.58 | 77734.58 | 119856.75
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 545.04 | 545.04 | 2464.15
[5 empty] | Total | 0 | 114884.34 | 114884.34 | 229624.85
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG2-2018-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026257 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 3415215.3 | 1333333 | 1653577.2414
[9 empty] | 0 | 3415215.3 | 1333333 | 1653577.2414
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026257 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 1333333 | 12000000 | 1653577.2414
[5 empty] | Total | 1333333 | 12000000 | 1653577.24
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026257 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 151556 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 161028 | 1449252.02
[5 empty] | Total | 1482324.53 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026258 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 6830430.6 | 2666667 | 3307155.7568
[9 empty] | 0 | 6830430.6 | 2666667 | 3307155.7568
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026258 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 2666667 | 12000000 | 3307155.7568
[5 empty] | Total | 2666667 | 12000000 | 3307155.76
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026258 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 132611 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 132611 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 303112 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 322056 | 1449252.02
[5 empty] | Total | 2964647.0888 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026259 | WFEC | ERCOTN | 120 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 0 | 8196516.72 | 116504.36 | 116504.36
[9 empty] | 0 | 8196516.72 | 116504.36 | 116504.36
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026259 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87026259 | POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 116504.36 | 116504.36
[5 empty] | Total | 116504.36 | 116504.36
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG2-2018-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026260 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 3415215.3 | 1333333 | 1653577.2414
[9 empty] | 0 | 3415215.3 | 1333333 | 1653577.2414
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026260 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 1333333 | 12000000 | 1653577.2414
[5 empty] | Total | 1333333 | 12000000 | 1653577.24
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026260 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 151556 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 161028 | 1449252.02
[5 empty] | Total | 1482324.53 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026261 | CSWS | ERCOTE | 100 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 6830430.6 | 2666667 | 3307155.7568
[9 empty] | 0 | 6830430.6 | 2666667 | 3307155.7568
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026261 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 2666667 | 12000000 | 3307155.7568
[5 empty] | Total | 2666667 | 12000000 | 3307155.76
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026261 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 691419.0296 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 132611 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 132611 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 303112 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 322056 | 1449252.02
[5 empty] | Total | 2964647.0888 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026263 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 3415215.3 | 1333333 | 1653577.2414
[9 empty] | 0 | 3415215.3 | 1333333 | 1653577.2414
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026263 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 1333333 | 12000000 | 1653577.2414
[5 empty] | Total | 1333333 | 12000000 | 1653577.24
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026263 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 151556 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 161028 | 1449252.02
[5 empty] | Total | 1482324.53 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026265 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3415215.3 | 24060606 | 47108123
[9 empty] | 0 | 3415215.3 | 24060606 | 47108123.2414
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026265 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 1333333 | 12000000 | 1653577.2414
| ERCOT EAST DC Tie Expansion | 2019-06-01 | 2023-06-01 |  | No | 22727273 | 22727273 | 45454546
[5 empty] | Total | 24060606 | 34727273 | 47108123.2414
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026265 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 151556 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 161028 | 1449252.02
[5 empty] | Total | 1482324.53 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG2-2018-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 87026267 | WFEC | ERCOTN | 100 | 2019-07-01 | 2020-09-01 | 2019-07-01 | 2020-09-01 | 0 | 6830430.6 | 116504.36 | 116504.36
[9 empty] | 0 | 6830430.6 | 116504.36 | 116504.36
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026267 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87026267 | POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 116504.36 | 116504.36
[5 empty] | Total | 116504.36 | 116504.36
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NMCA | AG2-2018-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NMCA | 88049579 | WAUE | WAUE | 2 | 2019-06-01 | 2039-06-01 | 2019-06-01 | 2039-06-01 | 0 | 0 | 1079.07 | 1665.6
[9 empty] | 0 | 0 | 1079.07 | 1665.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88049579 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88049579 | Hoskins - Dixon County 230kV Line Upgrade | 10/24/2015 | 10/24/2015 |  |  | 446.03 | 636
| Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 633.04 | 1029.6
[5 empty] | Total | 1079.07 | 1665.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
PRTT | AG2-2018-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
PRTT | 88019870 | SECI | SECI | 13 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88019870 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
PRTT | AG2-2018-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
PRTT | 88019885 | SECI | SECI | 7 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88019885 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
PRTT | AG2-2018-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
PRTT | 88019897 | SECI | SECI | 7 | 2019-06-01 | 2050-06-01 | 2019-06-01 | 2050-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88019897 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
PRTT | AG2-2018-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
PRTT | 88043704 | GRDA | SECI | 6 | 2019-06-01 | 2026-05-01 | 2019-06-01 | 2026-05-01 | 0 | 0 | 150745.63 | 643162.85
[9 empty] | 0 | 0 | 150745.63 | 643162.85
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88043704 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88043704 | FAIRFAX - PAWNEE 138KV CKT 2 | 10/14/2014 | 10/14/2014 |  |  | 10125.5 | 13197
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 22543.27 | 108827.94
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 689.64 | 5435.67
| MEDICINE LODGE - PRATT 115KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 78633.64 | 366593.57
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 7164.36 | 38401.61
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 18582.12 | 91239.41
| Osage - Shidler 138kV | 7/1/2014 | 7/1/2014 |  |  | 703.07 | 923.79
| Pawnee 138 kV | 10/3/2014 | 10/3/2014 |  |  | 2949.17 | 3843.73
| Shidler 138 kV | 4/30/2014 | 4/30/2014 |  |  | 8452.48 | 11165.99
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 902.38 | 3534.14
[5 empty] | Total | 150745.63 | 643162.85
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SECI | AG2-2018-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 88011057 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 29649.64 | 0 | 29649.64 | 66138.24
[9 empty] | 29649.64 | 0 | 29649.64 | 66138.24
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88011057 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88011057 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 602.41 | 3942.96
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 2991.89 | 4252.08
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 420.68 | 2212.56
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 140.79 | 1446.48
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 191.54 | 1392.72
| North Ft. Dodge - Spearville 115kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 8200.38 | 11655.84
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 3379.49 | 21475.44
| Spearville 345/115 kV Transformer CKT 1 | 5/1/2015 | 5/1/2015 |  |  | 13641.12 | 19387.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 81.34 | 372.96
[5 empty] | Total | 29649.64 | 66138.24
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SECI | AG2-2018-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 88037532 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 29743.19 | 0 | 29743.19 | 66726.24
[9 empty] | 29743.19 | 0 | 29743.19 | 66726.24
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88037532 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88037532 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 602.41 | 3942.96
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 2991.89 | 4252.08
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 420.68 | 2212.56
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 139.62 | 1433.04
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 191.54 | 1392.72
| North Ft. Dodge - Spearville 115kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 8200.38 | 11655.84
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 3474.21 | 22076.88
| Spearville 345/115 kV Transformer CKT 1 | 5/1/2015 | 5/1/2015 |  |  | 13641.12 | 19387.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 81.34 | 372.96
[5 empty] | Total | 29743.19 | 66726.24
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SECI | AG2-2018-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 88037551 | SPA | SECI | 1 | 2019-06-01 | 2033-06-01 | 2019-06-01 | 2033-06-01 | 29674.25 | 0 | 29674.25 | 66270.96
[9 empty] | 29674.25 | 0 | 29674.25 | 66270.96
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88037551 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88037551 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 602.41 | 3942.96
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 2991.89 | 4252.08
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 420.68 | 2212.56
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 134.95 | 1386
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 191.54 | 1392.72
| North Ft. Dodge - Spearville 115kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 8200.38 | 11655.84
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 3409.94 | 21668.64
| Spearville 345/115 kV Transformer CKT 1 | 5/1/2015 | 5/1/2015 |  |  | 13641.12 | 19387.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 81.34 | 372.96
[5 empty] | Total | 29674.25 | 66270.96
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SECI | AG2-2018-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 88091540 | NPPD | WR | 1 | 2019-06-01 | 2054-10-01 | 2019-06-01 | 2054-10-01 | 29110.2 | 0 | 29110.2 | 80517.6
[9 empty] | 29110.2 | 0 | 29110.2 | 80517.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88091540 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88091540 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 505.99 | 6588.96
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 2922.31 | 5605.28
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 160.89 | 2327.76
| Neligh - Petersburg North 115kV Ckt 1 | 11/9/2012 | 11/9/2012 |  |  | 1766.13 | 3684.56
| North Ft. Dodge - Spearville 115kV Ckt 2 | 5/1/2015 | 5/1/2015 |  |  | 8279.9 | 15883.04
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 1701.58 | 20004.32
| Spearville 345/115 kV Transformer CKT 1 | 5/1/2015 | 5/1/2015 |  |  | 13773.4 | 26423.68
[5 empty] | Total | 29110.2 | 80517.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SPRM | AG2-2018-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 88019329 | WR | SPRM | 15 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | 93209.26 | 0 | 137097.91 | 340566.7
[9 empty] | 93209.26 | 0 | 137097.91 | 340566.7
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88019329 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88019329 | Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 4101.98 | 0 | 4101.98 | 6213.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 13696.61 | 6746.09 | 20442.7 | 156021.2
| Union Ridge 230kV Dickenson-Marion Co Addition (NU) | 9/1/2018 | 9/1/2018 |  |  | 70863.61 | 34902.97 | 105766.58 | 168020.3
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 4547.06 | 2239.59 | 6786.65 | 10311.8
[5 empty] | Total | 93209.26 | 43888.65 | 137097.91 | 340566.7
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SPRM | AG2-2018-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 88037468 | OKGE | SPRM | 30 | 2019-06-01 | 2039-01-01 | 2019-06-01 | 2039-01-01 | 915427.538 | 0 | 916557.01 | 1442195
[9 empty] | 915427.538 | 0 | 916557.01 | 1442195
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88037468 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88037468 | Ranch Road 345kV Substation Kay Addition | 10/18/2016 | 10/18/2016 |  |  | 161379.3 | 0 | 161379.3 | 244698.45
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 20367.31 | 0 | 20367.31 | 30853.15
| Ranch Road 345kV Substation | 11/30/2014 | 11/30/2014 |  |  | 731421.95 | 0 | 731421.95 | 1147053.8
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 2258.978 | 1129.4833 | 3388.45 | 19589.6
[5 empty] | Total | 915427.538 | 1129.4833 | 916557.01 | 1442195
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SPSM | AG2-2018-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 88037749 | SPS | SPS | 478 | 2019-06-01 | 2044-06-01 | 2019-06-01 | 2044-06-01 | 6425.88 | 0 | 1675758.32 | 2820969
[9 empty] | 6425.88 | 0 | 1675758.32 | 2820969
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88037749 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
88037749 | HARRINGTON MID - NICHOLS 230 KV CKT 2 | 12/1/2012 | 12/1/2012 |  |  | 0 | 120998.96 | 120998.96 | 218700
| HARRINGTON WEST - NICHOLS 230KV CKT 1 | 12/1/2012 | 12/1/2012 |  |  | 0 | 126101.23 | 126101.23 | 227922
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 6425.88 | 0 | 6425.88 | 10887
| TUCO 230kV Switching Station Abernathy Co Addition | 4/30/2017 | 4/30/2017 |  |  | 0 | 1422232.25 | 1422232.25 | 2363460
[5 empty] | Total | 6425.88 | 1669332.44 | 1675758.32 | 2820969
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG2-2018-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 87026254 | CSWS | ERCOTE | 50 | 2019-07-01 | 2020-09-01 | 2021-08-01 | 2022-10-01 | 0 | 3415215.3 | 1333333 | 1653577.2414
[9 empty] | 0 | 3415215.3 | 1333333 | 1653577.2414
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026254 | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | Yes | 1333333 | 12000000 | 1653577.2414
[5 empty] | Total | 1333333 | 12000000 | 1653577.24
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
87026254 | EASTMAN 138/13.8KV TRANSFORMER #1 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #2 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2019-07-01 | 2021-08-01 |  | No | 345709.51 | 3111385.6332
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 66306 | 596750.83
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | 2019-07-01 | 2021-08-01 |  | No | 151556 | 1364001.9
| NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | 2019-07-01 | 2021-08-01 |  | No | 161028 | 1449252.02
[5 empty] | Total | 1482324.53 | 13340912.4797
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
TNSK | AG2-2018-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 87026271 | OKGE | ERCOTN | 50 | 2019-07-01 | 2020-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3415215.3 | 30524156.22 | 60524156.22
[9 empty] | 0 | 3415215.3 | 30524156.22 | 60524156.22
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87026271 | ERCOT NORTH DC Tie Expansion | 2019-06-01 | 2023-06-01 |  | No | 30000000 | 30000000 | 60000000
[5 empty] | Total | 30000000 | 30000000 | 60000000
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
87026271 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 127339.52 | 127339.52
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 137225.48 | 137225.48
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 132251.7 | 132251.7
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 127339.52 | 127339.52
[5 empty] | Total | 524156.22 | 524156.22
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2018-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 87865243 | WR | WR | 50 | 2019-06-01 | 2030-01-01 | 2019-06-01 | 2030-01-01 | 47126.68 | 0 | 7024492.41 | 9594490.59
[9 empty] | 47126.68 | 0 | 7024492.41 | 9594490.59
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
87865243 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
87865243 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 12938.25 | 12938.25 | 73515.22
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 8494.12 | 8494.12 | 77073.76
| MEDICINE LODGE - PRATT 115KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 42690.12 | 42690.12 | 234252.77
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 4111.84 | 4111.84 | 25941.02
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 0 | 160128.72 | 160128.72 | 231835.96
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 0 | 93542.18 | 93542.18 | 137641.33
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | 12/31/2016 | 12/31/2016 |  |  | 1560.28 | 0 | 1560.28 | 2049.78
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 10/16/2016 | 10/16/2016 |  |  | 0 | 6655460.5 | 6655460.5 | 8745673.39
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 45566.4 | 0 | 45566.4 | 66507.36
[5 empty] | Total | 47126.68 | 6977365.73 | 7024492.41 | 9594490.59
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.

## Table4
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
AEPW | ERCOT EAST DC Tie Expansion | Add 50 MW HVDC Tie | 2019-06-01 | 2023-06-01 | 22727273
AEPW | ERCOT NORTH DC Tie Expansion | Add 50 MW HVDC Tie | 2019-06-01 | 2023-06-01 | 30000000
AEPW | KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | Replace 5.5 miles of overhead conductor and needed station work. | 2019-07-01 | 2021-08-01 | 12000000
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
CSWS | MCNAB REC - Turk 115KV CKT 1 #2 (AEP) | Build a new two mile, 138kV, 1590 ACSR line section (operated at 115kV) from Turk Substation to the existing Okay-Hope 115kV line to form a Turk - Hope 115kV line. | 12/1/2011 | 12/1/2011 | 875917.8
CSWS | SE TEXARKANA - TURK 138KV CKT 2 | Build new 34 mile Turk - SE Texarkana 138 kV line and add SE Texarkana 138 kV terminal. | 3/12/2012 | 3/12/2012 | 258459
CSWS | Shidler 138 kV | Replace existing 138kV CB at Shidler substation with 4 breaker ring. Provide Terminal for KAMO's 138kV line from Remington Station. Replace ground switch and circuit switcher, Move terminal for OG&E Osage 138kV line. Replace relay panels for OGE Osage and AEP Mound Road line terminals. Install 138kV meter transformers and meter at Shidler station. Install relay panel, line trap and RTU at Mound Road station for line to Shidler station. | 4/30/2014 | 4/30/2014 | 11165.99
CSWS | SUGAR HILL - TURK 138KV CKT 2 | Build new 24 mile Turk - Sugar Hill 138 kV line and add Sugar Hill 138 kV terminal. | 12/16/2010 | 12/16/2010 | 239479.8
CSWS | Sweetwater 230kV Substation Beckham 1 | Add 230kV Ring Bus Line Terminal to include one (1) 230kV Circuit Breaker and Disconnect Switches. | 10/5/2012 | 10/5/2012 | 93846.67
CSWS | Sweetwater 230kV Substation Beckham 2 | Add 230kV Ring Bus Line Terminal to include one (1) 230kV Circuit Breaker and Disconnect Switches. | 3/31/2010 | 3/31/2010 | 21002.54
CSWS | Tap Elk City - Wheeler 230kV (Sweetwater) POI for Beckham (NU) | Transmission Owner 230 kV Substation - Construct new 230 kV ring bus substation. Substation to be configured as a three breaker ring bus (expandable to breaker-and-a-half) to include, but not be limited to the following: Three (3) 230 kV circuit breakers, Six (6) 230 kV breaker disconnect switches, Two (2) 230 kV line traps, Two (2) sets of primary and redundant 230 kV line relaying, Two (2) sets of 230 kV transmission line terminal equipment including 230 kV PTs and arresters, Control House; Transmission Line – Transmission Owner to terminate the existing Elk City – Grapevine 230 kV transmission line into the new 230 kV substation. Estimate based on transmission line being located within two spans of the new 230 kV substation; Elk City Substation - Replace line panel and carrier equipment at Elk City 230 kV substation. | 6/1/2012 | 6/1/2012 | 354549.39
CSWS | TURK 138/115KV TRANSFORMER CKT 1 | Build Turk 138-115 kV station and relocate autotransformer (and spare) from Patterson to this new Turk station. | 12/1/2011 | 12/1/2011 | 196182.6
CSWS | Valliant 345 kV (AEP) | Install 345 kV terminal equipment at Valliant substation. | 4/17/2012 | 4/17/2012 | 197146.47
EDE | SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | Reconductor 11.9 miles of Oronogo Jct. to Riverton 161kV Ckt. 1 from 556 ACSR to 795 ACSR, change CT settings @ Oronogo, and replace wavetrap. | 6/1/2011 | 6/1/2011 | 23123.74
GRDA | FAIRFAX - PAWNEE 138KV CKT 2 | Build new Fairfax (AECI) - Pawnee 138 kV line and rebuild existing 69 kV line from Fairfax - Pawnee, approximately 19.5 miles with double circuit towers for double circuit 138 kV line. One side will be operated at 69 kV. | 10/14/2014 | 10/14/2014 | 13197
GRDA | Pawnee 138 kV | New GRDA 138 kV switching station at Pawnee. New 138 kV three breaker ring bus substation containing 3 138 kV circuit breakers, associated disconnect switches, structures, relaying, grounding, fencing, and all associated and miscellaneous equipment. | 10/3/2014 | 10/3/2014 | 3843.73
ITCM | HUGO - VALLIANT 345KV CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. | 7/1/2012 | 7/1/2012 | 536365.18
ITCM | HUGO 345/138KV TRANSFORMER CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. Note that ITC is building the line from Valiant to Hugo. | 7/1/2012 | 7/1/2012 | 559639.8
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 6/1/2006 | 6/1/2006 | 184486.9
MIDW | Rice - Lyons 115 kV Ckt 1 | Rebuild and extend 115 kV transmission line from existing Rice Co. substation to new Rice Co. substation, including engineering, surveying, and modification of existing easements as required. | 4/1/2013 | 4/1/2013 | 231835.96
MIDW | Rice County 230/115 kV transformer Ckt 1 | Install 230/115 kV transformer at Rice County. | 10/1/2012 | 10/1/2012 | 137641.33
MIDW | Wheatland 115 kV #2 | Install metering equipment at the Wheatland 115 kV substation. | 12/31/2012 | 12/31/2012 | 66507.36
MKEC | CLIFTON - GREENLEAF 115KV CKT 1 | Rebuild 14.4 miles | 6/1/2011 | 6/1/2011 | 383091
MKEC | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | Rebuild 8.05 mile line | 12/1/2009 | 12/1/2009 | 200761
MKEC | Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | Build appoximately 0.5 mile 115 kV line | 5/1/2015 | 5/1/2015 | 18361.52
MKEC | GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | Rebuild 43.5% Ownership of 20.9 miles | 6/1/2013 | 6/1/2013 | 33508
MKEC | MEDICINE LODGE - PRATT 115KV CKT 1 | Rebuild 26 mile line | 12/1/2009 | 12/1/2009 | 600846.34
MKEC | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | Upgrade transformer | 12/1/2009 | 12/1/2009 | 70848.55
MKEC | North Ft. Dodge - Spearville 115kV Ckt 2 | Build appoximately 20 mile 115 kV line | 5/1/2015 | 5/1/2015 | 50850.56
MKEC | Spearville 345/115 kV Transformer CKT 1 | Spearville Substation - Add 345/115kV autotransformer and 345kV and 115kV terminal positions for autotransformer. | 5/1/2015 | 5/1/2015 | 84585.28
NPPD | Antelope - County Line - 115kV Rebuild | Rebuild/Upgrade the Antelope – County Line 115kV to rerate line segments to greater than 125 MVA. | 5/1/2017 | 5/1/2017 | 13796.16
NPPD | Battle Creek - County Line 115kV Rebuild | Rebuild/Upgrade the Battle Creek – County Line 115kV to rerate line segments to greater than 125 MVA. | 5/1/2017 | 5/1/2017 | 13160.16
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 12/23/2013 | 12/23/2013 | 11910.37
NPPD | Hoskins - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating to address loading issues | 10/24/2015 | 10/24/2015 | 636
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 11/1/2014 | 11/1/2014 | 2925.48
NPPD | Neligh - Petersburg North 115kV Ckt 1 | Replace Breaker 1106, jumpers, & 115kV Switch 1106-D2; Replace Petersburg 115kV Substation main bus; Upgrade and replace transmission structures on 115kV lines TL1168 A & B to facilitate 100 degrees Centigrade line operation | 11/9/2012 | 11/9/2012 | 7509.04
NPPD | Twin Church - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating | 11/1/2018 | 11/1/2018 | 861.12
OKGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 3/1/2018 | 3/1/2018 | 75645.23
OKGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 1/1/2010 | 1/1/2010 | 838824.42
OKGE | Osage - Shidler 138kV | Replace Shidler 138kV line terminal primary and redundant relaying with SEL uProcessor based relays, install 3-138kV PTs, Install 1-138kV CB, Install metering, Install 2000A line Trap | 7/1/2014 | 7/1/2014 | 923.79
OKGE | Ranch Road 345kV Substation | Construct a three breaker 345kV ring bus substation. Work to include line relaying, structural steel, disconnect switches, and associated equipment. | 11/30/2014 | 11/30/2014 | 1147053.8
OKGE | Ranch Road 345kV Substation Kay Addition | Install one (1) 3000A breaker, line relaying, disconnect switches, and associated equipment. | 10/18/2016 | 10/18/2016 | 244698.45
OKGE | Woodward EHV 138kV Phase Shifting Transformer circuit #1 | Install one (1) 138 kV phase shifting transformer along with upgrading relay, protective, and metering equipment, and all associated and miscellaneous materials. | 8/2/2017 | 8/2/2017 | 11176.76
SPS | HARRINGTON MID - NICHOLS 230 KV CKT 2 | Reconductor Harrington Mid - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 12/1/2012 | 12/1/2012 | 218700
SPS | HARRINGTON WEST - NICHOLS 230KV CKT 1 | Reconductor Harrington West - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 12/1/2012 | 12/1/2012 | 227922
SPS | POWER SYSTEM STABILIZERS IN SPS | Install Power System Stabilizers (PSS) at Tolk (Units: 1,2) and Jones (Units: 1,2,3). | 11/30/2014 | 11/30/2014 | 376147.42
SPS | TUCO 230kV Switching Station Abernathy Co Addition | TUCO 230kV Switching Station: Add one (1) new 230kV breaker (breaker and one-half configuration); Replace one (1) 230kV breaker; Replace five (5) 230kV Switches; Includes dead end structure. | 4/30/2017 | 4/30/2017 | 2363460
WR | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | Replace Disconnect Switches, Wavetrap, Breaker, Jumpers with a minimum 2000 amp emergency rating equipment | 6/9/2010 | 6/9/2010 | 16.96
WR | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2013-06-30 | 2013-06-30 | 25.44
WR | NEOSHO - NORTHEAST PARSONS 138KV CKT 1 | Replace bus and Jumpers at NE Parsons 138 kV substation. | 2011-06-01 | 2011-06-01 | 16.96
WR | Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | Relaying settings changes at the new 345kV switching station. | 12/31/2016 | 12/31/2016 | 2049.78
WR | Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 345 kV Breaker and Half Substation (No metering or customer equipment); Eight (8) 345 kV Breakers; Twenty (20) 345 kV switches; Two (2) 345 kV reactor switches; Fourteen (14) VTs; Two (2) 345 kV 50 Mvar line reactors; New redundant primary relaying, relay | 10/16/2016 | 10/16/2016 | 8745673.39
WR | Union Ridge 230kV Dickenson/Marion Co Addition (NU) | Construct one (1) 345kV (230kV operating) 3000 continuous ampacity breakers, cut in transmission line and re-terminate, control panels, line relaying, disconnect switches, structures, foundations, conductors, insulators, and all other associated work and materials. | 9/1/2018 | 9/1/2018 | 168020.3
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | UpgradeName | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
ESTM | EASTMAN 138/13.8kV TRANSFORMER #1 | Upgrade Eastman 138/13.8 kV transformer #1 | 2019-07-01 | 2021-08-01 | 3111385.6332
ESTM | EASTMAN 138/13.8kV TRANSFORMER #2 | Upgrade Eastman 138/13.8 kV transformer #2 | 2019-07-01 | 2021-08-01 | 3111385.6332
ESTM | EASTMAN 138/13.8kV TRANSFORMER #3 | Upgrade Eastman 138/13.8 kV transformer #3 | 2019-07-01 | 2021-08-01 | 3111385.6332
ESTM | EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 1 | Rebuild 0.7-mile of 138 kV transmission line from Eastman Generation to North Texas Eastman (circuit 1). | 2019-07-01 | 2021-08-01 | 596750.83
ESTM | EASTMAN GENERATION - NORTH TEXAS EASTMAN 138KV CKT 2 | Rebuild 0.7-mile of 138 kV transmission line from Eastman Generation to North Texas Eastman (circuit 2). | 2019-07-01 | 2021-08-01 | 596750.83
ESTM | NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 1 | Rebuild 1.6-mile of 138kV transmission line from North Texas Eastman to Texas Eastman. | 2019-07-01 | 2021-08-01 | 1364001.9
ESTM | NORTH TEXAS EASTMAN - TEXAS EASTMAN 138KV CKT 2 | Rebuild 1.7-mile of 138kV transmission line from North Texas Eastman to Texas Eastman. | 2019-07-01 | 2021-08-01 | 1449252.02

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
ERCOT EAST HVDC Tie Expansion | MCPI | AG2-2018-014 | 87026265 | 100% | 22727273
|  |  |  | Total: | 22727273
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
ERCOT NORTH HVDC Tie Expansion | TNSK | AG2-2018-029 | 87026271 | 100% | 30000000
|  |  |  | Total: | 30000000
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-008 | 87026257 | 11.11% | 1333333.3333
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-009 | 87026258 | 22.22% | 2666666.6667
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-011 | 87026260 | 11.11% | 1333333.3333
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-012 | 87026261 | 22.22% | 2666666.6667
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-013 | 87026263 | 11.11% | 1333333.3333
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | MCPI | AG2-2018-014 | 87026265 | 11.11% | 1333333.3333
KNOX LEE - SOUTH TEXAS EASTMAN 138KV CKT 1 | TNSK | AG2-2018-028 | 87026254 | 11.11% | 1333333.3333
|  |  |  | Total: | 12000000