## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
AEPM | AG1-2019-001 | 88844850 | CSWS | EES | 181 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
APM | AG1-2019-002 | 89182016 | X | SPA | 10 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | Note 4 | Note 4 | YES
APM | AG1-2019-003 | 89183931 | X | OKGE | 17 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | Note 4 | Note 4 | YES
APM | AG1-2019-004 | 89183944 | X | CSWS | 58 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | Note 4 | Note 4 | YES
BEPM | AG1-2019-005 | 88489552 | WAUE | WAUE | 45 | 2023-10-01 | 2035-10-01 | 2023-10-01 | 2035-10-01 | Note 4 | Note 4 | NO
BEPM | AG1-2019-006 | 88512339 | WAUE | WAUE | 140 | 2023-10-01 | 2035-10-01 | 2023-10-01 | 2035-10-01 | Note 4 | Note 4 | NO
BRPS | AG1-2019-007 | 89203861 | OKGE | NPPD | 20 | 2021-06-01 | 2026-06-01 | 2021-06-01 | 2026-06-01 | 2021-06-01 | 2026-06-01 | YES
BRPS | AG1-2019-008 | 89204005 | WAUE | NPPD | 1 | 2020-01-01 | 2049-01-01 | 2020-01-01 | 2049-01-01 | 2020-01-01 | 2049-01-01 | NO
EDE | AG1-2019-009 | 89219628 | EDE | EDE | 150 | 2020-07-01 | 2040-07-01 | 2020-07-01 | 2040-07-01 | 2020-07-01 | 2040-07-01 | NO
EDE | AG1-2019-010 | 89219810 | X | EDE | 301 | 2020-11-01 | 2040-11-01 | 2022-12-01 | 2042-12-01 | 2021-12-01 | 2041-12-01 | YES
EDE | AG1-2019-011 | 89220085 | EDE | EDE | 150 | 2020-10-01 | 2040-10-01 | 2020-10-01 | 2040-10-01 | 2020-10-01 | 2040-10-01 | NO
ETEC | AG1-2019-012 | 89073059 | OKGE | CSWS | 23 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | NO
ETEC | AG1-2019-013 | 89073070 | OKGE | CSWS | 76 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | NO
INDP | AG1-2019-014 | 89183980 | CSWS | KCPL | 60 | 2020-06-01 | 2030-06-01 | 2020-06-01 | 2030-06-01 | 2020-06-01 | 2030-06-01 | NO
KMEA | AG1-2019-015 | 89210890 | GRDA | SECI | 9 | 2021-01-01 | 2026-01-01 | 2021-01-01 | 2026-01-01 | 2021-01-01 | 2026-01-01 | NO
MCPI | AG1-2019-016 | 88109856 | WFEC | ERCOTN | 100 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | NO
MCPI | AG1-2019-017 | 88109857 | WFEC | ERCOTN | 120 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | NO
MCPI | AG1-2019-018 | 88109858 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 2021-12-01 | 2023-02-01 | YES
MCPI | AG1-2019-019 | 88109859 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 2021-12-01 | 2023-02-01 | YES
MCPI | AG1-2019-020 | 88109862 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | YES
MCPI | AG1-2019-021 | 88109863 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | YES
MCPI | AG1-2019-022 | 88109864 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | YES
MCPI | AG1-2019-023 | 88109865 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 2021-12-01 | 2023-02-01 | YES
MCPI | AG1-2019-024 | 88109866 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 2021-12-01 | 2023-02-01 | YES
MCPI | AG1-2019-025 | 88109871 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 2021-12-01 | 2023-02-01 | YES
OGE | AG1-2019-026 | 89175798 | OKGE | OKGE | 320 | 2019-12-01 | 2040-12-01 | 2019-12-01 | 2040-12-01 | 2019-12-01 | 2040-12-01 | NO
OPPM | AG1-2019-027 | 88405091 | OPPD | OPPD | 150 | 2020-06-01 | 2022-06-01 | 2020-06-01 | 2022-06-01 | 2020-06-01 | 2022-06-01 | NO
SPRM | AG1-2019-028 | 89227031 | SPA | SPRM | 50 | 2020-04-01 | 2050-04-01 | 2021-12-01 | 2051-12-01 | 2021-12-01 | 2051-12-01 | YES
SPSM | AG1-2019-029 | 89170351 | SPS | SPS | 150 | 2019-12-01 | 2048-12-01 | 2019-12-01 | 2048-12-01 | Note 4 | Note 4 | YES
SSCN | AG1-2019-030 | 89162227 | OKGE | NPPD | 8 | 2022-01-01 | 2031-01-01 | 2022-01-01 | 2031-01-01 | Note 4 | Note 4 | YES
SSCN | AG1-2019-031 | 89162887 | LES | NPPD | 13 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | NO
TNSK | AG1-2019-032 | 88109881 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
TNSK | AG1-2019-033 | 88109886 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
TNSK | AG1-2019-034 | 88109895 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
TNSK | AG1-2019-035 | 88109896 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
TNSK | AG1-2019-036 | 88109897 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 2023-06-01 | 2024-08-01 | YES
WFEC | AG1-2019-037 | 89038173 | OKGE | WFEC | 250 | 2019-12-01 | 2049-05-01 | 2019-12-01 | 2049-05-01 | Note 4 | Note 4 | YES
WRGS | AG1-2019-038 | 89210410 | WR | WR | 125 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
WRGS | AG1-2019-039 | 89210446 | WR | WR | 35 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
WRGS | AG1-2019-040 | 89217003 | SECI | WR | 80 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
WRGS | AG1-2019-041 | 89217294 | WR | WR | 6 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | YES
3448
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter)
AEPM | AG1-2019-001 | 88844850 | 360852.55 | 360852.55 | 0 |  | 0 | 0 | 0 | 748887.6 | 0 | 0 | 748887.6 | 360852.55
APM | AG1-2019-002 | 89182016 | 105275.51 | 105275.51 | 0 |  | 0 | 114588 | 0 | 108010.8 | 0 | 0 | 222598.8 | 105275.51
APM | AG1-2019-003 | 89183931 | 152189 | 152189 | 0 |  | 0 | 148915.428 | 0 | 200985 | 0 | 0 | 349900.428 | 152189
APM | AG1-2019-004 | 89183944 | 664491.26 | 664491.26 | 0 |  | 0 | 537853.374 | 0 | 843631.8 | 0 | 0 | 1381485.174 | 664491.26
BEPM | AG1-2019-005 | 88489552 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG1-2019-006 | 88512339 | 126762.48 | 0 | 126762.48 |  | 0 | 0 | 0 | 0 | 210585.6 | 0 | Schedule 9 & 11 Charges | 0
BRPS | AG1-2019-007 | 89203861 | 52963.78 | 52963.78 | 0 |  | 0 | 0 | 0 | 226761 | 0 | 0 | 226761 | 52963.78
BRPS | AG1-2019-008 | 89204005 | 625.35 | 0 | 625.35 |  | 0 | 0 | 0 | 0 | 1162.32 | 0 | Schedule 9 & 11 Charges | 0
EDE | AG1-2019-009 | 89219628 | 4196391 | 4196391 | 0 |  | 0 | 12163030 | 0 | 0 | 0 | 0 | 12163030 | 4196391
EDE | AG1-2019-010 | 89219810 | 23161212.14 | 23161212.14 | 0 |  | 13147045 | 75563760 | 0 | 591136.8 | 0 | 0 | 76154895.744 | 23161212.14
EDE | AG1-2019-011 | 89220085 | 4334524 | 4334524 | 0 |  | 0 | 12834827.952 | 0 | 0 | 0 | 0 | 12834830 | 4334524
ETEC | AG1-2019-012 | 89073059 | 56283.48 | 0 | 56283.48 |  | 0 | 0 | 0 | 0 | 388755.44 | 0 | Schedule 9 & 11 Charges | 0
ETEC | AG1-2019-013 | 89073070 | 185978.15 | 0 | 185978.15 |  | 0 | 0 | 0 | 0 | 1284567.28 | 0 | Schedule 9 & 11 Charges | 0
INDP | AG1-2019-014 | 89183980 | 95406.56 | 95406.56 | 0 |  | 0 | 0 | 0 | 633920.4 | 0 | 0 | 633920.4 | 95406.56
KMEA | AG1-2019-015 | 89210890 | 28440.92 | 0 | 28440.92 |  | 0 | 0 | 0 | 0 | 150246 | 0 | Schedule 9 & 11 Charges | 0
MCPI | AG1-2019-016 | 88109856 | 0 | 0 | 0 |  | 0 | 0 | 0 | 124296.06 | 0 | 6598036 | 6598036 | 0
MCPI | AG1-2019-017 | 88109857 | 0 | 0 | 0 |  | 0 | 0 | 0 | 124296.06 | 0 | 7917643 | 7917643 | 0
MCPI | AG1-2019-018 | 88109858 | 0 | 0 | 0 |  | 1854069 | 0 | 0 | 0 | 0 | 6598036 | 6598036 | 0
MCPI | AG1-2019-019 | 88109859 | 0 | 0 | 0 |  | 1854069 | 0 | 0 | 0 | 0 | 6598036 | 6598036 | 0
MCPI | AG1-2019-020 | 88109862 | 0 | 0 | 0 |  | 1005248.7253 | 0 | 0 | 0 | 0 | 3299018 | 3299018 | 0
MCPI | AG1-2019-021 | 88109863 | 0 | 0 | 0 |  | 1005248.7253 | 0 | 0 | 0 | 0 | 3299018 | 3299018 | 0
MCPI | AG1-2019-022 | 88109864 | 0 | 0 | 0 |  | 1005248.7253 | 0 | 0 | 0 | 0 | 3299018 | 3299018 | 0
MCPI | AG1-2019-023 | 88109865 | 0 | 0 | 0 |  | 927034.5 | 0 | 0 | 0 | 0 | 3299018 | 3299018 | 0
MCPI | AG1-2019-024 | 88109866 | 0 | 0 | 0 |  | 1854069 | 0 | 0 | 0 | 0 | 6598036 | 6598036 | 0
MCPI | AG1-2019-025 | 88109871 | 0 | 0 | 0 |  | 927034.5 | 0 | 0 | 0 | 0 | 3299018 | 3299018 | 0
OGE | AG1-2019-026 | 89175798 | 1007044.4 | 0 | 1007044.4 |  | 0 | 0 | 0 | 0 | 5754666.96 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2019-027 | 88405091 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SPRM | AG1-2019-028 | 89227031 | 327989 | 0 | 327989 |  | 3535254 | 0 | 1420510.464 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SPSM | AG1-2019-029 | 89170351 | 1160988.83 | 1159604.77 | 1384.06 |  | 0 | 830094 | 0 | 1433453.76 | 2519.52 | 0 | 2263547.76 | 1159604.77
SSCN | AG1-2019-030 | 89162227 | 275228.99 | 7846.09 | 267382.9 |  | 0 | 0 | 0 | 36947.16 | 448963.2 | 0 | 36947.16 | 7846.09
SSCN | AG1-2019-031 | 89162887 | 2260.68 | 0 | 2260.68 |  | 0 | 0 | 0 | 0 | 2727.6 | 0 | Schedule 9 & 11 Charges | 0
TNSK | AG1-2019-032 | 88109881 | 20000000 | 20000000 | 0 | 10 | 1005248.7253 | 40000000 | 0 | 0 | 0 | 3299018 | 40000000 | 20000000
TNSK | AG1-2019-033 | 88109886 | 20000000 | 20000000 | 0 | 10 | 1005248.7253 | 40000000 | 0 | 0 | 0 | 3299018 | 40000000 | 20000000
TNSK | AG1-2019-034 | 88109895 | 20000000 | 20000000 | 0 | 10 | 1005248.7253 | 40000000 | 0 | 0 | 0 | 3299018 | 40000000 | 20000000
TNSK | AG1-2019-035 | 88109896 | 20000000 | 20000000 | 0 | 10 | 1005248.7253 | 40000000 | 0 | 0 | 0 | 3299018 | 40000000 | 20000000
TNSK | AG1-2019-036 | 88109897 | 20000000 | 20000000 | 0 | 10 | 1005248.7253 | 40000000 | 0 | 0 | 0 | 3299018 | 40000000 | 20000000
WFEC | AG1-2019-037 | 89038173 | 1773442.69 | 1688317.69 | 85125 |  | 0 | 0 | 0 | 10043813.69 | 157374.46 | 0 | 10043813.69 | 1688317.69
WRGS | AG1-2019-038 | 89210410 | 17018796.86 | 16954872.86 | 63924 |  | 0 | 0 | 0 | 21278409.6 | 86650.2 | 0 | 21278409.6 | 16954872.86
WRGS | AG1-2019-039 | 89210446 | 1299621.04 | 1270838.63 | 28782.41 |  | 0 | 0 | 0 | 1709328 | 38625 | 0 | 1709328 | 1270838.63
WRGS | AG1-2019-040 | 89217003 | 1184115.03 | 1137189.19 | 46925.84 |  | 0 | 0 | 0 | 2114498.4 | 64009.2 | 0 | 2114498.4 | 1137189.19
WRGS | AG1-2019-041 | 89217294 | 12282367.09 | 12278389.71 | 3977.38 |  | 0 | 12443134.344 | 0 | 27192 | 5425.2 | 0 | 12470326.34 | 12278389.71
Grand Total |  |  | 169853250.79 |  | 2232886.05 |  | 32140564.8028 | 314636203.098 | 1420510.464 | 40245568.13 | 8596277.98 |  |  | 167620364.74
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.
Note 10: RR may increase or decrease due to estimated assumptions and is subject to change.

## Table3
Customer | Study Number
AEPM | AG1-2019-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AEPM | 88844850 | CSWS | EES | 181 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 0 | 0 | 360852.55 | 748887.6
[9 empty] | 0 | 0 | 360852.55 | 748887.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88844850 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88844850 | Gracemont 138kV line terminal addition | 10/15/2011 | 10/15/2011 |  |  | 35030.17 | 49755.6
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 83838.45 | 332056.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 16255.71 | 56669.4
| WASHITA - GRACEMONT 138 KV CKT 2 | 10/12/2012 | 10/12/2012 |  |  | 225728.22 | 310406.4
[5 empty] | Total | 360852.55 | 748887.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
APM | AG1-2019-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
APM | 89182016 | X | SPA | 10 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 0 | 0 | 105275.51 | 222598.8
[9 empty] | 0 | 0 | 105275.51 | 222598.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89182016 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 61071 | 61071 | 28410000 | 98236.05
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 8698 | 8698 | 4046161 | 16351.95
[5 empty] | Total | 0 | 69769 | 69769 | 32456161 | 114588
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89182016 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 2744.16 | 2744.16 | 10869
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 12721.7 | 12721.7 | 15331.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 944.21 | 944.21 | 7253.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 14039.31 | 14039.31 | 67225.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 532.08 | 532.08 | 1854.6
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 0 | 4525.05 | 4525.05 | 5476.8
[5 empty] | Total | 0 | 35506.51 | 35506.51 | 108010.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
APM | AG1-2019-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
APM | 89183931 | X | OKGE | 17 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 0 | 0 | 152189 | 349900.428
[9 empty] | 0 | 0 | 152189 | 349900.428
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89183931 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 79367 | 79367 | 28410000 | 127666.164
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 11303 | 11303 | 4046161 | 21249.264
[5 empty] | Total | 0 | 90670 | 90670 | 32456161 | 148915.428
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89183931 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 7270.14 | 7270.14 | 28794.6
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 18054.64 | 18054.64 | 21759
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 2523.38 | 2523.38 | 19384.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 24338.99 | 24338.99 | 116544
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 1409.63 | 1409.63 | 4914
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 0 | 7922.22 | 7922.22 | 9588.6
[5 empty] | Total | 0 | 61519 | 61519 | 200985
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
APM | AG1-2019-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
APM | 89183944 | X | CSWS | 58 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 0 | 0 | 664491.26 | 1381485.174
[9 empty] | 0 | 0 | 664491.26 | 1381485.174
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89183944 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 286656 | 286656 | 28410000 | 461101.866
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 40826 | 40826 | 4046161 | 76751.508
[5 empty] | Total | 0 | 327482 | 327482 | 32456161 | 537853.374
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89183944 | DEARING 138KV | 2013-06-30 | 2013-06-30 |  |  | 0 | 136.22 | 136.22 | 477.6
| FAIRFAX - PAWNEE 138KV CKT 2 | 10/14/2014 | 10/14/2014 |  |  | 0 | 56609.24 | 56609.24 | 72965.4
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 27057.24 | 27057.24 | 107164.8
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 61564.7 | 61564.7 | 74196
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 8979.02 | 8979.02 | 68977.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 78259.14 | 78259.14 | 374733.6
| Osage - Shidler 138kV | 7/1/2014 | 7/1/2014 |  |  | 0 | 4434.56 | 4434.56 | 5762.4
| Pawnee 138 kV | 10/3/2014 | 10/3/2014 |  |  | 0 | 16488.1 | 16488.1 | 21252
| Shidler 138 kV | 4/30/2014 | 4/30/2014 |  |  | 0 | 53309.4 | 53309.4 | 69645
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 5246.21 | 5246.21 | 18289.2
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 0 | 24925.43 | 24925.43 | 30168.6
[5 empty] | Total | 0 | 337009.26 | 337009.26 | 843631.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2019-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 88489552 | WAUE | WAUE | 45 | 2023-10-01 | 2035-10-01 | 2023-10-01 | 2035-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88489552 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2019-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 88512339 | WAUE | WAUE | 140 | 2023-10-01 | 2035-10-01 | 2023-10-01 | 2035-10-01 | 126762.48 | 0 | 126762.48 | 210585.6
[9 empty] | 126762.48 | 0 | 126762.48 | 210585.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88512339 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88512339 | Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 126762.48 | 210585.6
[5 empty] | Total | 126762.48 | 210585.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG1-2019-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 89203861 | OKGE | NPPD | 20 | 2021-06-01 | 2026-06-01 | 2021-06-01 | 2026-06-01 | 0 | 0 | 52963.78 | 226761
[9 empty] | 0 | 0 | 52963.78 | 226761
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89203861 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89203861 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 5300.29 | 5300.29 | 23701.2
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 13770.83 | 13770.83 | 17620.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 3172.42 | 3172.42 | 27606
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 28111.29 | 28111.29 | 151900.8
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 0 | 1574.36 | 1574.36 | 1885.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 1034.59 | 1034.59 | 4047.6
[5 empty] | Total | 0 | 52963.78 | 52963.78 | 226761
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG1-2019-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 89204005 | WAUE | NPPD | 1 | 2020-01-01 | 2049-01-01 | 2020-01-01 | 2049-01-01 | 625.35 | 0 | 625.35 | 1162.32
[9 empty] | 625.35 | 0 | 625.35 | 1162.32
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89204005 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89204005 | Kelly - Madison County 230kV Ckt 1 | 11/1/2014 | 11/1/2014 |  |  | 558.82 | 1050.96
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 66.53 | 111.36
[5 empty] | Total | 625.35 | 1162.32
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
EDE | AG1-2019-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
EDE | 89219628 | EDE | EDE | 150 | 2020-07-01 | 2040-07-01 | 2020-07-01 | 2040-07-01 | 0 | 0 | 4196391 | 12163031.136
[9 empty] | 0 | 0 | 4196391 | 12163031.136
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89219628 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 3673246 | 3673246 | 28410000 | 10543787.256
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 523145 | 523145 | 4046161 | 1619243.88
[5 empty] | Total | 0 | 4196391 | 4196391 | 32456161 | 12163031.136
Customer | Study Number
EDE | AG1-2019-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
EDE | 89219810 | X | EDE | 301 | 2020-11-01 | 2040-11-01 | 2022-12-01 | 2042-12-01 | 0 | 0 | 23161212.14 | 76154895.744
[9 empty] | 0 | 0 | 23161212.14 | 76154895.744
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89219810 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  | Yes | 0 | 20228401 | 20228401 | 28410000 | 65679488.208
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  | Yes | 0 | 2880935 | 2880935 | 4046161 | 9884270.736
[5 empty] | Total | 0 | 23109336 | 23109336 | 32456161 | 75563758.944
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89219810 | LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 26333.09 | 26333.09 | 411796.8
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 0 | 25543.05 | 25543.05 | 179340
[5 empty] | Total | 0 | 51876.14 | 51876.14 | 591136.8
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
89219810 | Everton - St Joe 161kV Rebuild | 2021-06-01 | 2021-12-01 |  | No | 10213780 | 12960276.79
| Hilltop - St Joe 161 kV Rebuild | 2021-06-01 | 2021-12-01 |  | No | 2933265 | 3722023.53
[5 empty] | Total | 13147045 | 16682300.32
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
EDE | AG1-2019-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
EDE | 89220085 | EDE | EDE | 150 | 2020-10-01 | 2040-10-01 | 2020-10-01 | 2040-10-01 | 0 | 0 | 4334524 | 12834827.952
[9 empty] | 0 | 0 | 4334524 | 12834827.952
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89220085 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 3794159 | 3794159 | 28410000 | 11131385.352
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 0 | 540365 | 540365 | 4046161 | 1703442.6
[5 empty] | Total | 0 | 4334524 | 4334524 | 32456161 | 12834827.952
Customer | Study Number
ETEC | AG1-2019-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 89073059 | OKGE | CSWS | 23 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | 56283.48 | 0 | 56283.48 | 388755.44
[9 empty] | 56283.48 | 0 | 56283.48 | 388755.44
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89073059 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89073059 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 39829.68 | 0 | 39829.68 | 280824.48
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 8715.93 | 0 | 8715.93 | 61014.64
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 7737.87 | 0 | 7737.87 | 46916.32
[5 empty] | Total | 56283.48 | 0 | 56283.48 | 388755.44
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
ETEC | AG1-2019-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 89073070 | OKGE | CSWS | 76 | 2020-06-01 | 2040-10-01 | 2020-06-01 | 2040-10-01 | 185978.15 | 0 | 185978.15 | 1284567.28
[9 empty] | 185978.15 | 0 | 185978.15 | 1284567.28
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89073070 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89073070 | HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 131610.99 | 0 | 131610.99 | 927939.32
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 28798.57 | 0 | 28798.57 | 201602.56
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 25568.59 | 0 | 25568.59 | 155025.4
[5 empty] | Total | 185978.15 | 0 | 185978.15 | 1284567.28
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
INDP | AG1-2019-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
INDP | 89183980 | CSWS | KCPL | 60 | 2020-06-01 | 2030-06-01 | 2020-06-01 | 2030-06-01 | 0 | 0 | 95406.56 | 633920.4
[9 empty] | 0 | 0 | 95406.56 | 633920.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89183980 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89183980 | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 2010-06-09 | 2010-06-09 |  |  | 18.22 | 102
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 16555.28 | 160491.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 78833.06 | 473326.8
[5 empty] | Total | 95406.56 | 633920.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG1-2019-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 89210890 | GRDA | SECI | 9 | 2021-01-01 | 2026-01-01 | 2021-01-01 | 2026-01-01 | 28440.92 | 0 | 28440.92 | 150246
[9 empty] | 28440.92 | 0 | 28440.92 | 150246
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89210890 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89210890 | LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 792.68 | 6649.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 27114.18 | 141396
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 6/1/2011 | 6/1/2011 |  |  | 534.06 | 2200.2
[5 empty] | Total | 28440.92 | 150246
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2019-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109856 | WFEC | ERCOTN | 100 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 0 | 6598036 | 124296.06 | 124296.06
[9 empty] | 0 | 6598036 | 124296.06 | 124296.06
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109856 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88109856 | POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 124296.06 | 124296.06
[5 empty] | Total | 124296.06 | 124296.06
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2019-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109857 | WFEC | ERCOTN | 120 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 0 | 7917643 | 124296.06 | 124296.06
[9 empty] | 0 | 7917643 | 124296.06 | 124296.06
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109857 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
88109857 | POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 124296.06 | 124296.06
[5 empty] | Total | 124296.06 | 124296.06
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MCPI | AG1-2019-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109858 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 0 | 6598036 | 0 | 0
[9 empty] | 0 | 6598036 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109858 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109858 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| EASTMAN 138/13.8KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
[5 empty] | Total | 1854069 | 7416274
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109859 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 0 | 6598036 | 0 | 0
[9 empty] | 0 | 6598036 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109859 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109859 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| EASTMAN 138/13.8KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
[5 empty] | Total | 1854069 | 7416274
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109862 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 0 | 3299018 | 0 | 0
[9 empty] | 0 | 3299018 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109862 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109863 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 0 | 3299018 | 0 | 0
[9 empty] | 0 | 3299018 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109863 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109864 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-07-01 | 2022-09-01 | 0 | 3299018 | 0 | 0
[9 empty] | 0 | 3299018 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109864 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109865 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 0 | 3299018 | 0 | 0
[9 empty] | 0 | 3299018 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109865 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109865 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 |  | No | 74594 | 596751
| Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 |  | No | 74594 | 596751
| EASTMAN 138/13.8KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 388923.25 | 3111386
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2021-06-01 | 2021-06-01 |  | No | 388923.25 | 3111386
[5 empty] | Total | 927034.5 | 7416274
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109866 | CSWS | ERCOTE | 100 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 0 | 6598036 | 0 | 0
[9 empty] | 0 | 6598036 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109866 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109866 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 |  | No | 149188 | 596751
| EASTMAN 138/13.8KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2021-06-01 | 2021-06-01 |  | No | 777846.5 | 3111386
[5 empty] | Total | 1854069 | 7416274
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
MCPI | AG1-2019-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 88109871 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2021-12-01 | 2023-02-01 | 0 | 3299018 | 0 | 0
[9 empty] | 0 | 3299018 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109871 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109871 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 |  | No | 74594 | 596751
| Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 |  | No | 74594 | 596751
| EASTMAN 138/13.8KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 388923.25 | 3111386
| EASTMAN 138/13.8KV TRANSFORMER #3 | 2021-06-01 | 2021-06-01 |  | No | 388923.25 | 3111386
[5 empty] | Total | 927034.5 | 7416274
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
OGE | AG1-2019-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 89175798 | OKGE | OKGE | 320 | 2019-12-01 | 2040-12-01 | 2019-12-01 | 2040-12-01 | 1007044.4 | 0 | 1007044.4 | 5754666.96
[9 empty] | 1007044.4 | 0 | 1007044.4 | 5754666.96
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89175798 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89175798 | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | 2009-03-23 | 2009-03-23 |  |  | 39941.54 | 304872.12
| BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | 2009-06-01 | 2009-06-01 |  |  | 15001.7 | 134033.76
| EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | 2009-06-01 | 2009-06-01 |  |  | 30643.31 | 273785.4
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 166445.59 | 1147673.52
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 216292.33 | 353246.04
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 378080.99 | 3146182.2
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 32260.04 | 191560.32
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 128378.9 | 203313.6
[5 empty] | Total | 1007044.4 | 5754666.96
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
OPPM | AG1-2019-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 88405091 | OPPD | OPPD | 150 | 2020-06-01 | 2022-06-01 | 2020-06-01 | 2022-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88405091 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SPRM | AG1-2019-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 89227031 | SPA | SPRM | 50 | 2020-04-01 | 2050-04-01 | 2021-12-01 | 2051-12-01 | 327989 | 0 | 327989 | 1420510.464
[9 empty] | 327989 | 0 | 327989 | 1420510.464
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89227031 | Neosho - Riverton 161kV Line Rebuild (EMDE) | 2021-10-01 | 2022-12-01 |  |  | 287100 | 28410000 | 1239380.316
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2021-10-01 | 2022-12-01 |  |  | 40889 | 4046161 | 181130.148
[5 empty] | Total | 327989 | 32456161 | 1420510.464
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
89227031 | Everton - St Joe 161kV Rebuild | 2021-06-01 | 2021-12-01 |  | No | 2746496 | 12960276.79
| Hilltop - St Joe 161 kV Rebuild | 2021-06-01 | 2021-12-01 |  | No | 788758 | 3722023.53
[5 empty] | Total | 3535254 | 16682300.32
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
SPSM | AG1-2019-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPSM | 89170351 | SPS | SPS | 150 | 2019-12-01 | 2048-12-01 | 2019-12-01 | 2048-12-01 | 1384.06 | 0 | 1160988.83 | 2266067.11
[9 empty] | 1384.06 | 0 | 1160988.83 | 2266067.11
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89170351 | Amoco Tap - Sundown Interchange 115 kV Terminal Upgrades | 2028-06-01 | 2028-06-01 |  |  | 0 | 358281 | 358281 | 358281 | 830093.8308
[5 empty] | Total | 0 | 358281 | 358281 | 358281 | 830093.83
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89170351 | PLANT X - TOLK 230KV REBUILD CIRCUIT #1 | 12/31/2017 | 12/31/2017 |  |  | 0 | 118281.23 | 118281.23 | 211587.48
| PLANT X - TOLK 230KV REBUILD CIRCUIT #2 | 12/31/2017 | 12/31/2017 |  |  | 0 | 114673.98 | 114673.98 | 205135.56
| POWER SYSTEM STABILIZERS IN SPS | 11/30/2014 | 11/30/2014 |  |  | 1384.06 | 0 | 1384.06 | 2519.52
| TUCO INTERCHANGE 345/230KV CKT 1 REPLACEMENT | 6/1/2018 | 6/1/2018 |  |  | 0 | 568368.56 | 568368.56 | 1016730.72
[5 empty] | Total | 1384.06 | 801323.77 | 802707.83 | 1435973.28
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SSCN | AG1-2019-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SSCN | 89162227 | OKGE | NPPD | 8 | 2022-01-01 | 2031-01-01 | 2022-01-01 | 2031-01-01 | 267382.9 | 0 | 275228.99 | 485910.36
[9 empty] | 267382.9 | 0 | 275228.99 | 485910.36
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89162227 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89162227 | Tap Woodring - Mathewson 345kV - Kingfisher Co (NU) | 2017-10-02 | 2017-10-02 |  |  | 214477.34 | 0 | 214477.34 | 302684.04
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 4975.84 | 2450.79 | 7426.63 | 11135.88
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 2272.99 | 0 | 2272.99 | 12467.52
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 33278.78 | 0 | 33278.78 | 47298.6
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 978.95 | 0 | 978.95 | 10503
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 9872.92 | 4862.78 | 14735.7 | 97597.44
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 1081.17 | 532.52 | 1613.69 | 2108.16
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 444.91 | 0 | 444.91 | 2115.72
[5 empty] | Total | 267382.9 | 7846.09 | 275228.99 | 485910.36
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SSCN | AG1-2019-031
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SSCN | 89162887 | LES | NPPD | 13 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 2260.68 | 0 | 2260.68 | 2727.6
[9 empty] | 2260.68 | 0 | 2260.68 | 2727.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89162887 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89162887 | Gavins Point - Yankton Junction 115 kV | 2020-10-01 | 2020-10-01 |  |  | 943.93 | 1032.6
| Fort Randall - Madison County 230kV Ckt 1 | 12/23/2013 | 12/23/2013 |  |  | 1076.02 | 1420.8
| Twin Church - Dixon County 230kV Line Upgrade | 11/1/2018 | 11/1/2018 |  |  | 240.73 | 274.2
[5 empty] | Total | 2260.68 | 2727.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG1-2019-032
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 88109881 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3299018 | 20000000 | 40000000
[9 empty] | 0 | 3299018 | 20000000 | 40000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109881 | ERCOT EAST DC Tie Expansion | 2021-06-01 | 2023-06-01 |  |  | 20000000 | 100000000 | 40000000
[5 empty] | Total | 20000000 | 100000000 | 40000000
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
TNSK | AG1-2019-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 88109886 | CSWS | ERCOTE | 50 | 2021-07-01 | 2022-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3299018 | 20000000 | 40000000
[9 empty] | 0 | 3299018 | 20000000 | 40000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109886 | ERCOT EAST DC Tie Expansion | 2021-06-01 | 2023-06-01 |  |  | 20000000 | 100000000 | 40000000
[5 empty] | Total | 20000000 | 100000000 | 40000000
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
TNSK | AG1-2019-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 88109895 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3299018 | 20000000 | 40000000
[9 empty] | 0 | 3299018 | 20000000 | 40000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109895 | ERCOT EAST DC Tie Expansion | 2021-06-01 | 2023-06-01 |  |  | 20000000 | 100000000 | 40000000
[5 empty] | Total | 20000000 | 100000000 | 40000000
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
TNSK | AG1-2019-035
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 88109896 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3299018 | 20000000 | 40000000
[9 empty] | 0 | 3299018 | 20000000 | 40000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109896 | ERCOT EAST DC Tie Expansion | 2021-06-01 | 2023-06-01 |  |  | 20000000 | 100000000 | 40000000
[5 empty] | Total | 20000000 | 100000000 | 40000000
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
TNSK | AG1-2019-036
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 88109897 | CSWS | ERCOTE | 50 | 2020-07-01 | 2021-09-01 | 2023-06-01 | 2024-08-01 | 0 | 3299018 | 20000000 | 40000000
[9 empty] | 0 | 3299018 | 20000000 | 40000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
88109897 | ERCOT EAST DC Tie Expansion | 2021-06-01 | 2023-06-01 |  |  | 20000000 | 100000000 | 40000000
[5 empty] | Total | 20000000 | 100000000 | 40000000
Third Party Limitations.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | *Allocated E & C Cost | *Total E & C Cost
88109862 | WELSH 345/18.0KV TRANSFORMER #1 | 2021-06-01 | 2021-06-01 |  | No | 1005248.7253 | 8041989.8028
[5 empty] | Total | 1005248.7253 | 8041989.8028
*Estimated cost allocation as a percentage of total cost is shown for third-party limitations when costs have not yet been established by the third-party.
Customer | Study Number
WFEC | AG1-2019-037
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 89038173 | OKGE | WFEC | 250 | 2019-12-01 | 2049-05-01 | 2019-12-01 | 2049-05-01 | 85125 | 0 | 1773442.69 | 10201188.15
[9 empty] | 85125 | 0 | 1773442.69 | 10201188.15
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89038173 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89038173 | Renfrow-Renfrow Tap 138kV Ckt 1 | 2017-09-25 | 2017-09-25 |  |  | 85125 | 0 | 85125 | 157374.46
| HUGO - VALLIANT 345KV CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 92498.95 | 92498.95 | 810823.35
| HUGO 345/138KV TRANSFORMER CKT 1 | 7/1/2012 | 7/1/2012 |  |  | 0 | 135252.04 | 135252.04 | 1177156.16
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 3/1/2018 | 3/1/2018 |  |  | 0 | 844530.04 | 844530.04 | 1597547.39
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 598108.76 | 598108.76 | 6323882.04
| Valliant 345 kV (AEP) | 4/17/2012 | 4/17/2012 |  |  | 0 | 17927.9 | 17927.9 | 134404.75
[5 empty] | Total | 85125 | 1688317.69 | 1773442.69 | 10201188.15
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2019-038
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 89210410 | WR | WR | 125 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 63924 | 0 | 17018796.86 | 21365059.8
[9 empty] | 63924 | 0 | 17018796.86 | 21365059.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89210410 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89210410 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 29151.4 | 29151.4 | 136722
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 12073.03 | 12073.03 | 92745.6
| MEDICINE LODGE - PRATT 115KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 85027.41 | 85027.41 | 385114.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 9316.84 | 9316.84 | 48516.6
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 0 | 305081.35 | 305081.35 | 412792.2
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 0 | 134971.49 | 134971.49 | 185603.4
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | 12/31/2016 | 12/31/2016 |  |  | 3842.78 | 0 | 3842.78 | 4696.2
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 10/16/2016 | 10/16/2016 |  |  | 0 | 16379251.34 | 16379251.34 | 20016915.6
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 60081.22 | 0 | 60081.22 | 81954
[5 empty] | Total | 63924 | 16954872.86 | 17018796.86 | 21365059.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2019-039
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 89210446 | WR | WR | 35 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 28782.41 | 0 | 1299621.04 | 1747953
[9 empty] | 28782.41 | 0 | 1299621.04 | 1747953
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89210446 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89210446 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 8161.95 | 8161.95 | 38280
| LACYGNE - WEST GARDNER 345KV CKT 1 | 6/1/2006 | 6/1/2006 |  |  | 0 | 3380.55 | 3380.55 | 25969.2
| MEDICINE LODGE - PRATT 115KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 23808.02 | 23808.02 | 107833.8
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 2608.57 | 2608.57 | 13584
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 0 | 85420.07 | 85420.07 | 115578
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 0 | 37794.02 | 37794.02 | 51972
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | 12/31/2016 | 12/31/2016 |  |  | 4478.35 | 0 | 4478.35 | 5473.2
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 10/16/2016 | 10/16/2016 |  |  | 0 | 1109665.45 | 1109665.45 | 1356111
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 24304.06 | 0 | 24304.06 | 33151.8
[5 empty] | Total | 28782.41 | 1270838.63 | 1299621.04 | 1747953
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2019-040
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 89217003 | SECI | WR | 80 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 46925.84 | 0 | 1184115.03 | 2178507.6
[9 empty] | 46925.84 | 0 | 1184115.03 | 2178507.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89217003 | None |  |  |  |  | 0 | 0 | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
89217003 | FLATRDG3 - HARPER 138KV CKT 1 | 12/1/2009 | 12/1/2009 |  |  | 0 | 39344.8 | 39344.8 | 196143.6
| Ironwood 345 kV Substation Ford Co Addition | 12/17/2014 | 12/17/2014 |  |  | 0 | 662462.32 | 662462.32 | 846985.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 1/1/2010 | 1/1/2010 |  |  | 0 | 142061.38 | 142061.38 | 680242.8
| Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 0 | 164927.56 | 164927.56 | 223156.2
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 0 | 76275.99 | 76275.99 | 104889.6
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 46925.84 | 0 | 46925.84 | 64009.2
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 8/2/2017 | 8/2/2017 |  |  | 0 | 52117.14 | 52117.14 | 63080.4
[5 empty] | Total | 46925.84 | 1137189.19 | 1184115.03 | 2178507.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2019-041
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 89217294 | WR | WR | 6 | 2020-01-01 | 2025-01-01 | 2020-01-01 | 2025-01-01 | 3977.38 | 0 | 12282367.09 | 12475751.54
[9 empty] | 3977.38 | 0 | 12282367.09 | 12475751.54
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
89217294 | Circleville - Goff 115kV Rebuild | 2024-06-01 | 2024-06-01 |  |  | 12258391 | 12258391 | 12443134.344
[5 empty] | Total | 12258391 | 12258391 | 12443134.34
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
89217294 | Rice - Lyons 115 kV Ckt 1 | 4/1/2013 | 4/1/2013 |  |  | 13979.06 | 18914.4
| Rice County 230/115 kV transformer Ckt 1 | 10/1/2012 | 10/1/2012 |  |  | 6019.65 | 8277.6
| Wheatland 115 kV #2 | 12/31/2012 | 12/31/2012 |  |  | 3977.38 | 5425.2
[5 empty] | Total | 23976.09 | 32617.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.

## Table4
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
EMDE | Neosho - Riverton 161kV Line Rebuild (EMDE) | Empire portion of upgrade: rebuild 28.41 miles of 161kV line from Neosho to Riverton and upgrade any necessary terminal equipment to increase the summer emergency rating to 557 MVA | 2021-10-01 | 2022-12-01 | 28410000
SPS | Amoco Tap - Sundown Interchange 115 kV Terminal Upgrades | Upgrade any necessary terminal equipment at Sundown and/or Amoco Tap to increase the rating of the 115kV line between the two substations to 159/175/176/194 (SN/SE/WN/WE) MVA | 2028-06-01 | 2028-06-01 | 358281
WERE | Circleville - Goff 115kV Rebuild | Tear down and rebuild the 15.2 mile Circleville-Kinghill (Goff) 115kV line using single 1192.5 kcmil ACSR conductor. Upgrade all substation equipment to a minimum 1200 Amps. | 2024-06-01 | 2024-06-01 | 12258391
WERE | Neosho - Riverton 161kV Line Rebuild (WERE) | Westar portion of upgrade: Rebuild 2.44 miles of Neosho-Riverton 161kV line using bundled 1590 Lapwing ACSR and OPGW. Remove the wavetrap. | 2021-10-01 | 2022-12-01 | 4046161
AEPW | ERCOT EAST DC Tie Expansion | Add additional 250 MW DC Tie | 2021-06-01 | 2023-06-01 | 100000000
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
AEP | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | Reconductor 1.82 miles line with Drake ACCC/TW. | 2009-03-23 | 2009-03-23 | 304872.12
AEP | Shidler 138 kV | Replace existing 138kV CB at Shidler substation with 4 breaker ring. Provide Terminal for KAMO's 138kV line from Remington Station. Replace ground switch and circuit switcher, Move terminal for OG&E Osage 138kV line. Replace relay panels for OGE Osage and AEP Mound Road line terminals. Install 138kV meter transformers and meter at Shidler station. Install relay panel, line trap and RTU at Mound Road station for line to Shidler station. | 4/30/2014 | 4/30/2014 | 69645
AEP | Valliant 345 kV (AEP) | Install 345 kV terminal equipment at Valliant substation. | 4/17/2012 | 4/17/2012 | 615797.31
EDE | SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | Reconductor 11.9 miles of Oronogo Jct. to Riverton 161kV Ckt. 1 from 556 ACSR to 795 ACSR, change CT settings @ Oronogo, and replace wavetrap. | 6/1/2011 | 6/1/2011 | 181540.2
GRDA | FAIRFAX - PAWNEE 138KV CKT 2 | Build new Fairfax (AECI) - Pawnee 138 kV line and rebuild existing 69 kV line from Fairfax - Pawnee, approximately 19.5 miles with double circuit towers for double circuit 138 kV line. One side will be operated at 69 kV. | 10/14/2014 | 10/14/2014 | 72965.4
GRDA | Pawnee 138 kV | New GRDA 138 kV switching station at Pawnee. New 138 kV three breaker ring bus substation containing 3 138 kV circuit breakers, associated disconnect switches, structures, relaying, grounding, fencing, and all associated and miscellaneous equipment. | 10/3/2014 | 10/3/2014 | 21252
ITCM | HUGO - VALLIANT 345KV CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. | 7/1/2012 | 7/1/2012 | 3682313.99
ITCM | HUGO 345/138KV TRANSFORMER CKT 1 | Install new line from Valliant 345 kV to Hugo Power Plant with 19 miles of bundled 1590 ACSR conductior. Note that ITC is building the line from Valiant to Hugo. | 7/1/2012 | 7/1/2012 | 1439773.36
ITCM | Ironwood 345 kV Substation Ford Co Addition | Add one (1) 345kV line terminal including two (2) 345kV circuit breakers, four (4) 345kV disconnect switches, and associated structural steel, foundations, and associated miscellaneous equipment. Contribution by Interconnection Customer towards constructi | 12/17/2014 | 12/17/2014 | 846985.8
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 6/1/2006 | 6/1/2006 | 831377.4
MIDW | Rice - Lyons 115 kV Ckt 1 | Rebuild and extend 115 kV transmission line from existing Rice Co. substation to new Rice Co. substation, including engineering, surveying, and modification of existing easements as required. | 4/1/2013 | 4/1/2013 | 770440.8
MIDW | Rice County 230/115 kV transformer Ckt 1 | Install 230/115 kV transformer at Rice County. | 10/1/2012 | 10/1/2012 | 350742.6
MIDW | Wheatland 115 kV #2 | Install metering equipment at the Wheatland 115 kV substation. | 12/31/2012 | 12/31/2012 | 184540.2
MKEC | FLATRDG3 - HARPER 138KV CKT 1 | Rebuild 24.15 mile line | 12/1/2009 | 12/1/2009 | 196143.6
MKEC | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | Rebuild 8.05 mile line | 12/1/2009 | 12/1/2009 | 175002
MKEC | MEDICINE LODGE - PRATT 115KV CKT 1 | Rebuild 26 mile line | 12/1/2009 | 12/1/2009 | 492948
MKEC | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | Upgrade transformer | 12/1/2009 | 12/1/2009 | 62100.6
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 12/23/2013 | 12/23/2013 | 223142.28
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 11/1/2014 | 11/1/2014 | 1050.96
NPPD | Twin Church - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating | 11/1/2018 | 11/1/2018 | 4378.92
OGE | BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | Reconductor 0.92 miles of line with Drake ACCC/TW. | 2009-06-01 | 2009-06-01 | 134033.76
OGE | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | Reconductor 1.82 miles with ACCC. Replace wave trap jumpers at Riverside. | 2009-06-01 | 2009-06-01 | 273785.4
OGE | Gracemont 138kV line terminal addition | 138kV line terminal at Gracemont substation, including breaker, line relaying, disconnect switches and associated equipment, dead end structures, revenue metering with CT's and PT's. | 10/15/2011 | 10/15/2011 | 49755.6
OGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 3/1/2018 | 3/1/2018 | 2126999.03
OGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 1/1/2010 | 1/1/2010 | 11573030.88
OGE | Osage - Shidler 138kV | Replace Shidler 138kV line terminal primary and redundant relaying with SEL uProcessor based relays, install 3-138kV PTs, Install 1-138kV CB, Install metering, Install 2000A line Trap | 7/1/2014 | 7/1/2014 | 5762.4
OGE | Renfrow-Renfrow Tap 138kV Ckt 1 | Replace terminal equipment. | 2017-09-25 | 2017-09-25 | 157374.46
OGE | Tap Woodring - Mathewson 345kV - Kingfisher Co (NU) | Construct three (3) 3000 continuous ampacity breakers, cut in transmission line and re-terminate, control panel replacement, line relaying, disconnect switches, structures, foundations, conductors, insulators, and all other associated work and materials. | 2017-10-02 | 2017-10-02 | 302684.04
OGE | Woodward EHV 138kV Phase Shifting Transformer circuit #1 | Install one (1) 138 kV phase shifting transformer along with upgrading relay, protective, and metering equipment, and all associated and miscellaneous materials. | 8/2/2017 | 8/2/2017 | 311628
SPS | PLANT X - TOLK 230KV REBUILD CIRCUIT #1 | Rebuild Plant X – Tolk 230kV transmission circuit #1 which is approximately 10 miles in length. The existing 795 MCM ACSR conductor will be replaced with 995 MCM ACCS conductor along with upgrading associated disconnect switches and structural steel. | 12/31/2017 | 12/31/2017 | 211587.48
SPS | PLANT X - TOLK 230KV REBUILD CIRCUIT #2 | Rebuild Plant X – Tolk 230kV transmission circuit #2 which is approximately 10 miles in length. The existing 795 MCM ACSR conductor will be replaced with 995 MCM ACCS conductor along with upgrading associated disconnect switches and structural steel. | 12/31/2017 | 12/31/2017 | 205135.56
SPS | POWER SYSTEM STABILIZERS IN SPS | Install Power System Stabilizers (PSS) at Tolk (Units: 1,2) and Jones (Units: 1,2,3). | 11/30/2014 | 11/30/2014 | 251111.64
SPS | TUCO INTERCHANGE 345/230KV CKT 1 REPLACEMENT | The existing 345/230kV 560/560MVA autotransformer at Tuco Substation will be replaced with a new transformer unit to match the other transformer at this site. The new transformer can be installed at Tuco Substation by removing the existing transformer fro | 6/1/2018 | 6/1/2018 | 1016730.72
WAPA | Gavins Point - Yankton Junction 115 kV | Rebuild approximately four (4) miles of 115 kV and replace associated terminal equipment. | 2020-10-01 | 2020-10-01 | 1032.6
WFEC | WASHITA - GRACEMONT 138 KV CKT 2 | BUILD WASHITA - GRACEMONT 138KV CKT 2 (APPROXIMATELY 7 MILES). ADD LINE TERMINAL AT WASHITA AND PROCURE RIGHT OF WAY. | 10/12/2012 | 10/12/2012 | 310406.4
WR | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2013-06-30 | 2013-06-30 | 477.6
WR | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | Replace Disconnect Switches, Wavetrap, Breaker, Jumpers with a minimum 2000 amp emergency rating equipment | 6/9/2010 | 6/9/2010 | 102
WR | Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | Relaying settings changes at the new 345kV switching station. | 12/31/2016 | 12/31/2016 | 10169.4
WR | Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 345 kV Breaker and Half Substation (No metering or customer equipment); Eight (8) 345 kV Breakers; Twenty (20) 345 kV switches; Two (2) 345 kV reactor switches; Fourteen (14) VTs; Two (2) 345 kV 50 Mvar line reactors; New redundant primary relaying, relay | 10/16/2016 | 10/16/2016 | 21373026.6
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | UpgradeName | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
EES | Everton - St Joe 161kV Rebuild | Rebuild 13.58 miles of Everton - St. Joe 115 kV | 2021-06-01 | 2021-12-01 | 12960276.79
EES | Hilltop - St Joe 161 kV Rebuild | Rebuild 3.9 miles of Hilltop - St. Joe 115 kV | 2021-06-01 | 2021-12-01 | 3722023.53
EASTMAN | Rebuild Eastman Gen - North Texas Eastman ckt 1 | Rebuild Eastman Gen - North Texas Eastman ckt 1 | 2021-07-01 | 2021-12-01 | 596751
EASTMAN | Rebuild Eastman Gen - North Texas Eastman ckt 2 | Rebuild Eastman Gen - North Texas Eastman ckt 2 | 2021-07-01 | 2021-12-01 | 596751
EASTMAN | EASTMAN 138/13.8KV TRANSFORMER #1 | Upgrade Eastman 138/13.8 kV transformer #1 | 2021-06-01 | 2021-06-01 | 3111386
EASTMAN | EASTMAN 138/13.8KV TRANSFORMER #3 | Upgrade Eastman 138/13.8 kV transformer #3 | 2021-06-01 | 2021-06-01 | 3111386
AEP GEN | WELSH 345/18.0KV TRANSFORMER #1 | Add additional GSU at Welsh #1 | 2021-06-01 | 2021-06-01 | 8041989.8028

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Amoco Tap - Sundown Interchange 115 kV Terminal Upgrades | SPSM | AG1-2019-029 | 89170351 | 100% | 358281
|  |  |  | Total: | 358281
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Circleville - Goff 115kV Rebuild | WRGS | AG1-2019-041 | 89217294 | 100% | 12258391
|  |  |  | Total: | 12258391
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Neosho - Riverton 161kV Line Rebuild (EMDE) | APM | AG1-2019-002 | 89182016 | 0.215% | 61070.7713
Neosho - Riverton 161kV Line Rebuild (EMDE) | APM | AG1-2019-003 | 89183931 | 0.2794% | 79366.5919
Neosho - Riverton 161kV Line Rebuild (EMDE) | APM | AG1-2019-004 | 89183944 | 1.009% | 286655.6974
Neosho - Riverton 161kV Line Rebuild (EMDE) | EDE | AG1-2019-009 | 89219628 | 12.93% | 3673245.9596
Neosho - Riverton 161kV Line Rebuild (EMDE) | EDE | AG1-2019-010 | 89219810 | 71.2% | 20228401.2817
Neosho - Riverton 161kV Line Rebuild (EMDE) | EDE | AG1-2019-011 | 89220085 | 13.36% | 3794159.3106
Neosho - Riverton 161kV Line Rebuild (EMDE) | SPRM | AG1-2019-028 | 89227031 | 1.011% | 287100.3875
|  |  |  | Total: | 28410000
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Neosho - Riverton 161kV Line Rebuild (WERE) | APM | AG1-2019-002 | 89182016 | 0.215% | 8697.7182
Neosho - Riverton 161kV Line Rebuild (WERE) | APM | AG1-2019-003 | 89183931 | 0.2794% | 11303.4146
Neosho - Riverton 161kV Line Rebuild (WERE) | APM | AG1-2019-004 | 89183944 | 1.009% | 40825.5932
Neosho - Riverton 161kV Line Rebuild (WERE) | EDE | AG1-2019-009 | 89219628 | 12.93% | 523144.8274
Neosho - Riverton 161kV Line Rebuild (WERE) | EDE | AG1-2019-010 | 89219810 | 71.2% | 2880935.1763
Neosho - Riverton 161kV Line Rebuild (WERE) | EDE | AG1-2019-011 | 89220085 | 13.36% | 540365.3443
Neosho - Riverton 161kV Line Rebuild (WERE) | SPRM | AG1-2019-028 | 89227031 | 1.011% | 40888.9261
|  |  |  | Total: | 4046161
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
ERCOT EAST DC Tie Expansion | TNSK | AG1-2019-032 | 88109881 | 20% | 20000000
ERCOT EAST DC Tie Expansion | TNSK | AG1-2019-033 | 88109886 | 20% | 20000000
ERCOT EAST DC Tie Expansion | TNSK | AG1-2019-034 | 88109895 | 20% | 20000000
ERCOT EAST DC Tie Expansion | TNSK | AG1-2019-035 | 88109896 | 20% | 20000000
ERCOT EAST DC Tie Expansion | TNSK | AG1-2019-036 | 88109897 | 20% | 20000000
|  |  |  | Total: | 100000000