## Executive Summary
Executive Summary: SPP-2022-AG1-AFS-2
Pursuant to the Southwest Power Pool (SPP) Open Access Transmission Tariff (OATT), SPP has conducted this Aggregate Transmission Service Study (ATSS) for transmission service requests received during the ATSS Open Season which closed on May 31, 2022. The principal objective of the AFS is to identify system problems and potential modifications necessary to facilitate these transfers while maintaining or improving system reliability, as well as summarizing the operating limits and determination of the financial characteristics associated with facility upgrades. Facility upgrade costs are allocated on a prorated basis to all requests positively impacting any individual overloaded facility. The study results for the transmission service requests included in this Aggregate Study iteration are displayed in this workbook. This workbook provides a convenient method to sort and analyze required study data. The Aggregate Studies Manual Version 1.0 posted on http://opsportal.spp.org/Studies/Trans contains details about the Aggregate Study process, methodology, definitions, and useful links. Please review the Aggregate Studies Manual or contact ts@spp.org for more information about the study process.
Aggregate Study Manual Version 1.0
https://opsportal.spp.org/documents/studies/Aggregate%20Study%20Manual_20201005.docx
This Aggregate Study iteration analyzes the impact of new transmission service totaling:
1,766 MW
Models Used in Study
2022 ITP Series
Winter: 2022, 2023, 2024, 2027, 2032
Summer: 2023, 2024, 2027, 2032
Light Load: 2023, 2024, 2027, 2032
By: SPP Transmission Services Department
Published: November 9, 2022

## Revision History
Revision History
Date | Author | Change Description
2022-11-09 | SPP | Original report

## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter 5) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
BEPM | AG1-2022-001 | 95574279 | WAUE | WAUE | 20 | 2022-12-01 | 2043-01-01 | 2022-12-01 | 2043-01-01 | 2022-12-01 | 2043-01-01 | NO
BEPM | AG1-2022-002 | 96032734 | WAUE | WAUE | 142 | 2023-01-01 | 2046-01-01 | 2023-01-01 | 2046-01-01 | 2023-01-01 | 2046-01-01 | NO
BEPM | AG1-2022-003 | 96258789 | WAUE | WAUE | 128 | 2023-01-01 | 2038-01-01 | 2023-01-01 | 2038-01-01 | 2023-01-01 | 2038-01-01 | NO
BEPM | AG1-2022-004 | 96972182 | X | WAUE | 75 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | NO
BEPM | AG1-2022-005 | 96972591 | X | WAUE | 20 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | NO
BRPS | AG1-2022-006 | 96575147 | CSWS | NPPD | 55 | 2024-06-01 | 2027-06-01 | 2024-06-01 | 2027-06-01 | 2024-06-01 | 2027-06-01 | NO
DGPM | AG1-2022-007 | 96972709 | MPS | MPS | 8 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | NO
GRDA | AG1-2022-008 | 96939788 | OKGE | GRDA | 28 | 2024-01-01 | 2036-01-01 | 2024-01-01 | 2036-01-01 | Note 4 | Note 4 | NO
GRDA | AG1-2022-009 | 96939797 | OKGE | GRDA | 20 | 2024-01-01 | 2036-10-01 | 2024-01-01 | 2036-10-01 | Note 4 | Note 4 | NO
KMEA | AG1-2022-012 | 96915015 | WR | WR | 15 | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | NO
NMCA | AG1-2022-013 | 96932188 | WAUE | WAUE | 2 | 2023-04-01 | 2039-06-01 | 2023-04-01 | 2039-06-01 | Note 4 | Note 4 | NO
OGE | AG1-2022-014 | 96882440 | OKGE | OKGE | 12 | 2022-12-01 | 2035-06-01 | 2022-12-01 | 2035-06-01 | Note 4 | Note 4 | NO
OPPM | AG1-2022-015 | 96877016 | X | OPPD | 34 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | NO
OPPM | AG1-2022-016 | 96877125 | X | OPPD | 6 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | NO
OPPM | AG1-2022-017 | 96799293 | LES | OPPD | 25 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | NO
OPPM | AG1-2022-018 | 96925384 | OPPD | OPPD | 251 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | NO
OPPM | AG1-2022-019 | 96925389 | OPPD | OPPD | 251 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | NO
OPPM | AG1-2022-020 | 96925354 | OPPD | OPPD | 53 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | NO
OPPM | AG1-2022-021 | 96925361 | OPPD | OPPD | 53 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | NO
OPPM | AG1-2022-022 | 96925375 | OPPD | OPPD | 54 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | NO
OPPM | AG1-2022-023 | 96939645 | OPPD | OPPD | 81 | 2023-12-01 | 2044-05-01 | 2023-12-01 | 2044-05-01 | 2023-12-01 | 2044-05-01 | NO
TEA | AG1-2022-027 | 96972318 | WFEC | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | NO
TNSK | AG1-2022-028 | 95562220 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | NO
TNSK | AG1-2022-029 | 95562221 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | NO
TNSK | AG1-2022-030 | 95562222 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TNSK | AG1-2022-031 | 95562223 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TNSK | AG1-2022-032 | 95562226 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | NO
TNSK | AG1-2022-033 | 95562227 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | NO
WFEC | AG1-2022-034 | 96970616 | WR | WFEC | 25 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | Note 4 | Note 4 | NO
WFEC | AG1-2022-035 | 96970651 | SPS | WFEC | 31 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | Note 4 | Note 4 | NO
WFEC | AG1-2022-036 | 96970671 | SPS | WFEC | 18 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | Note 4 | Note 4 | NO
WFEC | AG1-2022-037 | 96970693 | SPS | WFEC | 26 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | Note 4 | Note 4 | NO
WRGS | AG1-2022-038 | 96931501 | WR | WR | 1 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | NO
WRGS | AG1-2022-039 | 96970745 | WR | WR | 7 | 2022-12-01 | 2029-02-01 | 2022-12-01 | 2029-02-01 | 2022-12-01 | 2029-02-01 | NO
1766
Requests with Study Parameters Exceeded
GRDA | AG1-2022-010 | 96940168 | OKGE | GRDA | 48 | 2024-01-01 | 2038-01-01 | 2024-01-01 | 2038-01-01 | Note 4 | Note 4 | YES
GSECGS | AG1-2022-011 | 96869096 | WR | SPS | 84 | 2023-01-01 | 2028-01-01 | 2023-01-01 | 2028-01-01 | 2023-01-01 | 2028-01-01 | YES
TEA | AG1-2022-024 | 96972260 | CSWS | ERCOTN | 25 | 2023-01-01 | 2024-03-01 | 2023-01-01 | 2024-03-01 | 2023-01-01 | 2024-03-01 | YES
TEA | AG1-2022-025 | 96972271 | CSWS | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | YES
TEA | AG1-2022-026 | 96972312 | CSWS | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | YES
207
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter 4) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter 2) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter 1)
BEPM | AG1-2022-001 | 95574279 | 40839 | 0 | 40839 |  | 0 | 0 | 0 | 0 | 59495.67 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG1-2022-002 | 96032734 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG1-2022-003 | 96258789 | 120560.38 | 0 | 120560.38 |  | 0 | 0 | 0 | 0 | 163463.4 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG1-2022-004 | 96972182 | 181831.56 | 0 | 0 |  | 0 | 0 | 0 | 531202.32 | 0 | 0 | 531202.32 | 181831.56
BEPM | AG1-2022-005 | 96972591 | 32106.73 | 0 | 633.77 |  | 0 | 0 | 0 | 44264.16 | 773.04 | 0 | 44264.16 | 31472.96
BRPS | AG1-2022-006 | 96575147 | 30306.32 | 0 | 1266.9 |  | 0 | 0 | 0 | 198948 | 1627.92 | 0 | 198948 | 29039.42
DGPM | AG1-2022-007 | 96972709 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
GRDA | AG1-2022-008 | 96939788 | 1092829.78 | 0 | 0 |  | 0 | 0 | 0 | 2096468.64 | 0 | 0 | 2096468.64 | 1092829.78
GRDA | AG1-2022-009 | 96939797 | 920894.27 | 0 | 0 |  | 0 | 0 | 0 | 1767003.12 | 0 | 0 | 1767003.12 | 920894.27
KMEA | AG1-2022-012 | 96915015 | 271283.58 | 0 | 271283.58 |  | 0 | 0 | 0 | 0 | 521815.2 | 0 | Schedule 9 & 11 Charges | 0
NMCA | AG1-2022-013 | 96932188 | 963.46 | 0 | 0 |  | 0 | 0 | 0 | 1590.8 | 0 | 0 | 1590.8 | 963.46
OGE | AG1-2022-014 | 96882440 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-015 | 96877016 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-016 | 96877125 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-017 | 96799293 | 3879 | 3879 | 0 |  | 0 | 5356 | 0 | 0 | 0 | 0 | 5356 | 3879
OPPM | AG1-2022-018 | 96925384 | 540434 | 540434 | 0 |  | 0 | 1513623 | 0 | 0 | 0 | 0 | 1513623 | 540434
OPPM | AG1-2022-019 | 96925389 | 540434 | 540434 | 0 |  | 0 | 1513623 | 0 | 0 | 0 | 0 | 1513623 | 540434
OPPM | AG1-2022-020 | 96925354 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-021 | 96925361 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-022 | 96925375 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG1-2022-023 | 96939645 | 86693 | 86693 | 0 |  | 0 | 220450 | 0 | 0 | 0 | 0 | 220450 | 86693
TEA | AG1-2022-027 | 96972318 | 1736449.82 | 0 | 0 |  | 0 | 0 | 0 | 1736449.82 | 0 | 2079217.7 | 2079217.7 | 0
TNSK | AG1-2022-028 | 95562220 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
TNSK | AG1-2022-029 | 95562221 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
TNSK | AG1-2022-030 | 95562222 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
TNSK | AG1-2022-031 | 95562223 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
TNSK | AG1-2022-032 | 95562226 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
TNSK | AG1-2022-033 | 95562227 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4158435.4 | 4158435.4 | 0
WFEC | AG1-2022-034 | 96970616 | 74564.48 | 0 | 18088.54 |  | 0 | 0 | 0 | 391740 | 30946.8 | 0 | 391740 | 56475.94
WFEC | AG1-2022-035 | 96970651 | 686711.24 | 0 | 451.87 |  | 0 | 0 | 0 | 1673510.4 | 770.4 | 0 | 1673510.4 | 686259.37
WFEC | AG1-2022-036 | 96970671 | 419957.78 | 0 | 262.37 |  | 0 | 0 | 0 | 1020090 | 447.6 | 0 | 1020090 | 419695.41
WFEC | AG1-2022-037 | 96970693 | 626524.73 | 0 | 378.98 |  | 0 | 0 | 0 | 1494260.4 | 646.8 | 0 | 1494260.4 | 626145.75
WRGS | AG1-2022-038 | 96931501 | 768.47 | 0 | 768.47 |  | 0 | 0 | 0 | 0 | 5196 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG1-2022-039 | 96970745 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
Grand Total |  |  | 7408031.6 |  | 454533.86 |  | 0 | 3253052 | 0 | 10955527.66 | 785182.83 |  |  | 5217047.92
Requests with Study Parameters Exceeded
GRDA | AG1-2022-010 | 96940168 | 2273452.31 | 0 | 0 |  | 0 | 0 | 0 | 4627056 | 0 | 0 | 4627056 | 2273452.31
GSECGS | AG1-2022-011 | 96869096 | 3488325.67 | 0 | 0 |  | 0 | 0 | 0 | 4545501.6 | 0 | 0 | 4545501.6 | 3488325.67
TEA | AG1-2022-024 | 96972260 | 3000244.38 | 0 | 0 |  | 0 | 0 | 0 | 3000244.38 | 0 | 2109233.7 | 3000244.38 | 3000244.38
TEA | AG1-2022-025 | 96972271 | 3002541.78 | 0 | 0 |  | 0 | 0 | 0 | 3002541.78 | 0 | 2109233.7 | 3002541.78 | 3002541.78
TEA | AG1-2022-026 | 96972312 | 3002541.78 | 0 | 0 |  | 0 | 0 | 0 | 3002541.78 | 0 | 2109233.7 | 3002541.78 | 3002541.78
Grand Total |  |  | 14767105.92 |  | 0 |  | 0 | 0 | 0 | 18177885.54 | 0 |  |  | 14767105.92
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.

## Table3
Customer | Study Number
BEPM | AG1-2022-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 95574279 | WAUE | WAUE | 20 | 2022-12-01 | 2043-01-01 | 2022-12-01 | 2043-01-01 | 40839 | 0 | 40839 | 59495.67
[9 empty] | 40839 | 0 | 40839 | 59495.67
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95574279 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
95574279 | MAURINE - NEWELL - ELK CREEK - RAPID CITY 115 KV | 2020-02-28 | 2020-02-28 |  |  | 40839 | 59495.67
[5 empty] | Total | 40839 | 59495.67
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2022-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 96032734 | WAUE | WAUE | 142 | 2023-01-01 | 2046-01-01 | 2023-01-01 | 2046-01-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96032734 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
BEPM | AG1-2022-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 96258789 | WAUE | WAUE | 128 | 2023-01-01 | 2038-01-01 | 2023-01-01 | 2038-01-01 | 120560.38 | 0 | 120560.38 | 163463.4
[9 empty] | 120560.38 | 0 | 120560.38 | 163463.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96258789 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96258789 | MAURINE - NEWELL - ELK CREEK - RAPID CITY 115 KV | 2020-02-28 | 2020-02-28 |  |  | 120560.38 | 163463.4
[5 empty] | Total | 120560.38 | 163463.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2022-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 96972182 | X | WAUE | 75 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 0 | 0 | 181831.56 | 531202.32
[9 empty] | 0 | 0 | 181831.56 | 531202.32
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972182 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972182 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 89124.15 | 125345.76
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 57214.92 | 324694.56
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 6829.72 | 43880.64
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 28662.77 | 37281.36
[5 empty] | Total | 181831.56 | 531202.32
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG1-2022-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 96972591 | X | WAUE | 20 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 633.77 | 0 | 32106.73 | 45037.2
[9 empty] | 633.77 | 0 | 32106.73 | 45037.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972591 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972591 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 31472.96 | 44264.16
| Twin Church - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 633.77 | 773.04
[5 empty] | Total | 32106.73 | 45037.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG1-2022-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 96575147 | CSWS | NPPD | 55 | 2024-06-01 | 2027-06-01 | 2024-06-01 | 2027-06-01 | 1266.9 | 0 | 30306.32 | 200576.16
[9 empty] | 1266.9 | 0 | 30306.32 | 200576.16
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96575147 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96575147 | BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | 2009-06-01 | 2009-06-01 |  |  | 613.59 | 4242.6
| EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | 2009-03-23 | 2009-03-23 |  |  | 1644.72 | 9777.96
| EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | 2009-06-01 | 2009-06-01 |  |  | 1236.49 | 8549.64
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 2975.08 | 31030.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 22569.54 | 145347.84
| Twin Church - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 1266.9 | 1627.92
[5 empty] | Total | 30306.32 | 200576.16
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
DGPM | AG1-2022-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
DGPM | 96972709 | MPS | MPS | 8 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972709 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
GRDA | AG1-2022-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDA | 96939788 | OKGE | GRDA | 28 | 2024-01-01 | 2036-01-01 | 2024-01-01 | 2036-01-01 | 0 | 0 | 1092829.78 | 2096468.64
[9 empty] | 0 | 0 | 1092829.78 | 2096468.64
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96939788 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96939788 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 0 | 30105.53 | 30105.53 | 49210.56
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 30587.25 | 30587.25 | 50171.04
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 0 | 257521.54 | 257521.54 | 550804.32
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 3373.76 | 3373.76 | 29558.88
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 197605.51 | 197605.51 | 484693.92
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 28148.35 | 28148.35 | 61695.36
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 0 | 2407.02 | 2407.02 | 3965.76
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 0 | 8768.59 | 8768.59 | 14332.32
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 0 | 28917.22 | 28917.22 | 47910.24
| Tap and Tie South 4th - Bunch Creek & Enid Tap - Fairmont (Garfield Co Tap) 138kV | 2015-08-14 | 2015-08-14 |  |  | 0 | 505395.01 | 505395.01 | 804126.24
[5 empty] | Total | 0 | 1092829.78 | 1092829.78 | 2096468.64
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDA | AG1-2022-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDA | 96939797 | OKGE | GRDA | 20 | 2024-01-01 | 2036-10-01 | 2024-01-01 | 2036-10-01 | 0 | 0 | 920894.27 | 1767003.12
[9 empty] | 0 | 0 | 920894.27 | 1767003.12
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96939797 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96939797 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 0 | 16509.73 | 16509.73 | 27293.67
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 10064.54 | 10064.54 | 16748.91
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 0 | 182683.61 | 182683.61 | 399977.19
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 175908.59 | 175908.59 | 441613.08
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 25057.69 | 25057.69 | 56212.2
| Open Sky 345kV Substation | 2015-07-10 | 2015-07-10 |  |  | 0 | 490067.51 | 490067.51 | 790754.49
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 0 | 1213.64 | 1213.64 | 2022.66
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 0 | 4808.65 | 4808.65 | 7949.88
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 0 | 14580.31 | 14580.31 | 24431.04
[5 empty] | Total | 0 | 920894.27 | 920894.27 | 1767003.12
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG1-2022-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 96915015 | WR | WR | 15 | 2023-04-01 | 2028-04-01 | 2023-04-01 | 2028-04-01 | 271283.58 | 0 | 271283.58 | 521815.2
[9 empty] | 271283.58 | 0 | 271283.58 | 521815.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96915015 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96915015 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 22.43 | 102.6
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 2837.13 | 29011.2
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 234055.99 | 432624
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 33334.33 | 55057.2
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 1033.7 | 5020.2
[5 empty] | Total | 271283.58 | 521815.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NMCA | AG1-2022-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NMCA | 96932188 | WAUE | WAUE | 2 | 2023-04-01 | 2039-06-01 | 2023-04-01 | 2039-06-01 | 0 | 0 | 963.46 | 1590.8
[9 empty] | 0 | 0 | 963.46 | 1590.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96932188 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96932188 | Hoskins - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 403.12 | 616.92
| Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 560.34 | 973.88
[5 empty] | Total | 963.46 | 1590.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
OGE | AG1-2022-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 96882440 | OKGE | OKGE | 12 | 2022-12-01 | 2035-06-01 | 2022-12-01 | 2035-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96882440 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96877016 | X | OPPD | 34 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96877016 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96877125 | X | OPPD | 6 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96877125 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96799293 | LES | OPPD | 25 | 2023-06-01 | 2025-06-01 | 2023-06-01 | 2025-06-01 | 0 | 0 | 3879 | 5356.447
[9 empty] | 0 | 0 | 3879 | 5356.447
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96799293 | Reconductor S1254-S1281 161 kV line | 2023-10-01 | 2023-10-01 | 2023-08-07 |  | 3879 | 1171441 | 5356.447
[5 empty] | Total | 3879 | 1171441 | 5356.447
Customer | Study Number
OPPM | AG1-2022-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96925384 | OPPD | OPPD | 251 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 0 | 0 | 540434 | 1513622.7567
[9 empty] | 0 | 0 | 540434 | 1513622.7567
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96925384 | Reconductor S1254-S1281 161 kV line | 2023-10-01 | 2023-10-01 | 2023-08-07 |  | 540434 | 1171441 | 1513622.7567
[5 empty] | Total | 540434 | 1171441 | 1513622.7567
Customer | Study Number
OPPM | AG1-2022-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96925389 | OPPD | OPPD | 251 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 0 | 0 | 540434 | 1513622.7567
[9 empty] | 0 | 0 | 540434 | 1513622.7567
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96925389 | Reconductor S1254-S1281 161 kV line | 2023-10-01 | 2023-10-01 | 2023-08-07 |  | 540434 | 1171441 | 1513622.7567
[5 empty] | Total | 540434 | 1171441 | 1513622.7567
Customer | Study Number
OPPM | AG1-2022-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96925354 | OPPD | OPPD | 53 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96925354 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96925361 | OPPD | OPPD | 53 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96925361 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96925375 | OPPD | OPPD | 54 | 2023-10-01 | 2048-10-01 | 2023-10-01 | 2048-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96925375 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG1-2022-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 96939645 | OPPD | OPPD | 81 | 2023-12-01 | 2044-05-01 | 2023-12-01 | 2044-05-01 | 0 | 0 | 86693 | 220450.0287
[9 empty] | 0 | 0 | 86693 | 220450.0287
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96939645 | Reconductor S1254-S1281 161 kV line | 2023-10-01 | 2023-10-01 | 2023-08-07 |  | 86693 | 1171441 | 220450.0287
[5 empty] | Total | 86693 | 1171441 | 220450.0287
Customer | Study Number
TEA | AG1-2022-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 96972318 | WFEC | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 2079217.7 | 1736449.82 | 1736449.82
[9 empty] | 0 | 2079217.7 | 1736449.82 | 1736449.82
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972318 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972318 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 243360.04 | 243360.04
| Cleo Corner - Cleo Plant Tap 138kV Ckt 1 | 2020-10-01 | 2020-10-01 |  |  | 75295.64 | 75295.64
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 154965.86 | 154965.86
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 95707.5 | 95707.5
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 173557.44 | 173557.44
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 582132.32 | 582132.32
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 132608.84 | 132608.84
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 95707.5 | 95707.5
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 183114.68 | 183114.68
[5 empty] | Total | 1736449.82 | 1736449.82
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG1-2022-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562220 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562220 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG1-2022-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562221 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562221 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG1-2022-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562222 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562222 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG1-2022-031
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562223 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562223 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG1-2022-032
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562226 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562226 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG1-2022-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 95562227 | CSWS | ERCOTE | 50 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 4158435.4 | 0 | 0
[9 empty] | 0 | 4158435.4 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
95562227 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
WFEC | AG1-2022-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 96970616 | WR | WFEC | 25 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | 18088.54 | 0 | 74564.48 | 422686.8
[9 empty] | 18088.54 | 0 | 74564.48 | 422686.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96970616 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96970616 | Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 18001.07 | 18001.07 | 31450.8
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 6483.31 | 6483.31 | 53876.4
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 5791.59 | 5791.59 | 47786.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 24903.46 | 24903.46 | 249474
| Renfrow-Renfrow Tap 138kV Ckt 1 | 2017-09-25 | 2017-09-25 |  |  | 18088.54 | 0 | 18088.54 | 30946.8
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 1296.51 | 1296.51 | 9152.4
[5 empty] | Total | 18088.54 | 56475.94 | 74564.48 | 422686.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WFEC | AG1-2022-035
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 96970651 | SPS | WFEC | 31 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | 451.87 | 0 | 686711.24 | 1674280.8
[9 empty] | 451.87 | 0 | 686711.24 | 1674280.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96970651 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96970651 | Harrington Mid - Nichols 230 kV Ckt 2 | 2012-12-01 | 2012-12-01 |  |  | 0 | 3907.22 | 3907.22 | 7108.8
| Harrington West - Nichols 230kV Ckt 1 | 2012-12-01 | 2012-12-01 |  |  | 0 | 4090.53 | 4090.53 | 7442.4
| Hitchland 345kV Hansford Co Addition (NU) | 2016-11-04 | 2016-11-04 |  |  | 0 | 55566.88 | 55566.88 | 98286
| Hitchland 345kV Substation Hansford Co Addition | 2011-12-15 | 2011-12-15 |  |  | 0 | 64508.12 | 64508.12 | 121227.6
| Hitchland 345kV Substation Hansford Co Addition (NU) | 2017-11-17 | 2017-11-17 |  |  | 0 | 166281.74 | 166281.74 | 292072.8
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 3924.46 | 3924.46 | 32612.4
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 6949.91 | 6949.91 | 57343.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 59624.33 | 59624.33 | 597296.4
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 278847.34 | 278847.34 | 384600
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 451.87 | 0 | 451.87 | 770.4
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 784.8 | 784.8 | 5540.4
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 41774.04 | 41774.04 | 69980.4
[5 empty] | Total | 451.87 | 686259.37 | 686711.24 | 1674280.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WFEC | AG1-2022-036
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 96970671 | SPS | WFEC | 18 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | 262.37 | 0 | 419957.78 | 1020537.6
[9 empty] | 262.37 | 0 | 419957.78 | 1020537.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96970671 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96970671 | Harrington Mid - Nichols 230 kV Ckt 2 | 2012-12-01 | 2012-12-01 |  |  | 0 | 2268.74 | 2268.74 | 4128
| Harrington West - Nichols 230kV Ckt 1 | 2012-12-01 | 2012-12-01 |  |  | 0 | 2375.01 | 2375.01 | 4321.2
| Hitchland 345kV Hansford Co Addition (NU) | 2016-11-04 | 2016-11-04 |  |  | 0 | 32206.11 | 32206.11 | 56966.4
| Hitchland 345kV Substation Hansford Co Addition | 2011-12-15 | 2011-12-15 |  |  | 0 | 127963.05 | 127963.05 | 240475.2
| Hitchland 345kV Substation Hansford Co Addition (NU) | 2017-11-17 | 2017-11-17 |  |  | 0 | 27328.71 | 27328.71 | 48002.4
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 2278.62 | 2278.62 | 18936
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 4035.45 | 4035.45 | 33296.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 34619.03 | 34619.03 | 346801.2
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 161908.64 | 161908.64 | 223311.6
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 262.37 | 0 | 262.37 | 447.6
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 455.67 | 455.67 | 3217.2
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 24256.38 | 24256.38 | 40634.4
[5 empty] | Total | 262.37 | 419695.41 | 419957.78 | 1020537.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WFEC | AG1-2022-037
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 96970693 | SPS | WFEC | 26 | 2026-06-01 | 2036-06-01 | 2026-06-01 | 2036-06-01 | 378.98 | 0 | 626524.73 | 1494907.2
[9 empty] | 378.98 | 0 | 626524.73 | 1494907.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96970693 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96970693 | Harrington Mid - Nichols 230 kV Ckt 2 | 2012-12-01 | 2012-12-01 |  |  | 0 | 3276.95 | 3276.95 | 5961.6
| Harrington West - Nichols 230kV Ckt 1 | 2012-12-01 | 2012-12-01 |  |  | 0 | 3430.69 | 3430.69 | 6241.2
| Hitchland 345kV Hansford Co Addition (NU) | 2016-11-04 | 2016-11-04 |  |  | 0 | 197319.13 | 197319.13 | 349016.4
| Hitchland 345kV Substation Hansford Co Addition | 2011-12-15 | 2011-12-15 |  |  | 0 | 53976.18 | 53976.18 | 101434.8
| Hitchland 345kV Substation Hansford Co Addition (NU) | 2017-11-17 | 2017-11-17 |  |  | 0 | 39453.42 | 39453.42 | 69300
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 3291.29 | 3291.29 | 27350.4
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 5828.92 | 5828.92 | 48094.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 50007.86 | 50007.86 | 500961.6
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 233866.87 | 233866.87 | 322560
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 378.98 | 0 | 378.98 | 646.8
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 658.18 | 658.18 | 4646.4
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 35036.26 | 35036.26 | 58693.2
[5 empty] | Total | 378.98 | 626145.75 | 626524.73 | 1494907.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2022-038
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 96931501 | WR | WR | 1 | 2022-12-01 | 2027-12-01 | 2022-12-01 | 2027-12-01 | 768.47 | 0 | 768.47 | 5196
[9 empty] | 768.47 | 0 | 768.47 | 5196
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96931501 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96931501 | MEDICINE LODGE - PRATT 115KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 464.48 | 2854.8
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 153.28 | 975.6
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 104.95 | 1042.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 45.76 | 323.4
[5 empty] | Total | 768.47 | 5196
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG1-2022-039
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 96970745 | WR | WR | 7 | 2022-12-01 | 2029-02-01 | 2022-12-01 | 2029-02-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96970745 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Requests with Study Parameters Exceeded
Customer | Study Number
GRDA | AG1-2022-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDA | 96940168 | OKGE | GRDA | 48 | 2024-01-01 | 2038-01-01 | 2024-01-01 | 2038-01-01 | 0 | 0 | 2273452.31 | 4627056
[9 empty] | 0 | 0 | 2273452.31 | 4627056
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96940168 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96940168 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 0 | 44429.19 | 44429.19 | 74842.32
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 189719.84 | 189719.84 | 323376.48
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 0 | 364178.46 | 364178.46 | 828584.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 33747.07 | 33747.07 | 317059.68
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 326625.54 | 326625.54 | 851899.44
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 46526.9 | 46526.9 | 108437.28
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 0 | 3221.97 | 3221.97 | 5471.76
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 0 | 12940.52 | 12940.52 | 21799.68
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 0 | 38707.84 | 38707.84 | 66091.2
| Tap Woodring - Mathewson 345kV - Kingfisher Co Addition (NU) | 2017-09-25 | 2017-09-25 |  |  | 0 | 1213354.98 | 1213354.98 | 2029493.76
[5 empty] | Total | 0 | 2273452.31 | 2273452.31 | 4627056
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GSECGS | AG1-2022-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GSECGS | 96869096 | WR | SPS | 84 | 2023-01-01 | 2028-01-01 | 2023-01-01 | 2028-01-01 | 0 | 0 | 3488325.67 | 4545501.6
[9 empty] | 0 | 0 | 3488325.67 | 4545501.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96869096 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
96869096 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 0 | 2299382.77 | 2299382.77 | 2442926.4
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 81050.2 | 81050.2 | 110887.2
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 23847.24 | 23847.24 | 122127.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 102096.68 | 102096.68 | 631475.4
| Tolk East - Tuco 230 kV CKT 1 Rebuild | 2020-12-15 | 2020-12-15 |  |  | 0 | 40226.82 | 40226.82 | 46798.2
| Tuco 230 kV Capacitive Reactive Power Support | 2020-12-31 | 2020-12-31 |  |  | 0 | 398638.95 | 398638.95 | 456315
| TUCO Interchange 345/230kV CKT 1 Replacement | 2018-06-01 | 2018-06-01 |  |  | 0 | 538392.84 | 538392.84 | 714096.6
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 4690.17 | 4690.17 | 20875.2
[5 empty] | Total | 0 | 3488325.67 | 3488325.67 | 4545501.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG1-2022-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 96972260 | CSWS | ERCOTN | 25 | 2023-01-01 | 2024-03-01 | 2023-01-01 | 2024-03-01 | 0 | 2109233.7 | 3000244.38 | 3000244.38
[9 empty] | 0 | 2109233.7 | 3000244.38 | 3000244.38
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972260 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972260 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 183402.1 | 183402.1
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 88292.54 | 88292.54
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 400543.5 | 400543.5
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 130480 | 130480
| Sunnyside Relays for Grady Interconnection | 2016-11-23 | 2016-11-23 |  |  | 2735.74 | 2735.74
| Terry Road 345kV Station (NU) | 2016-11-16 | 2016-11-16 |  |  | 2106497.96 | 2106497.96
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 88292.54 | 88292.54
[5 empty] | Total | 3000244.38 | 3000244.38
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG1-2022-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 96972271 | CSWS | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 2109233.7 | 3002541.78 | 3002541.78
[9 empty] | 0 | 2109233.7 | 3002541.78 | 3002541.78
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972271 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972271 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 183402.1 | 183402.1
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 88402.16 | 88402.16
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 400492.82 | 400492.82
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 132608.84 | 132608.84
| Sunnyside Relays for Grady Interconnection | 2016-11-23 | 2016-11-23 |  |  | 2735.74 | 2735.74
| Terry Road 345kV Station (NU) | 2016-11-16 | 2016-11-16 |  |  | 2106497.96 | 2106497.96
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 88402.16 | 88402.16
[5 empty] | Total | 3002541.78 | 3002541.78
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG1-2022-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 96972312 | CSWS | ERCOTN | 25 | 2023-07-01 | 2024-09-01 | 2023-07-01 | 2024-09-01 | 0 | 2109233.7 | 3002541.78 | 3002541.78
[9 empty] | 0 | 2109233.7 | 3002541.78 | 3002541.78
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
96972312 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
96972312 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 183402.1 | 183402.1
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 88402.16 | 88402.16
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 400492.82 | 400492.82
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 132608.84 | 132608.84
| Sunnyside Relays for Grady Interconnection | 2016-11-23 | 2016-11-23 |  |  | 2735.74 | 2735.74
| Terry Road 345kV Station (NU) | 2016-11-16 | 2016-11-16 |  |  | 2106497.96 | 2106497.96
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 88402.16 | 88402.16
[5 empty] | Total | 3002541.78 | 3002541.78
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded

## Table4
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
OPPD | Reconductor S1254-S1281 161 kV line | Reconductor 3.1 miles of S1254 - S1281 161 kV line. | 2023-10-01 | 2023-10-01 | 1171441
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
AEPW | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | Reconductor 1.82 miles with ACCC. Replace wave trap jumpers at Riverside. | 2009-03-23 | 2009-03-23 | 9777.96
AEPW | Locust Grove - Kerr 115 kV Rebuild | Rebuild 0.47 miles of 115 kV line from Kerr - Locust Grove | 2022-06-01 | 2022-12-01 | 950781.51
AEPW | Oklaunion 345 kV Capacitive Reactive Support (AEP) | Install +200 Mvar Capacitor Bank(s) at Oklaunion 345kV | 2022-06-01 | 2022-06-01 | 1512603.92
AEPW | Osage - Shidler 138kV | Osage Substation:Replace Shidler 138kV line terminal primary and redundant relaying with SEL uProcessor based relays, install 3-138kV PTs, Install 1-138kV CB, Install metering, Install 2000A line Trap | 2014-01-15 | 2014-01-15 | 5988.42
AEPW | Shidler 138 kV | Replace existing 138kV CB at Shidler substation with 4 breaker ring. Provide Terminal for KAMO's 138kV line from Remington Station. Replace ground switch and circuit switcher. Move terminal for OG&E Osage 138kV line. Replace relay panels for OGE Osage and AEP Mound Road line terminals. Install 138kV meter transformers and meter at Shidler station. Install relay panel, line trap and RTU at Mound Road station for line to Shidler station. | 2014-02-08 | 2014-02-08 | 72341.28
AEPW | Valliant 345 kV (AEP) | Vallient 345 KV line terminal | 2012-07-01 | 2012-07-01 | 118263.9
EMDE | Neosho - Riverton 161kV Line Rebuild (EMDE) | Rebuild 28.41 miles of 161kV line from Neosho to Riverton and upgrade any necessary terminal equipment | 2023-10-01 | 2023-10-01 | 1358931
EMDE | SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | Reconductor Oronogo to Riverton with Bundled 556 ACSR | 2011-06-01 | 2011-06-01 | 5020.2
GRDA | FAIRFAX - PAWNEE 138KV CKT 1 | Construct Approx. 15 miles of 138kV transmission line from Fairfax to a new substation on the Cleveland-Stillwater 138kV line near Pawnee. & Fairfax Substation: Install 138kV line terminal and any additional modifications that are necessary. | 2014-06-30 | 2014-06-30 | 76504.23
GRDA | Pawnee 138 kV | New three breaker ring bus on the Cleveland-Stillwater 138kV line near Pawnee. Station will have terminals to Cleveland, Stillwater, and Fairfax. | 2014-06-30 | 2014-06-30 | 22282.2
ITCGP | HUGO - VALLIANT 345KV CKT 1 | New 19 miles 345 KV | 2012-07-01 | 2012-07-01 | 228482.7
ITCGP | HUGO 345/138KV TRANSFORMER CKT 1 | New 345/138 kv Auto | 2012-07-01 | 2012-07-01 | 186520.8
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 2006-06-01 | 2006-06-01 | 61083.6
MKEC | MEDICINE LODGE - PRATT 115KV CKT 1 | Rebuild 26 mile line | 2009-12-01 | 2013-06-01 | 2854.8
MKEC | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | Rebuild 8.05 mile line | 2009-12-01 | 2013-06-01 | 975.6
MKEC | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | Upgrade transformer | 2009-12-01 | 2013-06-01 | 44204.04
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 2014-10-01 | 2014-10-01 | 169609.92
NPPD | Hoskins - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating to address loading issues | 2015-10-24 | 2015-10-24 | 616.92
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 2014-11-01 | 2014-11-01 | 973.88
NPPD | Twin Church - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating | 2015-10-24 | 2015-10-24 | 2400.96
OGE | BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | Reconductor .92miles of line with Drake ACCC/TW. | 2009-06-01 | 2009-06-01 | 4242.6
OGE | Cleo Corner - Cleo Plant Tap 138kV Ckt 1 | Transmission Owner’s Cleo Corner 138kV Substation: Construct four (4) 2000 continuous ampacity breakers, control panel replacement, line relaying, disconnect switches, structures, foundations, conductors, insulators, and all other associated work and materials. Reroute transmission line to the south to open up the north terminal. | 2020-10-01 | 2020-10-01 | 75295.64
OGE | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | Reconductor 1.82 miles line with Drake ACCC/TW. | 2009-06-01 | 2009-06-01 | 8549.64
OGE | Open Sky 345kV Substation | Construct a three breaker 345kV ring bus substation. Work to include line relaying, structural steel, disconnect switches, and associated equipment. No additional ROW. | 2015-07-10 | 2015-07-10 | 790754.49
OGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 2018-03-01 | 2018-03-01 | 253336.61
OGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 2010-01-01 | 2010-01-01 | 2367691.92
OGE | Tap and Tie South 4th - Bunch Creek & Enid Tap - Fairmont (Garfield Co Tap) 138kV | Add 3-138kV breakers, line relaying, disconnect switches, and associated equipment. No Additional ROW. | 2015-08-14 | 2015-08-14 | 804126.24
OGE | Woodward EHV 138kV Phase Shifting Transformer circuit #1 | Install one (1) 138 kV phase shifting transformer along with upgrading relay, protective, and metering equipment, and all associated and miscellaneous materials. | 2017-08-02 | 2017-08-02 | 389704.04
SPS | Border 345 kV Capacitive Reactive Support (OKGE) | Install +275 Mvar Capacitor Bank(s) at Border 345kV | 2020-06-01 | 2020-06-01 | 243360.04
SPS | Harrington Mid - Nichols 230 kV Ckt 2 | Reconductor Harrington Mid - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 2012-12-01 | 2012-12-01 | 17198.4
SPS | Harrington West - Nichols 230kV Ckt 1 | Reconductor Harrington West - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 2012-12-01 | 2012-12-01 | 18004.8
SPS | Hitchland 345kV Hansford Co Addition (NU) | Interconnection Equipment to accommodate Interconnection request: Transmission Line Work & R.O.W.; 345kV Line Terminal | 2016-11-04 | 2016-11-04 | 504268.8
SPS | Hitchland 345kV Substation Hansford Co Addition | Add 345kV line terminal including three (3) 345kV circuit breakers, associated disconnect switches, and all associated miscellaneous equipment. | 2011-12-15 | 2011-12-15 | 463137.6
SPS | Hitchland 345kV Substation Hansford Co Addition (NU) | Build 345 kV Line Terminal; Transmission Line Work; Right-Of-Way | 2017-11-17 | 2017-11-17 | 409375.2
SPS | Power System Stabilizers in SPS | Install Power System Stabilizers (PSS) at Tolk (Units: 1,2) and Jones (Units: 1,2,3). | 2014-11-30 | 2014-11-30 | 134473.64
WAPA | MAURINE - NEWELL - ELK CREEK - RAPID CITY 115 KV | Replace thirty-five (35) 115 kV transmission structures. Replace the 115 kV strain bus, circuit switchers, and jumpers at Newell. Reset relays. Replace the main and transfer 115 kV buses of Rapid City substation, transfer bay, and transmission line bay. | 2020-02-28 | 2020-02-28 | 222959.07
WERE | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2012-06-01 | 2012-06-01 | 102.6
WERE | Neosho - Riverton 161kV Line Rebuild (WERE) | Rebuild 2.44 miles of Neosho-Riverton 161kV line using bundled 1590 Lapwing ACSR and OPGW. Remove the wavetrap. | 2023-10-01 | 2023-10-01 | 172964.76
WFEC | Renfrow-Renfrow Tap 138kV Ckt 1 | Replace terminal equipment. | 2017-09-25 | 2017-09-25 | 30946.8
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | Upgrade Name | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
None

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Reconductor S1254-S1281 161 kV line | OPPM | AG1-2022-017 | 96799293 | 0.3312% | 3879
Reconductor S1254-S1281 161 kV line | OPPM | AG1-2022-018 | 96925384 | 46.13% | 540434
Reconductor S1254-S1281 161 kV line | OPPM | AG1-2022-019 | 96925389 | 46.13% | 540434
Reconductor S1254-S1281 161 kV line | OPPM | AG1-2022-023 | 96939645 | 7.401% | 86693
|  |  |  | Total: | 1171441