## Executive Summary
Executive Summary: SPP-2022-AG2-AFS-2
Pursuant to the Southwest Power Pool (SPP) Open Access Transmission Tariff (OATT), SPP has conducted this Aggregate Transmission Service Study (ATSS) for transmission service requests received during the ATSS Open Season which closed on November 30, 2022. The principal objective of the AFS is to identify system problems and potential modifications necessary to facilitate these transfers while maintaining or improving system reliability, as well as summarizing the operating limits and determination of the financial characteristics associated with facility upgrades. Facility upgrade costs are allocated on a prorated basis to all requests positively impacting any individual overloaded facility. The study results for the transmission service requests included in this Aggregate Study iteration are displayed in this workbook. This workbook provides a convenient method to sort and analyze required study data. The Aggregate Studies Manual Version 1.0 posted on https://opsportal.spp.org/Studies/Trans contains details about the Aggregate Study process, methodology, definitions, and useful links. Please review the Aggregate Studies Manual or contact ts@spp.org for more information about the study process.
Aggregate Study Manual Version 1.0
https://opsportal.spp.org/documents/studies/Aggregate%20Study%20Manual.pdf
This Aggregate Study iteration analyzes the impact of new transmission service totaling:
1,793 MW
Models Used in Study
2023 ITP Series
Winter: 2023, 2024, 2027, 2032
Summer: 2023, 2024, 2027, 2032
Light Load: 2024, 2027, 2032
By: SPP Transmission Services Department
Published: May 11, 2023

## Revision History
Revision History
Date | Author | Change Description
2023-05-11 | SPP | Original report

## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter 5) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
AEPM | AG2-2022-001 | 98445049 | OKGE | CSWS | 154 | 2023-06-01 | 2028-06-01 | 2026-01-01 | 2031-01-01 | 2023-06-01 | 2028-06-01 | NO
AEPM | AG2-2022-002 | 98435863 | OKGE | CSWS | 150 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | NO
BEPM | AG2-2022-003 | 98272574 | MPS | WAUE | 126 | 2024-06-01 | 2026-06-01 | 2025-12-31 | 2027-12-31 | 2024-06-01 | 2026-06-01 | NO
BEPM | AG2-2022-004 | 98279700 | WAUE | WAUE | 201 | 2024-01-01 | 2049-01-01 | 2025-12-31 | 2050-12-31 | 2024-01-01 | 2049-01-01 | NO
BEPM | AG2-2022-005 | 98279982 | WAUE | WAUE | 2 | 2023-06-01 | 2033-06-01 | 2025-12-31 | 2035-12-31 | 2023-06-01 | 2033-06-01 | NO
BEPM | AG2-2022-006 | 98279988 | WAUE | WAUE | 15 | 2023-06-01 | 2033-06-01 | 2025-12-31 | 2035-12-31 | 2023-06-01 | 2033-06-01 | NO
BEPM | AG2-2022-007 | 98288008 | WAUE | WAUE | 204 | 2023-06-01 | 2031-06-01 | 2025-12-31 | 2033-12-31 | 2023-06-01 | 2031-06-01 | NO
CHAN | AG2-2022-008 | 98443088 | OKGE | WR | 5 | 2023-06-01 | 2034-01-01 | 2026-01-01 | 2036-08-01 | 2023-06-01 | 2034-01-01 | NO
GRDX | AG2-2022-009 | 98426414 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | NO
GRDX | AG2-2022-010 | 98426435 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | NO
GRDX | AG2-2022-012 | 98426971 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | NO
GRDX | AG2-2022-015 | 98444388 | GRDA | GRDA | 102 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | NO
GRDX | AG2-2022-016 | 98444813 | CSWS | GRDA | 73 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | NO
GRDX | AG2-2022-017 | 98444823 | GRDA | GRDA | 73 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | NO
GRDX | AG2-2022-018 | 98446285 | CSWS | GRDA | 125 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | NO
GRDX | AG2-2022-019 | 98446376 | OKGE | GRDA | 100 | 2023-06-01 | 2031-12-01 | 2023-06-01 | 2031-12-01 | 2023-06-01 | 2031-12-01 | NO
KBPU | AG2-2022-020 | 98443973 | NPPD | KACY | 5 | 2024-01-01 | 2044-01-01 | 2024-01-01 | 2044-01-01 | Note 4 | Note 4 | NO
KCPS | AG2-2022-022 | 98280493 | OKGE | KCPL | 100 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | NO
KCPS | AG2-2022-023 | 98280595 | SECI | KCPL | 130 | 2023-06-01 | 2035-12-01 | 2023-06-01 | 2035-12-01 | 2023-06-01 | 2035-12-01 | NO
KMEA | AG2-2022-024 | 98381023 | NPPD | WR | 2 | 2024-09-01 | 2054-10-01 | 2024-09-01 | 2054-10-01 | 2024-09-01 | 2054-10-01 | NO
KPP | AG2-2022-025 | 98334176 | WR | WR | 5 | 2023-06-01 | 2033-06-01 | 2023-06-01 | 2033-06-01 | Note 4 | Note 4 | NO
MEAN | AG2-2022-027 | 98367738 | NPPD | NPPD | 42 | 2024-01-01 | 2029-01-01 | 2024-01-01 | 2029-01-01 | Note 4 | Note 4 | NO
SIKE | AG2-2022-028 | 98445874 | SPA | SPA | 77 | 2023-06-01 | 2033-06-01 | 2023-06-01 | 2033-06-01 | 2023-06-01 | 2033-06-01 | NO
SPRM | AG2-2022-029 | 98228233 | SPRM | SPRM | 5 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | Note 4 | Note 4 | NO
SPRM | AG2-2022-030 | 98228205 | SPRM | SPRM | 1 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | Note 4 | Note 4 | NO
SPRM | AG2-2022-031 | 98228191 | SPRM | SPRM | 2 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | Note 4 | Note 4 | NO
TEA | AG2-2022-032 | 98319555 | WAUE | MCWEST.YTP | 7 | 2024-07-01 | 2025-10-01 | 2024-07-01 | 2025-10-01 | 2024-07-01 | 2025-10-01 | NO
WFEC | AG2-2022-033 | 97973778 | SPS | WFEC | 30 | 2023-06-01 | 2053-06-01 | 2023-06-01 | 2053-06-01 | Note 4 | Note 4 | NO
1793
Requests with Study Parameters Exceeded
GRDX | AG2-2022-011 | 98426529 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | YES
GRDX | AG2-2022-013 | 98426993 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | YES
GRDX | AG2-2022-014 | 98427051 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | YES
KCPS | AG2-2022-021 | 98326991 | OKGE | MPS | 199 | 2023-06-01 | 2043-06-01 | 2023-06-01 | 2043-06-01 | 2023-06-01 | 2043-06-01 | YES
MEAN | AG2-2022-026 | 98381332 | SCSE | NPPD | 40 | 2024-01-01 | 2029-01-01 | 2024-01-01 | 2029-01-01 | Note 4 | Note 4 | YES
WRGS | AG2-2022-034 | 98279769 | OKGE | WR | 78 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | YES
WRGS | AG2-2022-035 | 98280022 | WR | WR | 208 | 2023-06-01 | 2036-01-01 | 2023-06-01 | 2036-01-01 | 2023-06-01 | 2036-01-01 | YES
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter 4) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter 2) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter 1)
AEPM | AG2-2022-001 | 98445049 | 3023296.41 | 0 | 73687.5 |  | 0 | 0 | 0 | 5034805.8 | 108564.6 | 0 | 5034805.8 | 2949608.91
AEPM | AG2-2022-002 | 98435863 | 243031.02 | 0 | 243031.02 |  | 0 | 0 | 0 | 0 | 759302.4 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2022-003 | 98272574 | 138216.6 | 0 | 0 |  | 0 | 0 | 0 | 200785.2 | 0 | 0 | 200785.2 | 138216.6
BEPM | AG2-2022-004 | 98279700 | 50258.08 | 0 | 0 |  | 0 | 0 | 0 | 101736 | 0 | 0 | 101736 | 50258.08
BEPM | AG2-2022-005 | 98279982 | 297.78 | 0 | 297.78 |  | 0 | 0 | 0 | 0 | 415.2 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2022-006 | 98279988 | 2208.41 | 0 | 2208.41 |  | 0 | 0 | 0 | 0 | 3081.6 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2022-007 | 98288008 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
CHAN | AG2-2022-008 | 98443088 | 54224 | 0 | 37774 |  | 0 | 0 | 0 | 26738.1601 | 61149.6499 | 0 | 26738.1601 | 16450
GRDX | AG2-2022-009 | 98426414 | 85716.27 | 0 | 0 |  | 0 | 0 | 0 | 179860.08 | 0 | 0 | 179860.08 | 85716.27
GRDX | AG2-2022-010 | 98426435 | 85716.27 | 0 | 0 |  | 0 | 0 | 0 | 179860.08 | 0 | 0 | 179860.08 | 85716.27
GRDX | AG2-2022-012 | 98426971 | 284475.13 | 0 | 0 |  | 0 | 0 | 0 | 904920.6 | 0 | 0 | 904920.6 | 284475.13
GRDX | AG2-2022-015 | 98444388 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
GRDX | AG2-2022-016 | 98444813 | 780932.12 | 0 | 780932.12 |  | 0 | 0 | 0 | 0 | 2031634.8 | 0 | Schedule 9 & 11 Charges | 0
GRDX | AG2-2022-017 | 98444823 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
GRDX | AG2-2022-018 | 98446285 | 1047237.37 | 0 | 1047237.37 |  | 0 | 0 | 0 | 0 | 2724440.4 | 0 | Schedule 9 & 11 Charges | 0
GRDX | AG2-2022-019 | 98446376 | 2886902.89 | 0 | 0 |  | 0 | 0 | 0 | 5764773.78 | 0 | 0 | 5764773.78 | 2886902.89
KBPU | AG2-2022-020 | 98443973 | 20424.37 | 0 | 20424.37 |  | 0 | 0 | 0 | 0 | 104143.2 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2022-022 | 98280493 | 7592026.32 | 0 | 6176.55 |  | 0 | 0 | 0 | 15349259.1 | 11774.7 | 0 | 15349259.1 | 7585849.77
KCPS | AG2-2022-023 | 98280595 | 945801.29 | 0 | 6890.99 |  | 0 | 0 | 0 | 3060325.5 | 12406.5 | 0 | 3060325.5 | 938910.3
KMEA | AG2-2022-024 | 98381023 | 4112.1 | 0 | 4112.1 |  | 0 | 0 | 0 | 0 | 9367.95 | 0 | Schedule 9 & 11 Charges | 0
KPP | AG2-2022-025 | 98334176 | 857.76 | 0 | 857.76 |  | 0 | 0 | 0 | 0 | 10827.6 | 0 | Schedule 9 & 11 Charges | 0
MEAN | AG2-2022-027 | 98367738 | 1792.53 | 0 | 0 |  | 0 | 0 | 0 | 2694.6 | 0 | 0 | 2694.6 | 1792.53
SIKE | AG2-2022-028 | 98445874 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SPRM | AG2-2022-029 | 98228233 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SPRM | AG2-2022-030 | 98228205 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SPRM | AG2-2022-031 | 98228191 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
TEA | AG2-2022-032 | 98319555 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 587622.315 | 587622.315 | 0
WFEC | AG2-2022-033 | 97973778 | 7033575.6 | 0 | 5400000 |  | 0 | 0 | 0 | 13652352 | 3326.4 | 0 | 13652352 | 1633575.6
Grand Total |  |  | 24281102.32 |  | 7623629.97 |  | 0 | 0 | 0 | 44458110.9001 | 5840434.9999 |  |  | 16657472.35
Requests with Study Parameters Exceeded
GRDX | AG2-2022-011 | 98426529 | 85716 | 0 | 0 |  | 0 | 0 | 0 | 179860.08 | 0 | 0 | 179860.08 | 85716
GRDX | AG2-2022-013 | 98426993 | 284475 | 0 | 0 |  | 0 | 0 | 0 | 904920.6 | 0 | 0 | 904920.6 | 284475
GRDX | AG2-2022-014 | 98427051 | 284475 | 0 | 0 |  | 0 | 0 | 0 | 904920.6 | 0 | 0 | 904920.6 | 284475
KCPS | AG2-2022-021 | 98326991 | 1985511.52 | 0 | 10294.69 |  | 0 | 0 | 0 | 10228968 | 20704.8 | 0 | 10228968 | 1975216.83
MEAN | AG2-2022-026 | 98381332 | 60875253.32 | 60873802 | 0 |  | 0 | 81081391.3337 | 0 | 2179.8 | 0 | 0 | 81083571.1337 | 60875253.32
WRGS | AG2-2022-034 | 98279769 | 5859091.61 | 0 | 732.88 |  | 0 | 0 | 0 | 11629432.5 | 1268.4 | 0 | 11629432.5 | 5858358.73
WRGS | AG2-2022-035 | 98280022 | 24762482.54 | 0 | 5801.25 |  | 0 | 0 | 0 | 39000547.27 | 9052.45 | 0 | 39000547.27 | 24756681.29
Grand Total |  |  | 94137004.99 |  | 16828.82 |  | 0 | 81081391.3337 | 0 | 62850828.85 | 31025.65 |  |  | 94120176.17
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.

## Table3
Customer | Study Number
AEPM | AG2-2022-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AEPM | 98445049 | OKGE | CSWS | 154 | 2023-06-01 | 2028-06-01 | 2026-01-01 | 2031-01-01 | 73687.5 | 0 | 3023296.41 | 5143370.4
[9 empty] | 73687.5 | 0 | 3023296.41 | 5143370.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98445049 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98445049 | Sooner - Wekiwa 345 kV New Line | 2024-04-01 | 2026-01-01 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98445049 | Kingfisher County Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 212518.95 | 212518.95 | 316407
| Gracemont 138kV line terminal addition | 2012-10-12 | 2012-10-12 |  |  | 0 | 22878.68 | 22878.68 | 38205
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 90206.91 | 90206.91 | 548302.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 14613.18 | 14613.18 | 107199.6
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 0 | 9713.32 | 9713.32 | 14838.6
| Renfrow-Renfrow Tap 138kV Ckt 1 | 2017-09-25 | 2017-09-25 |  |  | 73687.5 | 0 | 73687.5 | 108564.6
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 0 | 116671.27 | 116671.27 | 179200.2
| Tap Coyote-Medford Tap 138kV - Grant County Addition (NU) | 2017-10-03 | 2017-10-03 |  |  | 0 | 2316824.89 | 2316824.89 | 3497109.6
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 17914.08 | 17914.08 | 93837.6
| WASHITA - GRACEMONT 138 KV CKT 2 | 2012-10-12 | 2012-10-12 |  |  | 0 | 148267.63 | 148267.63 | 239706
[5 empty] | Total | 73687.5 | 2949608.91 | 3023296.41 | 5143370.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
AEPM | AG2-2022-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AEPM | 98435863 | OKGE | CSWS | 150 | 2023-06-01 | 2028-06-01 | 2023-06-01 | 2028-06-01 | 243031.02 | 0 | 243031.02 | 759302.4
[9 empty] | 243031.02 | 0 | 243031.02 | 759302.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98435863 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98435863 | Gracemont 138kV line terminal addition | 2012-10-12 | 2012-10-12 |  |  | 21502.17 | 35906.4
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 62575.8 | 380352.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 7179.2 | 52665.6
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 12426.85 | 65094
| WASHITA - GRACEMONT 138 KV CKT 2 | 2012-10-12 | 2012-10-12 |  |  | 139347 | 225283.8
[5 empty] | Total | 243031.02 | 759302.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2022-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 98272574 | MPS | WAUE | 126 | 2024-06-01 | 2026-06-01 | 2025-12-31 | 2027-12-31 | 0 | 0 | 138216.6 | 200785.2
[9 empty] | 0 | 0 | 138216.6 | 200785.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98272574 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98272574 | Kummer Ridge - Round Up 345 kV New Line | 2024-06-01 | 2025-12-31 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98272574 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 138216.6 | 200785.2
[5 empty] | Total | 138216.6 | 200785.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2022-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 98279700 | WAUE | WAUE | 201 | 2024-01-01 | 2049-01-01 | 2025-12-31 | 2050-12-31 | 0 | 0 | 50258.08 | 101736
[9 empty] | 0 | 0 | 50258.08 | 101736
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98279700 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98279700 | Kummer Ridge - Round Up 345 kV New Line | 2024-06-01 | 2025-12-31 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98279700 | Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 0 | 50258.08 | 50258.08 | 101736
[5 empty] | Total | 0 | 50258.08 | 50258.08 | 101736
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2022-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 98279982 | WAUE | WAUE | 2 | 2023-06-01 | 2033-06-01 | 2025-12-31 | 2035-12-31 | 297.78 | 0 | 297.78 | 415.2
[9 empty] | 297.78 | 0 | 297.78 | 415.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98279982 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98279982 | Kummer Ridge - Round Up 345 kV New Line | 2024-06-01 | 2025-12-31 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98279982 | Hoskins - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 297.78 | 415.2
[5 empty] | Total | 297.78 | 415.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2022-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 98279988 | WAUE | WAUE | 15 | 2023-06-01 | 2033-06-01 | 2025-12-31 | 2035-12-31 | 2208.41 | 0 | 2208.41 | 3081.6
[9 empty] | 2208.41 | 0 | 2208.41 | 3081.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98279988 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98279988 | Kummer Ridge - Round Up 345 kV New Line | 2024-06-01 | 2025-12-31 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98279988 | Hoskins - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 2208.41 | 3081.6
[5 empty] | Total | 2208.41 | 3081.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BEPM | AG2-2022-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 98288008 | WAUE | WAUE | 204 | 2023-06-01 | 2031-06-01 | 2025-12-31 | 2033-12-31 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98288008 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98288008 | Kummer Ridge - Round Up 345 kV New Line | 2024-06-01 | 2025-12-31 |  | No
Customer | Study Number
CHAN | AG2-2022-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
CHAN | 98443088 | OKGE | WR | 5 | 2023-06-01 | 2034-01-01 | 2026-01-01 | 2036-08-01 | 37773.59 | 0 | 54224.04 | 87887.81
[9 empty] | 37773.59 | 0 | 54224.04 | 87887.81
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98443088 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Expansion Plan - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available
98443088 | Sooner - Wekiwa 345 kV New Line | 2024-04-01 | 2026-01-01 |  | Yes
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98443088 | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 2010-06-09 | 2010-06-09 |  |  | 2.54 | 0 | 2.54 | 19.05
| DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 5.18 | 0 | 5.18 | 29.21
| Kingfisher County Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 4363.11 | 0 | 4363.11 | 6791.96
| NEOSHO - NORTHEAST PARSONS 138KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 3.36 | 0 | 3.36 | 22.86
| Otter 138kV - rebuild and add terminal for Garfield County NU | 2018-10-15 | 2018-10-15 |  |  | 33399.4 | 16450.45 | 49849.85 | 81024.73
[5 empty] | Total | 37773.59 | 16450.45 | 54224.04 | 87887.81
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98426414 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 0 | 0 | 85716.27 | 179860.08
[9 empty] | 0 | 0 | 85716.27 | 179860.08
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98426414 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98426414 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 31413.88 | 58842.24
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19382.63 | 54973.08
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 1980.57 | 3739.2
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 9149.66 | 17138.76
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 23789.53 | 45166.8
[5 empty] | Total | 85716.27 | 179860.08
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98426435 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 0 | 0 | 85716.27 | 179860.08
[9 empty] | 0 | 0 | 85716.27 | 179860.08
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98426435 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98426435 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 31413.88 | 58842.24
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19382.63 | 54973.08
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 1980.57 | 3739.2
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 9149.66 | 17138.76
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 23789.53 | 45166.8
[5 empty] | Total | 85716.27 | 179860.08
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98426971 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2023-06-01 | 2042-06-01 | 0 | 0 | 284475.13 | 904920.6
[9 empty] | 0 | 0 | 284475.13 | 904920.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98426971 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98426971 | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 2010-06-09 | 2010-06-09 |  |  | 14.57 | 159.6
| DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 154.93 | 1322.4
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19961.02 | 56612.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 231362.14 | 751141.44
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 32982.47 | 95684.76
[5 empty] | Total | 284475.13 | 904920.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98444388 | GRDA | GRDA | 102 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98444388 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
GRDX | AG2-2022-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98444813 | CSWS | GRDA | 73 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 780932.12 | 0 | 780932.12 | 2031634.8
[9 empty] | 780932.12 | 0 | 780932.12 | 2031634.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98444813 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98444813 | Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 780932.12 | 2031634.8
[5 empty] | Total | 780932.12 | 2031634.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98444823 | GRDA | GRDA | 73 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98444823 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
GRDX | AG2-2022-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98446285 | CSWS | GRDA | 125 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 1047237.37 | 0 | 1047237.37 | 2724440.4
[9 empty] | 1047237.37 | 0 | 1047237.37 | 2724440.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98446285 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98446285 | Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 1047237.37 | 2724440.4
[5 empty] | Total | 1047237.37 | 2724440.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98446376 | OKGE | GRDA | 100 | 2023-06-01 | 2031-12-01 | 2023-06-01 | 2031-12-01 | 0 | 0 | 2886902.89 | 5764773.78
[9 empty] | 0 | 0 | 2886902.89 | 5764773.78
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98446376 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98446376 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 19194.65 | 19194.65 | 133606.74
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 0 | 99647.96 | 99647.96 | 204972.06
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 14384.89 | 14384.89 | 120784.32
| Minco 345kV Substation | 2010-11-01 | 2010-11-01 |  |  | 0 | 1887919.22 | 1887919.22 | 3429768.36
| Minco 345kV Substation Caddo County Addition | 2012-08-30 | 2012-08-30 |  |  | 0 | 249502.92 | 249502.92 | 427154.58
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 536026.63 | 536026.63 | 1264658.22
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 76414.78 | 76414.78 | 161100.84
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 3811.84 | 3811.84 | 22728.66
[5 empty] | Total | 0 | 2886902.89 | 2886902.89 | 5764773.78
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KBPU | AG2-2022-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KBPU | 98443973 | NPPD | KACY | 5 | 2024-01-01 | 2044-01-01 | 2024-01-01 | 2044-01-01 | 20424.37 | 0 | 20424.37 | 104143.2
[9 empty] | 20424.37 | 0 | 20424.37 | 104143.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98443973 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98443973 | 166TH STREET - JAGGARD JUNCTION 115KV CKT 1 | 2010-02-03 | 2010-02-03 |  |  | 1527.44 | 16382.4
| 166TH STREET - JARBALO JUNCTION SWITCHING STATION 115KV CKT 1 | 2010-09-18 | 2010-09-18 |  |  | 1614.76 | 19315.2
| JAGGARD JUNCTION - PENTAGON 115KV CKT 1 | 2010-05-13 | 2010-05-13 |  |  | 3138.01 | 32976
| KCI - Platte City 161kV Ckt 1 | 2010-08-31 | 2010-08-31 |  |  | 1.45 | 19.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 461.35 | 8666.4
| Neligh - Petersburg North 115kV Ckt 1 | 2012-12-31 | 2012-12-31 |  |  | 13681.36 | 26784
[5 empty] | Total | 20424.37 | 104143.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2022-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 98280493 | OKGE | KCPL | 100 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | 6176.55 | 0 | 7592026.32 | 15361033.8
[9 empty] | 6176.55 | 0 | 7592026.32 | 15361033.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98280493 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98280493 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 21137.24 | 21137.24 | 176127
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 16808.73 | 16808.73 | 276595.2
| Longview - KC South 161kV | 2011-01-31 | 2011-01-31 |  |  | 5192.81 | 0 | 5192.81 | 10071.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 271121.3 | 271121.3 | 2723941.5
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 573126.64 | 573126.64 | 803472.6
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 983.74 | 0 | 983.74 | 1703.1
| Tap Beaver County - Woodward District EHV 345kV DBL CKT (Beaver Co POI) (NU) | 2016-10-02 | 2016-10-02 |  |  | 0 | 6560390 | 6560390 | 11102769.3
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 4165.52 | 4165.52 | 29563.8
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 139100.34 | 139100.34 | 236789.7
[5 empty] | Total | 6176.55 | 7585849.77 | 7592026.32 | 15361033.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2022-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 98280595 | SECI | KCPL | 130 | 2023-06-01 | 2035-12-01 | 2023-06-01 | 2035-12-01 | 6890.99 | 0 | 945801.29 | 3072732
[9 empty] | 6890.99 | 0 | 945801.29 | 3072732
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98280595 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
98280595 | Clark County 345kV Switching Station #1 Addition | 2016-10-07 | 2016-10-07 |  |  | 0 | 447535.76 | 447535.76 | 699480
| Clark County 345kV Switching Station #2 Addition | 2017-04-19 | 2017-04-19 |  |  | 0 | 198081.51 | 198081.51 | 311029.5
| FLATRDG3 - HARPER 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 0 | 29878 | 29878 | 297255
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 17073.14 | 17073.14 | 236319
| Longview - KC South 161kV | 2011-01-31 | 2011-01-31 |  |  | 6890.99 | 0 | 6890.99 | 12406.5
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 163404.6 | 163404.6 | 1386412.5
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 82937.29 | 82937.29 | 129829.5
[5 empty] | Total | 6890.99 | 938910.3 | 945801.29 | 3072732
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2022-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 98381023 | NPPD | WR | 2 | 2024-09-01 | 2054-10-01 | 2024-09-01 | 2054-10-01 | 4112.1 | 0 | 4112.1 | 9367.95
[9 empty] | 4112.1 | 0 | 4112.1 | 9367.95
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98381023 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
198381023 | Rice - Lyons 115 kV Ckt 1 | 2013-04-01 | 2013-04-01 |  |  | 3202.14 | 7281.37
| Wheatland 115 kV #2 | 2012-12-31 | 2012-12-31 |  |  | 909.96 | 2086.58
[5 empty] | Total | 4112.1 | 9367.95
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KPP | AG2-2022-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KPP | 98334176 | WR | WR | 5 | 2023-06-01 | 2033-06-01 | 2023-06-01 | 2033-06-01 | 857.76 | 0 | 857.76 | 10827.6
[9 empty] | 857.76 | 0 | 857.76 | 10827.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98334176 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98334176 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 857.76 | 10827.6
[5 empty] | Total | 857.76 | 10827.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MEAN | AG2-2022-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MEAN | 98367738 | NPPD | NPPD | 42 | 2024-01-01 | 2029-01-01 | 2024-01-01 | 2029-01-01 | 0 | 0 | 1792.53 | 2694.6
[9 empty] | 0 | 0 | 1792.53 | 2694.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98367738 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98367738 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 1792.53 | 2694.6
[5 empty] | Total | 1792.53 | 2694.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
SIKE | AG2-2022-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SIKE | 98445874 | SPA | SPA | 77 | 2023-06-01 | 2033-06-01 | 2023-06-01 | 2033-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98445874 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SPRM | AG2-2022-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 98228233 | SPRM | SPRM | 5 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98228233 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SPRM | AG2-2022-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 98228205 | SPRM | SPRM | 1 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98228205 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SPRM | AG2-2022-031
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SPRM | 98228191 | SPRM | SPRM | 2 | 2023-06-01 | 2050-10-01 | 2023-06-01 | 2050-10-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98228191 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TEA | AG2-2022-032
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 98319555 | WAUE | WAUW | 7 | 2024-07-01 | 2025-10-01 | 2024-07-01 | 2025-10-01 | 0 | 587622.315 | 0 | 0
[9 empty] | 0 | 587622.315 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98319555 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
WFEC | AG2-2022-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 97973778 | SPS | WFEC | 30 | 2023-06-01 | 2053-06-01 | 2023-06-01 | 2053-06-01 | 5400000 | 0 | 7033575.6 | 13655678.4
[9 empty] | 5400000 | 0 | 7033575.6 | 13655678.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
97973778 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
97973778 | Chaves County Interchange 115kV Substation Addition | 2016-08-24 | 2016-08-24 |  |  | 627593.48 | 1285696.8
| Crossroads - Tolk 345 kV CKT 1 Rebuild | 2020-12-01 | 2020-12-01 |  |  | 4238.96 | 7210.8
| Crossroads 345 kV Capacitive Reactive Support (SPS) | 2021-12-01 | 2021-12-01 |  |  | 162436.79 | 276386.4
| Curry County - Deaf Smith 115 kV CKT 1 Rebuild | 2021-12-01 | 2021-12-01 |  |  | 4392202.1 | 7473348
| Deaf Smith - Plant X 230 kV Rebuild | 2020-12-01 | 2020-12-01 |  |  | 153281.26 | 260809.2
| Deaf Smith 115 kV Capacitive Reactive Power Support | 2021-10-28 | 2021-10-28 |  |  | 36890.95 | 59796
| Harrington Mid - Nichols 230 kV Ckt 2 | 2012-12-01 | 2012-12-01 |  |  | 3922.72 | 8647.2
| Harrington West - Nichols 230kV Ckt 1 | 2012-12-01 | 2012-12-01 |  |  | 3983.7 | 8780.4
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 22894.1 | 275043.6
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 35139.52 | 419151.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 54109.78 | 783118.8
| Newhart - Plant X 230 kV CKT 1 Rebuild | 2020-12-31 | 2020-12-31 |  |  | 21860.32 | 37195.2
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 937854.58 | 1683918
| Plant X - Tolk 230kV rebuild circuit #1 | 2017-12-31 | 2017-12-31 |  |  | 76511.1 | 159638.4
| Plant X - Tolk 230kV rebuild circuit #2 | 2017-12-31 | 2017-12-31 |  |  | 80118.36 | 167162.4
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 1609.78 | 3326.4
| Tolk 345/230 kV CKT 2 Transformer | 2020-12-31 | 2020-12-31 |  |  | 117038.37 | 191246.4
| Tolk East - Tuco 230 kV CKT 1 Rebuild | 2020-12-15 | 2020-12-15 |  |  | 24733.32 | 42084
| Tuco 230 kV Capacitive Reactive Power Support | 2020-12-31 | 2020-12-31 |  |  | 245137.2 | 410407.2
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 4511.74 | 45658.8
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 27507.47 | 57052.8
[5 empty] | Total | 7033575.6 | 13655678.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Requests with Study Parameters Exceeded
Customer | Study Number
GRDX | AG2-2022-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98426529 | GRDA | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2025-01-01 | 2044-01-01 | 0 | 0 | 85716.27 | 179860.08
[9 empty] | 0 | 0 | 85716.27 | 179860.08
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98426529 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98426529 | FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 31413.88 | 58842.24
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19382.63 | 54973.08
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 1980.57 | 3739.2
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 9149.66 | 17138.76
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 23789.53 | 45166.8
[5 empty] | Total | 85716.27 | 179860.08
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98426993 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2025-01-01 | 2044-01-01 | 0 | 0 | 284475.13 | 904920.6
[9 empty] | 0 | 0 | 284475.13 | 904920.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98426993 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98426993 | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 2010-06-09 | 2010-06-09 |  |  | 14.57 | 159.6
| DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 154.93 | 1322.4
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19961.02 | 56612.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 231362.14 | 751141.44
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 32982.47 | 95684.76
[5 empty] | Total | 284475.13 | 904920.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
GRDX | AG2-2022-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 98427051 | CSWS | GRDA | 19 | 2023-06-01 | 2042-06-01 | 2025-01-01 | 2044-01-01 | 0 | 0 | 284475.13 | 904920.6
[9 empty] | 0 | 0 | 284475.13 | 904920.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98427051 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98427051 | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | 2010-06-09 | 2010-06-09 |  |  | 14.57 | 159.6
| DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 154.93 | 1322.4
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 19961.02 | 56612.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 231362.14 | 751141.44
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 32982.47 | 95684.76
[5 empty] | Total | 284475.13 | 904920.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2022-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 98326991 | OKGE | MPS | 199 | 2023-06-01 | 2043-06-01 | 2023-06-01 | 2043-06-01 | 10294.69 | 0 | 1985511.52 | 10249672.8
[9 empty] | 10294.69 | 0 | 1985511.52 | 10249672.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98326991 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for wind | Allocated E & C Cost | Total Revenue Requirements
98326991 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 0 | 39609.38 | 39609.38 | 357384
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 32356.4 | 32356.4 | 577387.2
| Longview - KC South 161kV | 2011-01-31 | 2011-01-31 |  |  | 10294.69 | 0 | 10294.69 | 20704.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 646553.68 | 646553.68 | 7032408
| Valliant 345 kV (AEP) | 2012-07-01 | 2012-07-01 |  |  | 0 | 7805.83 | 7805.83 | 59822.4
| Woodward District EHV 345kV Substation | 2016-10-03 | 2016-10-03 |  |  | 0 | 916178.09 | 916178.09 | 1611957.6
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 332713.45 | 332713.45 | 590008.8
[5 empty] | Total | 10294.69 | 1975216.83 | 1985511.52 | 10249672.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MEAN | AG2-2022-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MEAN | 98381332 | SCSE | NPPD | 40 | 2024-01-01 | 2029-01-01 | 2024-01-01 | 2029-01-01 | 0 | 0 | 60875252.32 | 81083571.1337
[9 empty] | 0 | 0 | 60875252.32 | 81083571.1337
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98381332 | Ogallala - Sidney 230 kV ckt 1 Rebuild | 2027-10-01 | 2027-10-01 |  |  | 60873802 | 60873802 | 81081391.3337
[5 empty] | Total | 60873802 | 60873802 | 81081391.3337
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
98381332 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 1450.32 | 2179.8
[5 empty] | Total | 1450.32 | 2179.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2022-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 98279769 | OKGE | WR | 78 | 2023-06-01 | 2040-12-01 | 2023-06-01 | 2040-12-01 | 732.88 | 0 | 5859091.61 | 11630700.9
[9 empty] | 732.88 | 0 | 5859091.61 | 11630700.9
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98279769 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for wind | Allocated E & C Cost | Total Revenue Requirements
98279769 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 11406.76 | 11406.76 | 187704.3
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 199817.81 | 199817.81 | 2007558
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 426976.05 | 426976.05 | 598581.9
| Power System Stabilizers in SPS | 2014-11-30 | 2014-11-30 |  |  | 732.88 | 0 | 732.88 | 1268.4
| Tap Beaver County - Woodward District EHV 345kV DBL CKT (Beaver Co POI) (NU) | 2016-10-02 | 2016-10-02 |  |  | 0 | 5117104.2 | 5117104.2 | 8660160.6
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 103053.91 | 103053.91 | 175427.7
[5 empty] | Total | 732.88 | 5858358.73 | 5859091.61 | 11630700.9
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2022-035
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 98280022 | WR | WR | 208 | 2023-06-01 | 2036-01-01 | 2023-06-01 | 2036-01-01 | 5801.25 | 0 | 24762482.54 | 39009599.72
[9 empty] | 5801.25 | 0 | 24762482.54 | 39009599.72
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
98280022 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for wind | Allocated E & C Cost | Total Revenue Requirements
98280022 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 29792.79 | 29792.79 | 413620.71
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Addition (NU) | 2016-12-31 | 2016-12-31 |  |  | 5801.25 | 0 | 5801.25 | 9052.45
| Tap Wichita - Thistle 345 kV Ckt 1 & 2 - Pratt Co Addition (NU) | 2016-10-16 | 2016-10-16 |  |  | 0 | 24726888.5 | 24726888.5 | 38586926.56
[5 empty] | Total | 5801.25 | 24756681.29 | 24762482.54 | 39009599.72
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded

## Table4
Expansion Plan Projects - The requested service is contingent upon completion of the following upgrades. Cost is not assignable to the transmission customer.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC)
TSOK | Sooner - Wekiwa 345 kV New Line | Build a new 345kV line from Sooner to Wekiwa with a summer emergency rating of 1792 MVA | 2024-04-01 | 2026-01-01
WAPA | Kummer Ridge - Round Up 345 kV New Line | Build 33.2 mile new 345 kV line from Kummer Ridge to Round Up | 2024-06-01 | 2025-12-31
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
AEPW | Locust Grove - Kerr 115 kV Rebuild | Rebuild 0.47 miles of 115 kV line from Kerr - Locust Grove | 2022-06-01 | 2022-12-01 | 5127605.82
AEPW | Osage - Shidler 138kV | Osage Substation:Replace Shidler 138kV line terminal primary and redundant relaying with SEL uProcessor based relays, install 3-138kV PTs, Install 1-138kV CB, Install metering, Install 2000A line Trap | 2014-01-15 | 2014-01-15 | 22317
AEPW | Shidler 138 kV | At Shidler 138kV: Replace existing 138kV CB at Shidler substation with 4 breaker ring. Provide Terminal for KAMO's 138kV line from Remington Station. Replace ground switch and circuit switcher, Move terminal for OG&E Osage 138kV line. Replace relay panels for OGE Osage and AEP Mound Road line terminals. Install 138kV meter transformers and meter at Shidler station. Install relay panel, line trap and RTU at Mound Road station for line to Shidler station. | 2014-02-08 | 2014-02-08 | 269533.8
AEPW | Valliant 345 kV (AEP) | Vallient 345 KV line terminal | 2012-07-01 | 2012-07-01 | 256882.86
EMDE | Neosho - Riverton 161kV Line Rebuild (EMDE) | Rebuild 28.41 miles of 161kV line from Neosho to Riverton and upgrade any necessary terminal equipment | 2023-10-01 | 2023-10-01 | 2015800
GRDA | FAIRFAX - PAWNEE 138KV CKT 1 | Construct Approx. 15 miles of 138kV transmission line from Fairfax to a new substation on the Cleveland-Stillwater 138kV line near Pawnee. & Fairfax Substation: Install 138kV line terminal and any additional modifications that are necessary to connect to | 2014-06-30 | 2014-06-30 | 117684.48
GRDA | Pawnee 138 kV | New three breaker ring bus on the Cleveland-Stillwater 138kV line near Pawnee. Station will have terminals to Cleveland, Stillwater, and Fairfax. | 2014-06-30 | 2014-06-30 | 34277.52
ITCGP | HUGO - VALLIANT 345KV CKT 1 | New 19 miles 345 KV | 2012-07-01 | 2012-07-01 | 1513432.14
ITCGP | HUGO 345/138KV TRANSFORMER CKT 1 | New 345/138 kv Auto | 2012-07-01 | 2012-07-01 | 419151.6
ITCGP | Clark County 345kV Switching Station #1 Addition | Clark County 345kV Substation - Add one (1) 345kV breaker and a half leg to the ring. Work to include circuit breakers, switches, structural steel and associated equipment to terminate the 345kV line to the generating facility. | 2016-10-07 | 2016-10-07 | 699480
ITCGP | Clark County 345kV Switching Station #2 Addition | Install one (1) 345 kV, 3000 Amp breaker, line relaying, disconnect switches, and associated equipment. | 2017-04-19 | 2017-04-19 | 311029.5
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 2006-06-01 | 2006-06-01 | 532408.2
MIDW | Rice - Lyons 115 kV Ckt 1 | Rebuild and extend 115 kV transmission line from existing Rice Co. substation to new Rice Co. substation, including engineering, surveying, and modification of existing easements as required. | 2013-04-01 | 2013-04-01 | 7281.37
KCPL | KCI - Platte City 161kV Ckt 1 | Replace 800 amp wavetrap at KCI | 2010-08-31 | 2010-08-31 | 19.2
KCPL | Longview - KC South 161kV | Install new 161kV wavetrap in place of existing wavetrap | 2011-01-31 | 2011-01-31 | 22478.1
MKEC | FLATRDG3 - HARPER 138KV CKT 1 | Rebuild 24.15 mile line | 2009-12-01 | 2013-06-01 | 297255
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 2014-10-01 | 2014-10-01 | 203479.8
NPPD | Hoskins - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating to address loading issues | 2015-10-24 | 2015-10-24 | 3496.8
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 2014-11-01 | 2014-11-01 | 101736
NPPD | Neligh - Petersburg North 115kV Ckt 1 | Replace Breaker 1106, jumpers, & 115kV Switch 1106-D2; Replace Petersburg 115kV Substation main bus; Upgrade and replace transmission structures on 115kV lines TL1168 A & B to facilitate 100 degrees Centigrade line operation | 2012-12-31 | 2012-12-31 | 26784
OKGE | Kingfisher County Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 2018-03-01 | 2018-03-01 | 323198.96
OKGE | Gracemont 138kV line terminal addition | 138kV line terminal at Gracemont substation, including breaker, line relaying, disconnect switches and associated equipment, dead end structures, revenue metering with CT's and PT's. | 2012-10-12 | 2012-10-12 | 74111.4
OKGE | Minco 345kV Substation | Three 345kV breakers, line relaying, disconnect switches, and associated equipment. Route the existing Cimarron to PSO Lawton East Side (LES) line into and out of the new Minco substation | 2010-11-01 | 2010-11-01 | 3429768.36
OKGE | Minco 345kV Substation Caddo County Addition | Add one (1) 345 kV breaker, line relaying, disconnect switches, and associated equipment. | 2012-08-30 | 2012-08-30 | 427154.58
OKGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 2010-01-01 | 2010-01-01 | 5174122.32
OKGE | Otter 138kV - rebuild and add terminal for Garfield County NU | Install four (4) 138 kV, 2000 Amp breakers, line relaying, disconnect switches, and associated equipment. | 2018-10-15 | 2018-10-15 | 81024.73
OKGE | Tap Beaver County - Woodward District EHV 345kV DBL CKT (Beaver Co POI) (NU) | New 345 kV EHV substation with five (5) 345 kV breakers, line relaying, disconnect switches, and associated equipment to be located on the Woodward to Beaver County 345 kV line. Add four (4) 345 kV line terminals to the new EHV substation, including dead end structure, line switch, line relaying, revenue metering including CT's and PT's; and Woodward District EHV 345 kV Substation. Including 345 kV reactor banks, disconnect switches, structural steel and other associated miscellaneous equipment. | 2016-10-02 | 2016-10-02 | 11102769.3
OKGE | Tap Coyote-Medford Tap 138kV - Grant County Addition (NU) | Transmission Owner's 138kV Interconnection Substation: Purchase land, install three (3) 138kV 2000A breakers, terminate two (2) existing transmission lines at new terminals, line relaying, disconnect switches, and associated equipment. | 2017-10-03 | 2017-10-03 | 3497109.6
OKGE | Woodward EHV 138kV Phase Shifting Transformer circuit #1 | Install one (1) 138 kV phase shifting transformer along with upgrading relay, protective, and metering equipment, and all associated and miscellaneous materials. | 2017-08-02 | 2017-08-02 | 423672
SPS | Chaves County Interchange 115kV Substation Addition | Substation work to construct one (1) 115 kV bus rung, 3000 Amp breaker, switches, structures, and other associated equipment at the Point of Interconnection. | 2016-08-24 | 2016-08-24 | 1285696.8
SPS | Crossroads - Tolk 345 kV CKT 1 Rebuild | Replace approximately 4 structures on the Crossroads-Tolk 345 kV line to achieve a minimum rating of 956 MVA | 2020-12-01 | 2020-12-01 | 7210.8
SPS | Crossroads 345 kV Capacitive Reactive Support (SPS) | Install +100 Mvar Capacitor Bank(s) at Crossroad 345 kV | 2021-12-01 | 2021-12-01 | 276386.4
SPS | Curry County - Deaf Smith 115 kV CKT 1 Rebuild | Rebuild line to achieve minimum normal/emergency rating of 90/90 MVA | 2021-12-01 | 2021-12-01 | 7473348
SPS | Deaf Smith - Plant X 230 kV Rebuild | Rebuild line to achieve minimum system emergency rating of 430 MVA | 2020-12-01 | 2020-12-01 | 260809.2
SPS | Deaf Smith 115 kV Capacitive Reactive Power Support | Build 100 MVar at Deaf Smith 115 kVSubstation | 2021-10-28 | 2021-10-28 | 59796
SPS | Harrington Mid - Nichols 230 kV Ckt 2 | Reconductor Harrington Mid - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 2012-12-01 | 2012-12-01 | 8647.2
SPS | Harrington West - Nichols 230kV Ckt 1 | Reconductor Harrington West - Nichols 230kV. Replace switches and breakers to get circuit to 727/727 MVA rating. New limit should be bus rating. | 2012-12-01 | 2012-12-01 | 8780.4
SPS | Newhart - Plant X 230 kV CKT 1 Rebuild | Rebuild line to achieve minimum system intact/emergency rating of 456 MVA | 2020-12-31 | 2020-12-31 | 37195.2
SPS | Oklaunion 345 kV Capacitive Reactive Support (AEP) | Install +200 Mvar Capacitor Bank(s) at Oklaunion 345kV | 2022-06-01 | 2022-06-01 | 2487390.6
SPS | Plant X - Tolk 230kV rebuild circuit #1 | Rebuild Plant X – Tolk 230kV transmission circuit #1 which is approximately 10 miles in length. The existing 795 MCM ACSR conductor will be replaced with 995 MCM ACCS conductor along with upgrading associated disconnect switches, structural steel, foundat | 2017-12-31 | 2017-12-31 | 159638.4
SPS | Plant X - Tolk 230kV rebuild circuit #2 | Rebuild Plant X – Tolk 230kV transmission circuit #2 which is approximately 10 miles in length. The existing 795 MCM ACSR conductor will be replaced with 995 MCM ACCS conductor along with upgrading associated disconnect switches, structural steel, foundat | 2017-12-31 | 2017-12-31 | 167162.4
SPS | Power System Stabilizers in SPS | Install Power System Stabilizers (PSS) at Tolk (Units: 1,2) and Jones (Units: 1,2,3). | 2014-11-30 | 2014-11-30 | 5029.5
SPS | Tolk 345/230 kV CKT 2 Transformer | Build new 345/230 transformer CKT 2 at Tolk to achieve a minimum normal/emergency rating of 921 MVA on the Crossroads-Tolk 345 kV CKT1 line | 2020-12-31 | 2020-12-31 | 191246.4
SPS | Tolk East - Tuco 230 kV CKT 1 Rebuild | Rebuild line to achieve minimum normal/emergency rating of 478 MVA | 2020-12-15 | 2020-12-15 | 42084
SPS | Tuco 230 kV Capacitive Reactive Power Support | Install +100 MVar at Tuco 230 kV Substation | 2020-12-31 | 2020-12-31 | 410407.2
WERE | 166TH STREET - JAGGARD JUNCTION 115KV CKT 1 | Rebuild 166th Street - Jaggard Junction 115 kV line. | 2010-02-03 | 2010-02-03 | 16382.4
WERE | 166TH STREET - JARBALO JUNCTION SWITCHING STATION 115KV CKT 1 | Rebuild Jarbalo - 166th Street 115 kV line. | 2010-09-18 | 2010-09-18 | 19315.2
WERE | COFFEYVILLE TAP - DEARING 138KV CKT 1 (WR) #2 | Replace Disconnect Switches, Wavetrap, Breaker, Jumpers with a minimum 2000 amp emergency rating equipment | 2010-06-09 | 2010-06-09 | 178.65
WERE | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2012-06-01 | 2012-06-01 | 1351.61
WERE | JAGGARD JUNCTION - PENTAGON 115KV CKT 1 | Rebuild Jaggard Junction - Pentagon 115 kV line. | 2010-05-13 | 2010-05-13 | 32976
WERE | NEOSHO - NORTHEAST PARSONS 138KV CKT 1 | Replace bus and Jumpers at NE Parsons 138 kV substation | 2011-06-01 | 2011-06-01 | 22.86
WERE | Neosho - Riverton 161kV Line Rebuild (WERE) | Rebuild 2.44 miles of Neosho-Riverton 161kV line using bundled 1590 Lapwing ACSR and OPGW. Remove the wavetrap. | 2023-10-01 | 2023-10-01 | 256786
WERE | Wheatland 115 kV #2 | Install metering equipment at the Wheatland 115 kV substation. | 2012-12-31 | 2012-12-31 | 2086.58
WFEC | Renfrow-Renfrow Tap 138kV Ckt 1 | Replace terminal equipment. | 2017-09-25 | 2017-09-25 | 108564.6
WFEC | WASHITA - GRACEMONT 138 KV CKT 2 | BUILD WASHITA - GRACEMONT 138KV CKT 2 (APPROXIMATELY 7 MILES). ADD LINE TERMINAL AT WASHITA AND PROCURE RIGHT OF WAY. | 2012-10-12 | 2012-10-12 | 464989.8
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | Upgrade Name | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
None

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
None | None | None | None | 0% | 0
|  |  |  | Total: | 0