## Executive Summary
Executive Summary: SPP-2023-AG2-AFS-2
Pursuant to the Southwest Power Pool (SPP) Open Access Transmission Tariff (OATT), SPP has conducted this Aggregate Transmission Service Study (ATSS) for transmission service requests received during the ATSS Open Season which closed on November 30, 2023. The principal objective of the AFS is to identify system problems and potential modifications necessary to facilitate these transfers while maintaining or improving system reliability, as well as summarizing the operating limits and determination of the financial characteristics associated with facility upgrades. Facility upgrade costs are allocated on a prorated basis to all requests positively impacting any individual overloaded facility. The study results for the transmission service requests included in this Aggregate Study iteration are displayed in this workbook. This workbook provides a convenient method to sort and analyze required study data. The Aggregate Studies Manual Version 1.0 posted on http://opsportal.spp.org/Studies/Trans contains details about the Aggregate Study process, methodology, definitions, and useful links. Please review the Aggregate Studies Manual or contact TS@spp.org for more information about the study process.
Aggregate Study Manual Version 1.0
https://opsportal.spp.org/documents/studies/Aggregate_Study_Manual_20230718_clean.docx
This Aggregate Study iteration analyzes the impact of new transmission service totaling:
1,913 MW
Models Used in Study
2024 ITP Series
Winter: 2024, 2025, 2026, 2028, 2033
Summer: 2024, 2025, 2026, 2028, 2033
Light Load: 2025, 2027, 2028, 2033
By: SPP Transmission Services Department
Published: May 3, 2024

## Revision History
Revision History
Date | Author | Change Description
2024-05-03 | SPP | Original report

## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter 5) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
BEPM | AG2-2023-001 | 101436920 | WAUE | WAUE | 15 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
BEPM | AG2-2023-002 | 101436951 | WAUW | WAUW | 8 | 2024-06-01 | 2039-06-01 | 2024-06-01 | 2039-06-01 | 2024-06-01 | 2039-06-01 | NO
BEPM | AG2-2023-003 | 101436969 | WAUE | WAUE | 250 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | NO
BEPM | AG2-2023-004 | 101436995 | WAUE | WAUE | 250 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | NO
BEPM | AG2-2023-005 | 101436999 | WAUE | WAUE | 125 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | NO
KCPS | AG2-2023-007 | 101387389 | MPS | KCPL | 1 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
KCPS | AG2-2023-008 | 101387395 | MPS | KCPL | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
KCPS | AG2-2023-009 | 101387861 | MPS | KCPL | 4 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
KMEA | AG2-2023-010 | 101385906 | MPS | KCPL | 5 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-011 | 101435142 | MPS | SECI | 4 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-012 | 101435155 | MPS | WR | 1 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-013 | 101435490 | MPS | SECI | 1 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-014 | 101436073 | SECI | SECI | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-015 | 101436089 | SECI | SECI | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-016 | 101436739 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-017 | 101436755 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-018 | 101436780 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KMEA | AG2-2023-019 | 101436783 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | NO
KPP | AG2-2023-020 | 101446723 | WR | WR | 2 | 2024-06-01 | 2035-04-01 | 2024-06-01 | 2035-04-01 | 2024-06-01 | 2035-04-01 | NO
KPP | AG2-2023-021 | 101447461 | WR | WR | 5 | 2024-06-01 | 2037-03-01 | 2024-06-01 | 2037-03-01 | 2024-06-01 | 2037-03-01 | NO
MCPI | AG2-2023-022 | 99927525 | WFEC | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
MEUC | AG2-2023-023 | 101466713 | SPA | AECI | 12 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
NPPM | AG2-2023-024 | 101640884 | NPPD | NPPD | 11 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
NWDS | AG2-2023-025 | 101446138 | GREATFALLS | WAUW | 27 | 2024-06-01 | 2045-12-01 | 2024-06-01 | 2045-12-01 | Note 4 | Note 4 | NO
NWPS | AG2-2023-026 | 101458922 | SPRM | WAUE | 20 | 2024-06-01 | 2025-06-01 | 2024-06-01 | 2025-06-01 | Note 4 | Note 4 | NO
OPPM | AG2-2023-028 | 101338268 | WR | OPPD | 124 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
OPPM | AG2-2023-029 | 101345186 | OPPD | OPPD | 50 | 2024-06-01 | 2025-06-01 | 2024-06-01 | 2025-06-01 | 2024-06-01 | 2025-06-01 | NO
SECI | AG2-2023-030 | 101434625 | NPPD | SECI | 1 | 2024-10-01 | 2030-11-01 | 2024-10-01 | 2030-11-01 | 2024-10-01 | 2030-11-01 | NO
TEA | AG2-2023-031 | 99927517 | WFEC | ERCOTN | 45 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TEA | AG2-2023-032 | 99927518 | WFEC | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TEA | AG2-2023-033 | 99927519 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TEA | AG2-2023-034 | 99927520 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TEA | AG2-2023-035 | 99927521 | CSWS | ERCOTE | 25 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
TNSK | AG2-2023-036 | 99927528 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | NO
TNSK | AG2-2023-037 | 99927530 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-038 | 99927538 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-039 | 99927546 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-040 | 99932295 | WFEC | ERCOTN | 25 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-041 | 100892804 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-042 | 100892805 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-043 | 100892806 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-044 | 100892807 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2023-046 | 101320396 | WFEC | ERCOTN | 25 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | NO
WRGS | AG2-2023-047 | 101387240 | WR | WR | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
WRGS | AG2-2023-048 | 101387275 | WR | WR | 4 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
WRGS | AG2-2023-049 | 101387289 | WR | WR | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | NO
WRGS | AG2-2023-051 | 101387374 | OKGE | WR | 199 | 2024-06-01 | 2043-12-01 | 2024-06-01 | 2043-12-01 | 2024-06-01 | 2043-12-01 | NO
WRGS | AG2-2023-052 | 99927524 | OKGE | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | NO
1913
Requests with Study Parameters Exceeded
GRDX | AG2-2023-006 | 101468844 | CSWS | GRDA | 100 | 2025-06-01 | 2031-01-01 | 2025-06-01 | 2031-01-01 | 2025-06-01 | 2031-01-01 | YES
OMPA | AG2-2023-027 | 101435703 | WFEC | OKGE | 20 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | Note 4 | Note 4 | YES
TNSK | AG2-2023-045 | 100892808 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2028-12-01 | 2030-02-01 | 2028-12-01 | 2030-02-01 | YES
WRGS | AG2-2023-050 | 101387347 | OKGE | WR | 78 | 2024-06-01 | 2040-12-01 | 2024-06-01 | 2040-12-01 | 2024-06-01 | 2040-12-01 | YES
WRGS | AG2-2023-053 | 99927526 | OKGE | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2028-12-01 | 2030-02-01 | 2028-12-01 | 2030-02-01 | YES
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter 4) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter 2) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter 1)
BEPM | AG2-2023-001 | 101436920 | 39406 | 0 | 39406 |  | 0 | 0 | 106679.62 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2023-002 | 101436951 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2023-003 | 101436969 | 3384237 | 0 | 3384237 |  | 0 | 0 | 14506667.28 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2023-004 | 101436995 | 3384237 | 0 | 3384237 |  | 0 | 0 | 14506667.28 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2023-005 | 101436999 | 1692119 | 0 | 1692119 |  | 0 | 0 | 7253335.78 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2023-007 | 101387389 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2023-008 | 101387395 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2023-009 | 101387861 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-010 | 101385906 | 504.47 | 0 | 504.47 |  | 0 | 0 | 0 | 0 | 6954 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-011 | 101435142 | 16218.54 | 0 | 16218.54 |  | 0 | 0 | 0 | 0 | 115844.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-012 | 101435155 | 50.31 | 0 | 50.31 |  | 0 | 0 | 0 | 0 | 314.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-013 | 101435490 | 4056.6 | 0 | 4056.6 |  | 0 | 0 | 0 | 0 | 28972.8 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-014 | 101436073 | 7070.97 | 0 | 7070.97 |  | 0 | 0 | 0 | 0 | 66476.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-015 | 101436089 | 7070.97 | 0 | 7070.97 |  | 0 | 0 | 0 | 0 | 66476.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-016 | 101436739 | 53690.64 | 0 | 53690.64 |  | 0 | 0 | 0 | 0 | 132272.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-017 | 101436755 | 53690.64 | 0 | 53690.64 |  | 0 | 0 | 0 | 0 | 132272.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-018 | 101436780 | 53690.64 | 0 | 53690.64 |  | 0 | 0 | 0 | 0 | 132272.4 | 0 | Schedule 9 & 11 Charges | 0
KMEA | AG2-2023-019 | 101436783 | 53690.64 | 0 | 53690.64 |  | 0 | 0 | 0 | 0 | 132272.4 | 0 | Schedule 9 & 11 Charges | 0
KPP | AG2-2023-020 | 101446723 | 7176.34 | 0 | 7176.34 |  | 0 | 0 | 0 | 0 | 28096.9 | 0 | Schedule 9 & 11 Charges | 0
KPP | AG2-2023-021 | 101447461 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
MCPI | AG2-2023-022 | 99927525 | 2500597.54 | 0 | 0 |  | 0 | 0 | 0 | 2500597.54 | 0 | 4747883 | 4747883 | 0
MEUC | AG2-2023-023 | 101466713 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 2245853.52 | 2245853.52 | 0
NPPM | AG2-2023-024 | 101640884 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
NWDS | AG2-2023-025 | 101446138 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
NWPS | AG2-2023-026 | 101458922 | 40600.44 | 0 | 0 |  | 0 | 0 | 0 | 77812.8 | 0 | 0 | 77812.8 | 40600.44
OPPM | AG2-2023-028 | 101338268 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OPPM | AG2-2023-029 | 101345186 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
SECI | AG2-2023-030 | 101434625 | 14193.12 | 0 | 0 |  | 0 | 0 | 0 | 27496.18 | 0 | 0 | 27496.18 | 14193.12
TEA | AG2-2023-031 | 99927517 | 2240481.88 | 0 | 0 |  | 0 | 0 | 0 | 2240481.88 | 0 | 4273094.7 | 4273094.7 | 0
TEA | AG2-2023-032 | 99927518 | 2500597.54 | 0 | 0 |  | 0 | 0 | 0 | 2500597.54 | 0 | 4747883 | 4747883 | 0
TEA | AG2-2023-033 | 99927519 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TEA | AG2-2023-034 | 99927520 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TEA | AG2-2023-035 | 99927521 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 2373941.5 | 2373941.5 | 0
TNSK | AG2-2023-036 | 99927528 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-037 | 99927530 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-038 | 99927538 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-039 | 99927546 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-040 | 99932295 | 1242045.42 | 0 | 0 |  | 0 | 0 | 0 | 1242045.42 | 0 | 2373941.5 | 2373941.5 | 0
TNSK | AG2-2023-041 | 100892804 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-042 | 100892805 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-043 | 100892806 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-044 | 100892807 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4747883 | 4747883 | 0
TNSK | AG2-2023-046 | 101320396 | 1193656.1 | 0 | 0 |  | 0 | 0 | 0 | 1193656.1 | 0 | 2373941.5 | 2373941.5 | 0
WRGS | AG2-2023-047 | 101387240 | 153.61 | 0 | 153.61 |  | 0 | 0 | 0 | 0 | 1740.6 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2023-048 | 101387275 | 307.36 | 0 | 307.36 |  | 0 | 0 | 0 | 0 | 3482.4 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2023-049 | 101387289 | 65.85 | 0 | 65.85 |  | 0 | 0 | 0 | 0 | 544.2 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2023-051 | 101387374 | 1435975.74 | 0 | 0 |  | 0 | 0 | 0 | 8199909.9 | 0 | 0 | 8199909.9 | 1435975.74
WRGS | AG2-2023-052 | 99927524 | 2344944 | 0 | 0 |  | 0 | 0 | 0 | 2344944 | 0 | 4747883 | 4747883 | 0
Grand Total |  |  | 22270528.36 |  | 8757436.58 |  | 0 | 0 | 36373349.96 | 20327541.36 | 847992.1 |  |  | 1490769.3
Requests with Study Parameters Exceeded
GRDX | AG2-2023-006 | 101468844 | 779697.21 | 0 | 558.09 |  | 0 | 0 | 0 | 1789800.48 | 4253.16 | 0 | 1789800.48 | 779139.12
OMPA | AG2-2023-027 | 101435703 | 211478.87 | 0 | 994.03 |  | 0 | 0 | 0 | 720298.8 | 2023.2 | 0 | 720298.8 | 210484.84
TNSK | AG2-2023-045 | 100892808 | 50000000 | 50000000 | 0 | 10 | 0 | 100000000 | 0 | 0 | 0 | 4748715.3 | 100000000 | 50000000
WRGS | AG2-2023-050 | 101387347 | 5671609.44 | 0 | 0 |  | 0 | 0 | 0 | 11307015.72 | 0 | 0 | 11307015.72 | 5671609.44
WRGS | AG2-2023-053 | 99927526 | 62344939 | 60000000 | 0 | 10 | 0 | 120000000 | 0 | 2344939.24 | 0 | 4748715.3 | 122344939.24 | 62344939
Grand Total |  |  | 119007724.52 |  | 1552.12 |  | 0 | 220000000 | 0 | 16162054.24 | 6276.36 |  |  | 119006172.4
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.
Note 10: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.

## Table3
Customer | Study Number
BEPM | AG2-2023-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 101436920 | WAUE | WAUE | 15 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 39406 | 0 | 39406 | 106679.616
[9 empty] | 39406 | 0 | 39406 | 106679.616
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436920 | Judson 345/230 kV Transformer Ckt 2 | 2024-06-01 | 2025-04-01 |  |  | 39406 | 8500000 | 106679.616
[5 empty] | Total | 39406 | 8500000 | 106679.62
Customer | Study Number
BEPM | AG2-2023-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 101436951 | WAUW | WAUW | 8 | 2024-06-01 | 2039-06-01 | 2024-06-01 | 2039-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436951 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
BEPM | AG2-2023-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 101436969 | WAUE | WAUE | 250 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 3384237 | 0 | 3384237 | 14506667.2812
[9 empty] | 3384237 | 0 | 3384237 | 14506667.2812
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436969 | Judson 345/230 kV Transformer Ckt 2 | 2024-06-01 | 2025-04-01 |  | No | 3384237 | 8500000 | 14506667.2812
[5 empty] | Total | 3384237 | 8500000 | 14506667.28
Customer | Study Number
BEPM | AG2-2023-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 101436995 | WAUE | WAUE | 250 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 3384237 | 0 | 3384237 | 14506667.2812
[9 empty] | 3384237 | 0 | 3384237 | 14506667.2812
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436995 | Judson 345/230 kV Transformer Ckt 2 | 2024-06-01 | 2025-04-01 |  | No | 3384237 | 8500000 | 14506667.2812
[5 empty] | Total | 3384237 | 8500000 | 14506667.28
Customer | Study Number
BEPM | AG2-2023-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 101436999 | WAUE | WAUE | 125 | 2024-07-01 | 2045-01-01 | 2025-04-01 | 2045-01-01 | 1692119 | 0 | 1692119 | 7253335.7808
[9 empty] | 1692119 | 0 | 1692119 | 7253335.7808
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436999 | Judson 345/230 kV Transformer Ckt 2 | 2024-06-01 | 2025-04-01 |  | No | 1692119 | 8500000 | 7253335.7808
[5 empty] | Total | 1692119 | 8500000 | 7253335.78
Customer | Study Number
KCPS | AG2-2023-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 101387389 | MPS | KCPL | 1 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387389 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
KCPS | AG2-2023-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 101387395 | MPS | KCPL | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387395 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
KCPS | AG2-2023-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 101387861 | MPS | KCPL | 4 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387861 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
KMEA | AG2-2023-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101385906 | MPS | KCPL | 5 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 504.47 | 0 | 504.47 | 6954
[9 empty] | 504.47 | 0 | 504.47 | 6954
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101385906 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101385906 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 504.47 | 6954
[5 empty] | Total | 504.47 | 6954
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101435142 | MPS | SECI | 4 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 16218.54 | 0 | 16218.54 | 115844.4
[9 empty] | 16218.54 | 0 | 16218.54 | 115844.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101435142 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101435142 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 1732 | 16194
| MEDICINE LODGE - PRATT 115KV CKT 1 | 2009-12-01 | 2009-12-01 |  |  | 6263.74 | 56557.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 523.39 | 5433.6
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 3633.24 | 30687.6
| Rice County 230/115 kV transformer Ckt 1 | 2012-10-01 | 2012-10-01 |  |  | 4066.17 | 6972
[5 empty] | Total | 16218.54 | 115844.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101435155 | MPS | WR | 1 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 50.31 | 0 | 50.31 | 314.4
[9 empty] | 50.31 | 0 | 50.31 | 314.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101435155 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 50.31 | 314.4
[5 empty] | Total | 50.31 | 314.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101435490 | MPS | SECI | 1 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 4056.6 | 0 | 4056.6 | 28972.8
[9 empty] | 4056.6 | 0 | 4056.6 | 28972.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101435490 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101435490 | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 432.83 | 4046.4
| MEDICINE LODGE - PRATT 115KV CKT 1 | 2009-12-01 | 2009-12-01 |  |  | 1565.65 | 14137.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 130.8 | 1358.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 910.1 | 7687.2
| Rice County 230/115 kV transformer Ckt 1 | 2012-10-01 | 2012-10-01 |  |  | 1017.22 | 1743.6
[5 empty] | Total | 4056.6 | 28972.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436073 | SECI | SECI | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 7070.97 | 0 | 7070.97 | 66476.4
[9 empty] | 7070.97 | 0 | 7070.97 | 66476.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436073 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436073 | CLIFTON - GREENLEAF 115KV CKT 1 | 2011-06-01 | 2013-06-01 |  |  | 1363.73 | 14157.6
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 1079.56 | 10093.2
| MEDICINE LODGE - PRATT 115KV CKT 1 | 2009-12-01 | 2009-12-01 |  |  | 4301.45 | 38839.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 326.23 | 3386.4
[5 empty] | Total | 7070.97 | 66476.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436089 | SECI | SECI | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 7070.97 | 0 | 7070.97 | 66476.4
[9 empty] | 7070.97 | 0 | 7070.97 | 66476.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436089 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436089 | CLIFTON - GREENLEAF 115KV CKT 1 | 2011-06-01 | 2013-06-01 |  |  | 1363.73 | 14157.6
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 1079.56 | 10093.2
| MEDICINE LODGE - PRATT 115KV CKT 1 | 2009-12-01 | 2009-12-01 |  |  | 4301.45 | 38839.2
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 326.23 | 3386.4
[5 empty] | Total | 7070.97 | 66476.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436739 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 53690.64 | 0 | 53690.64 | 132272.4
[9 empty] | 53690.64 | 0 | 53690.64 | 132272.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436739 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436739 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 5.84 | 34.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 499.47 | 6884.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 46375.78 | 110079.6
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 6608.21 | 14016
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 201.34 | 1257.6
[5 empty] | Total | 53690.64 | 132272.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436755 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 53690.64 | 0 | 53690.64 | 132272.4
[9 empty] | 53690.64 | 0 | 53690.64 | 132272.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436755 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436755 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 5.84 | 34.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 499.47 | 6884.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 46375.78 | 110079.6
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 6608.21 | 14016
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 201.34 | 1257.6
[5 empty] | Total | 53690.64 | 132272.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436780 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 53690.64 | 0 | 53690.64 | 132272.4
[9 empty] | 53690.64 | 0 | 53690.64 | 132272.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436780 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436780 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 5.84 | 34.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 499.47 | 6884.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 46375.78 | 110079.6
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 6608.21 | 14016
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 201.34 | 1257.6
[5 empty] | Total | 53690.64 | 132272.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KMEA | AG2-2023-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KMEA | 101436783 | WR | WR | 3 | 2024-06-01 | 2034-06-01 | 2024-06-01 | 2034-06-01 | 53690.64 | 0 | 132272.4 | 132272.4
[9 empty] | 53690.64 | 0 | 132272.4 | 132272.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101436783 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101436783 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 5.84 | 34.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 499.47 | 6884.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 46375.78 | 110079.6
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 6608.21 | 14016
| SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | 2011-06-01 | 2011-06-01 |  |  | 201.34 | 1257.6
[5 empty] | Total | 53690.64 | 132272.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KPP | AG2-2023-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KPP | 101446723 | WR | WR | 2 | 2024-06-01 | 2035-04-01 | 2024-06-01 | 2035-04-01 | 7176.34 | 0 | 7176.34 | 28096.9
[9 empty] | 7176.34 | 0 | 7176.34 | 28096.9
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101446723 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101446723 | FLATRDG3 - HARPER 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 534.89 | 5509.4
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 155.09 | 1669.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 1409.14 | 12268.1
| Rice - Circle 230 kV Ckt 1 (MIDW portion) | 2012-11-07 | 2012-11-07 |  |  | 1811.09 | 3136.9
| Rice - Circle 230 kV Ckt 1 (WR portion) | 2012-11-29 | 2012-11-29 |  |  | 2402.96 | 4150.9
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 863.17 | 1362.4
[5 empty] | Total | 7176.34 | 28096.9
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KPP | AG2-2023-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KPP | 101447461 | WR | WR | 5 | 2024-06-01 | 2037-03-01 | 2024-06-01 | 2037-03-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101447461 | None |  |  |  |  | 0 | 0 | 0
Customer | Study Number
MCPI | AG2-2023-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MCPI | 99927525 | WFEC | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4747883 | 2500597.54 | 2500597.54
[9 empty] | 0 | 4747883 | 2500597.54 | 2500597.54
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927525 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99927525 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 502613.58 | 502613.58
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 316501.92 | 316501.92
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 462562.8 | 462562.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 30638.72 | 30638.72
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 1188280.52 | 1188280.52
[5 empty] | Total | 2500597.54 | 2500597.54
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
MEUC | AG2-2023-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
MEUC | 101466713 | SPA | AECI | 12 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 2245853.52 | 0 | 0
[9 empty] | 0 | 2245853.52 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101466713 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
NPPM | AG2-2023-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NPPM | 101640884 | NPPD | NPPD | 11 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101640884 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
NWDS | AG2-2023-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NWDS | 101446138 | GREATFALLS | WAUW | 27 | 2024-06-01 | 2045-12-01 | 2024-06-01 | 2045-12-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101446138 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
NWPS | AG2-2023-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NWPS | 101458922 | SPRM | WAUE | 20 | 2024-06-01 | 2025-06-01 | 2024-06-01 | 2025-06-01 | 0 | 0 | 40600.44 | 77812.8
[9 empty] | 0 | 0 | 40600.44 | 77812.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101458922 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101458922 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 37706.31 | 53903.16
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 1851.19 | 17727.36
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 1042.94 | 6182.28
[5 empty] | Total | 40600.44 | 77812.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
OPPM | AG2-2023-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 101338268 | WR | OPPD | 124 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101338268 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OPPM | AG2-2023-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OPPM | 101345186 | OPPD | OPPD | 50 | 2024-06-01 | 2025-06-01 | 2024-06-01 | 2025-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101345186 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
SECI | AG2-2023-030
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 101434625 | NPPD | SECI | 1 | 2024-10-01 | 2030-11-01 | 2024-10-01 | 2030-11-01 | 0 | 0 | 14193.12 | 27496.18
[9 empty] | 0 | 0 | 14193.12 | 27496.18
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101434625 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101434625 | Antelope - County Line - 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 984.33 | 1424.96
| Battle Creek - County Line 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 938.96 | 1359.26
| FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 147.43 | 1196.47
| Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 2015-05-01 | 2015-05-01 |  |  | 3027.76 | 4530.38
| MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 44.53 | 401.5
| Neligh - Petersburg North 115kV Ckt 1 | 2012-12-31 | 2012-12-31 |  |  | 1368.64 | 2226.5
| North Ft. Dodge - Spearville 115kV Ckt 2 | 2015-05-01 | 2015-05-01 |  |  | 2579.5 | 3859.51
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 811.03 | 6077.25
| Spearville 345/115 kV Transformer CKT 1 | 2015-05-01 | 2015-05-01 |  |  | 4290.94 | 6420.35
[5 empty] | Total | 14193.12 | 27496.18
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG2-2023-031
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 99927517 | WFEC | ERCOTN | 45 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4273094.7 | 2240481.88 | 2240481.88
[9 empty] | 0 | 4273094.7 | 2240481.88 | 2240481.88
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927517 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99927517 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 452381.58 | 452381.58
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 281332.94 | 281332.94
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 411162.78 | 411162.78
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 27238.68 | 27238.68
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 1068365.9 | 1068365.9
[5 empty] | Total | 2240481.88 | 2240481.88
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG2-2023-032
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 99927518 | WFEC | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4747883 | 2500597.54 | 2500597.54
[9 empty] | 0 | 4747883 | 2500597.54 | 2500597.54
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927518 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99927518 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 502613.58 | 502613.58
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 316501.92 | 316501.92
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 462562.8 | 462562.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 30638.72 | 30638.72
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 1188280.52 | 1188280.52
[5 empty] | Total | 2500597.54 | 2500597.54
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TEA | AG2-2023-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 99927519 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927519 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TEA | AG2-2023-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 99927520 | CSWS | ERCOTE | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927520 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TEA | AG2-2023-035
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TEA | 99927521 | CSWS | ERCOTE | 25 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 2373941.5 | 0 | 0
[9 empty] | 0 | 2373941.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927521 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-036
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 99927528 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927528 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-037
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 99927530 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927530 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-038
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 99927538 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927538 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-039
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 99927546 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927546 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-040
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 99932295 | WFEC | ERCOTN | 25 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 2373941.5 | 1242045.42 | 1242045.42
[9 empty] | 0 | 2373941.5 | 1242045.42 | 1242045.42
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99932295 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99932295 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 251786.36 | 251786.36
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 154485.24 | 154485.24
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 228726.68 | 228726.68
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 14113.12 | 14113.12
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 592934.02 | 592934.02
[5 empty] | Total | 1242045.42 | 1242045.42
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG2-2023-041
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 100892804 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
100892804 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-042
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 100892805 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
100892805 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-043
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 100892806 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
100892806 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-044
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 100892807 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 4747883 | 0 | 0
[9 empty] | 0 | 4747883 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
100892807 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2023-046
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 101320396 | WFEC | ERCOTN | 25 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 0 | 2373941.5 | 1193656.1 | 1193656.1
[9 empty] | 0 | 2373941.5 | 1193656.1 | 1193656.1
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101320396 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101320396 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 251909.84 | 251909.84
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 137256.84 | 137256.84
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 204156.82 | 204156.82
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 12517.68 | 12517.68
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 587814.92 | 587814.92
[5 empty] | Total | 1193656.1 | 1193656.1
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-047
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 101387240 | WR | WR | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 153.61 | 0 | 153.61 | 1740.6
[9 empty] | 153.61 | 0 | 153.61 | 1740.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387240 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101387240 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 153.61 | 1740.6
[5 empty] | Total | 153.61 | 1740.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-048
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 101387275 | WR | WR | 4 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 307.36 | 0 | 307.36 | 3482.4
[9 empty] | 307.36 | 0 | 307.36 | 3482.4
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387275 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101387275 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 307.36 | 3482.4
[5 empty] | Total | 307.36 | 3482.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-049
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 101387289 | WR | WR | 2 | 2024-06-01 | 2029-06-01 | 2024-06-01 | 2029-06-01 | 65.85 | 0 | 65.85 | 544.2
[9 empty] | 65.85 | 0 | 65.85 | 544.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387289 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101387289 | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | 2009-12-01 | 2013-06-01 |  |  | 65.85 | 544.2
[5 empty] | Total | 65.85 | 544.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-051
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 101387374 | OKGE | WR | 199 | 2024-06-01 | 2043-12-01 | 2024-06-01 | 2043-12-01 | 0 | 0 | 1435975.74 | 8199909.9
[9 empty] | 0 | 0 | 1435975.74 | 8199909.9
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387374 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
101387374 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 15711.32 | 15711.32 | 301314.78
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 540441.19 | 540441.19 | 6302649.6
| Woodward District EHV 345kV Substation | 2016-10-03 | 2016-10-03 |  |  | 0 | 569216.05 | 569216.05 | 1029040.74
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 310607.18 | 310607.18 | 566904.78
[5 empty] | Total | 0 | 1435975.74 | 1435975.74 | 8199909.9
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-052
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 99927524 | OKGE | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2024-07-01 | 2025-09-01 | 0 | 4747883 | 2344944 | 2344944
[9 empty] | 0 | 4747883 | 2344944 | 2344944
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927524 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99927524 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 491909.88 | 491909.88
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 399813.4 | 399813.4
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 85932.7 | 85932.7
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 235868.64 | 235868.64
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 1131419.38 | 1131419.38
[5 empty] | Total | 2344944 | 2344944
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Requests with Study Parameters Exceeded
Customer | Study Number
GRDX | AG2-2023-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDX | 101468844 | CSWS | GRDA | 100 | 2025-06-01 | 2031-01-01 | 2025-06-01 | 2031-01-01 | 558.09 | 0 | 779697.21 | 1794053.64
[9 empty] | 558.09 | 0 | 779697.21 | 1794053.64
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101468844 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101468844 | Gracemont 138kV line terminal addition | 2012-10-12 | 2012-10-12 |  |  | 8590.64 | 14674.34
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 25529.38 | 164571.43
| Locust Grove - Kerr 115 kV Rebuild | 2022-06-01 | 2022-12-01 |  |  | 115592.09 | 222323.42
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 8337.46 | 64851.31
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 494821.18 | 1092093.3
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 70564.13 | 139165.03
| CACHE - SNYDER 138KV CKT 1 | 2008-05-21 | 2008-05-21 |  |  | 558.09 | 4253.16
| WASHITA - GRACEMONT 138 KV CKT 2 | 2012-10-12 | 2012-10-12 |  |  | 55704.24 | 92121.65
[5 empty] | Total | 779697.21 | 1794053.64
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
OMPA | AG2-2023-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OMPA | 101435703 | WFEC | OMPA | 20 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 994.03 | 0 | 211478.87 | 722322
[9 empty] | 994.03 | 0 | 211478.87 | 722322
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101435703 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
101435703 | Cleo Corner - Cleo Plant Tap 138kV Ckt 1 | 2020-10-01 | 2020-10-01 |  |  | 994.03 | 2023.2
| FAIRFAX - PAWNEE 138KV CKT 1 | 2014-06-30 | 2014-06-30 |  |  | 32934.76 | 58957.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 39707.95 | 435585.6
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 65145.06 | 95491.8
| Osage - Shidler 138kV | 2014-01-15 | 2014-01-15 |  |  | 2970.26 | 5360.4
| Pawnee 138 kV | 2014-06-30 | 2014-06-30 |  |  | 9592.63 | 17172
| Shidler 138 kV | 2014-02-08 | 2014-02-08 |  |  | 35674.29 | 64728
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 24459.89 | 43003.8
[5 empty] | Total | 211478.87 | 722322
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG2-2023-045
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 100892808 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2028-12-01 | 2030-02-01 | 0 | 4748715.3 | 50000000 | 100000000
[9 empty] | 0 | 4748715.3 | 50000000 | 100000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
100892808 | ERCOT East DC Tie Upgrade | 2025-06-01 | 2028-12-01 |  |  | 50000000 | 50000000 | 100000000
[5 empty] | Total | 50000000 | 50000000 | 100000000
Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
WRGS | AG2-2023-050
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 101387347 | OKGE | WR | 78 | 2024-06-01 | 2040-12-01 | 2024-06-01 | 2040-12-01 | 0 | 0 | 5671609.44 | 11307015.72
[9 empty] | 0 | 0 | 5671609.44 | 11307015.72
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
101387347 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
101387347 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 0 | 5786.7 | 5786.7 | 100564.2
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 0 | 175102.89 | 175102.89 | 1854309.6
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 0 | 426679.26 | 426679.26 | 614988
| Tap Beaver County - Woodward District EHV 345kV DBL CKT (Beaver Co POI) (NU) | 2016-10-02 | 2016-10-02 |  |  | 0 | 4963591.07 | 4963591.07 | 8562638.7
| Woodward EHV 138kV Phase Shifting Transformer circuit #1 | 2017-08-02 | 2017-08-02 |  |  | 0 | 100449.52 | 100449.52 | 174515.22
[5 empty] | Total | 0 | 5671609.44 | 5671609.44 | 11307015.72
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2023-053
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 99927526 | OKGE | ERCOTN | 50 | 2024-07-01 | 2025-09-01 | 2028-12-01 | 2030-02-01 | 0 | 4748715.3 | 62344939.24 | 122344939.24
[9 empty] | 0 | 4748715.3 | 62344939.24 | 122344939.24
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
99927526 | ERCOT North DC Tie Upgrade | 2024-06-01 | 2028-12-01 |  |  | 60000000 | 60000000 | 120000000
[5 empty] | Total | 60000000 | 60000000 | 120000000
Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
99927526 | Border 345 kV Capacitive Reactive Support (OKGE) | 2020-06-01 | 2020-06-01 |  |  | 491900.36 | 491900.36
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 85932.7 | 85932.7
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 399813.4 | 399813.4
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 235873.4 | 235873.4
| Oklaunion 345 kV Capacitive Reactive Support (AEP) | 2022-06-01 | 2022-06-01 |  |  | 1131419.38 | 1131419.38
[5 empty] | Total | 2344939.24 | 2344939.24
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded
Parameters Exceeded

## Table4
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
BEPC | Judson 345/230 kV Transformer Ckt 2 | Install second 345/230 kV transformer at Judson and upgrade associated terminal equipment | 2024-06-01 | 2025-04-01 | 8500000
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
NPPD | Antelope - County Line - 115kV Rebuild | Rebuild/Upgrade the Antelope County Line 115kV to rerate line segments to greater than 125 MVA. | 2017-05-01 | 2017-05-01 | 1424.96
NPPD | Battle Creek - County Line 115kV Rebuild | Rebuild/Upgrade the Battle Creek – County Line 115kV to rerate line segments to greater than 125 MVA. | 2017-05-01 | 2017-05-01 | 1359.26
OGE | Border 345 kV Capacitive Reactive Support (OKGE) | Install +275 Mvar Capacitor Bank(s) at Border 345kV | 2020-06-01 | 2020-06-01 | 2453214.82
MKEC | CLIFTON - GREENLEAF 115KV CKT 1 | Rebuild 14.4 miles | 2011-06-01 | 2013-06-01 | 28315.2
WR | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2012-06-01 | 2012-06-01 | 139.2
MKEC | FLATRDG3 - HARPER 138KV CKT 1 | Rebuild 24.15 mile line | 2009-12-01 | 2013-06-01 | 5509.4
MKEC | FLATRDG3 - MEDICINE LODGE 138KV CKT 1 | Rebuild 8.05 mile line | 2009-12-01 | 2013-06-01 | 41623.27
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 2014-10-01 | 2014-10-01 | 53903.16
MKEC | Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | Build appoximately 0.5 mile 115 kV line | 2015-05-01 | 2015-05-01 | 4530.38
OGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 2018-03-01 | 2018-03-01 | 1855104.58
ITCM | HUGO - VALLIANT 345KV CKT 1 | New 19 miles 345 KV | 2012-07-01 | 2012-07-01 | 1605892.26
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 2006-06-01 | 2006-06-01 | 358756.74
MKEC | MEDICINE LODGE - PRATT 115KV CKT 1 | Rebuild 26 mile line | 2009-12-01 | 2009-12-01 | 148372.8
MKEC | MEDICINE LODGE 138/115KV TRANSFORMER CKT 1 | Upgrade transformer | 2009-12-01 | 2013-06-01 | 16179.7
NPPD | Neligh - Petersburg North 115kV Ckt 1 | Replace Breaker 1106, jumpers, & 115kV Switch 1106-D2; Replace Petersburg 115kV Substation main bus; Upgrade and replace transmission structures on 115kV lines TL1168 A & B to facilitate 100 degrees Centigrade line operation | 2012-12-31 | 2012-12-31 | 2226.5
EDE | Neosho - Riverton 161kV Line Rebuild (EMDE) | Rebuild 28.41 miles of 161kV line from Neosho to Riverton and upgrade any necessary terminal equipment | 2023-10-01 | 2023-10-01 | 440318.4
WR | Neosho - Riverton 161kV Line Rebuild (WERE) | Rebuild 2.44 miles of Neosho-Riverton 161kV line using bundled 1590 Lapwing ACSR and OPGW. Remove the wavetrap. | 2023-10-01 | 2023-10-01 | 56064
MKEC | North Ft. Dodge - Spearville 115kV Ckt 2 | Build appoximately 20 mile 115 kV line | 2015-05-01 | 2015-05-01 | 3859.51
OGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 2010-01-01 | 2010-01-01 | 6716567.59
AEP | Oklaunion 345 kV Capacitive Reactive Support (AEP) | Install +200 Mvar Capacitor Bank(s) at Oklaunion 345kV | 2022-06-01 | 2022-06-01 | 5757095.26
MIDW | Rice - Circle 230 kV Ckt 1 (MIDW portion) | ALL WORK REQUIRED TO CONVERT RICE - CIRCLE 115KV TO 230KV OPERATION. INCLUDES NEW 230KV 3 BREAKER RING BUS, AN EXTENSION OF THE 230KV FROM CURRENT RICE STATION TO NEW RICE SUBSTATION, AND ANY ADDITIONAL WORK REQUIRED FOR THE CONVERSION. | 2012-11-07 | 2012-11-07 | 3136.9
WR | Rice - Circle 230 kV Ckt 1 (WR portion) | Install necessary equipment and perform line work at Circle substation to accommodate new bus position. | 2012-11-29 | 2012-11-29 | 4150.9
MIDW | Rice County 230/115 kV transformer Ckt 1 | Install 230/115 kV transformer at Rice County. | 2012-10-01 | 2012-10-01 | 8715.6
MKEC | Spearville 345/115 kV Transformer CKT 1 | Spearville Substation - Add 345/115kV autotransformer and 345kV and 115kV terminal positions for autotransformer. | 2015-05-01 | 2015-05-01 | 6420.35
EDE | SUB 110 - ORONOGO JCT. - SUB 452 - RIVERTON 161KV CKT 1 | Reconductor Oronogo 59467 to Riverton 59469 with Bundled 556 ACSR | 2011-06-01 | 2011-06-01 | 5344.8
OGE | Woodward District EHV 345kV Substation | 345kV line terminal including two (2) 345kV circuit breakers, line relaying, disconnect switches, and associated equipment | 2016-10-03 | 2016-10-03 | 1029040.74
OGE | Woodward EHV 138kV Phase Shifting Transformer circuit #1 | Install one (1) 138 kV phase shifting transformer along with upgrading relay, protective, and metering equipment, and all associated and miscellaneous materials. | 2017-08-02 | 2017-08-02 | 568267.18
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | UpgradeName | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
None

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Judson 345/230 kV Transformer Ckt 2 | BEPM | AG2-2023-001 | 101436920 | 0.4636% | 39406.2814
Judson 345/230 kV Transformer Ckt 2 | BEPM | AG2-2023-003 | 101436969 | 39.81% | 3384237.4874
Judson 345/230 kV Transformer Ckt 2 | BEPM | AG2-2023-004 | 101436995 | 39.81% | 3384237.4874
Judson 345/230 kV Transformer Ckt 2 | BEPM | AG2-2023-005 | 101436999 | 19.91% | 1692118.7437
|  |  |  | Total: | 8500000