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From:	Power Delivery Planning, Minnkota Power Cooperative, Inc.
Date:	6/24/2026
Re:	MPC Affected Systems Study of SPP’s DISIS-2023 Cluster

On June 16, 2025, Minnkota Power Cooperative (“MPC”) completed an Affected Systems (AFS) study of Southwest Power Pool’s (“SPP”) DISIS-2023 cluster study. MPC then provided a copy of the study report to SPP and SPP posted the report on its website on August 22, 2025 (“MPC AFS Study Report”). The projects evaluated by MPC and included in the MPC AFS Report included below:
· GEN-2023-062 
· GEN-2023-097 
· GEN-2023-105 
· GEN-2023-182 

As indicated in the MPC AFS Report, only two projects, GEN-2023-062 and GEN-2023-097, were assigned Network Upgrades, which involved a line rebuild on the Drayton-Lake Ardoch 230 kV line. However, all four projects listed above were subsequently withdrawn from SPP’s generator interconnection queue. With these withdrawals, the Network Upgrades previously assigned in the MPC AFS study no longer apply.

As a result of the withdrawal of the projects identified above, no remaining DISIS-2023 projects are allocated to MPC Network Upgrades. Therefore, the MPC AFS Study Report as posted on SPP’s website is obsolete. This memorandum serves as an addendum to document the withdrawals noted above and to remove all Network Upgrades previously assigned by MPC for projects in SPP’s 2023 cluster study.          
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