## Executive Summary
Executive Summary: SPP-2024-AG2-AFS-1
Pursuant to the Southwest Power Pool (SPP) Open Access Transmission Tariff (OATT), SPP has conducted this Aggregate Transmission Service Study (ATSS) for transmission service requests received during the ATSS Open Season which closed on November 30, 2024. The principal objective of the AFS is to identify system problems and potential modifications necessary to facilitate these transfers while maintaining or improving system reliability, as well as summarizing the operating limits and determination of the financial characteristics associated with facility upgrades. Facility upgrade costs are allocated on a prorated basis to all requests positively impacting any individual overloaded facility. The study results for the transmission service requests included in this Aggregate Study iteration are displayed in this workbook. This workbook provides a convenient method to sort and analyze required study data. The Aggregate Studies Manual Version 1.0 posted on opsportal.spp.org/Studies/Trans contains details about the Aggregate Study process, methodology, definitions, and useful links. Please review the Aggregate Studies Manual or contact ts@spp.org for more information about the study process.
Aggregate Study Manual Version 1.0
https://opsportal.spp.org/documents/studies/Aggregate_Study_Manual_20230718_clean.docx
This Aggregate Study iteration analyzes the impact of new transmission service totaling:
2,511 MW
Models Used in Study
2025 ITP Series
Winter: 2025, 2026, 2027, 2029, 2034
Summer: 2025, 2026, 2027, 2029, 2034
Light Load: 2026, 2029, 2034
By: SPP Transmission Services Department
Published: March 31, 2025

## Revision History
Revision History
Date | Author | Change Description
2025-03-31 | SPP | Original Report

## Table1
Customer | Study Number | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date without interim redispatch (Parameter 5) | Deferred Stop Date without interim redispatch | Start Date with interim redispatch | Stop Date with interim redispatch | ⁵One or More Study Parameters Exceeded
AECC | AG2-2024-001 | 104466080 | CSWS | OKGE | 51 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | NO
AECC | AG2-2024-002 | 104466104 | CSWS | OKGE | 51 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | NO
BEPM | AG2-2024-003 | 104500844 | WAUE | NPPD | 157 | 2025-06-01 | 2031-06-01 | 2025-06-01 | 2031-06-01 | 2025-06-01 | 2031-06-01 | NO
BRPS | AG2-2024-004 | 104569021 | NPPD | NPPD | 4 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | YES
BRPS | AG2-2024-005 | 104569051 | NPPD | NPPD | 4 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | NO
BRPS | AG2-2024-006 | 104569765 | MPS | NPPD | 35 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | YES
ETEC | AG2-2024-007 | 104410475 | CSWS | CSWS | 114 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | Note 4 | Note 4 | NO
ETEC | AG2-2024-008 | 104410485 | CSWS | CSWS | 114 | 2031-04-01 | 2040-06-01 | 2031-04-01 | 2040-06-01 | Note 4 | Note 4 | NO
ETEC | AG2-2024-009 | 104410559 | CSWS | CSWS | 36 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | Note 4 | Note 4 | NO
ETEC | AG2-2024-010 | 104410578 | CSWS | CSWS | 36 | 2031-04-01 | 2040-06-01 | 2031-04-01 | 2040-06-01 | Note 4 | Note 4 | NO
GPW1 | AG2-2024-011 | 104591934 | SPS | SPS | 126 | 2025-09-01 | 2026-09-01 | 2025-09-01 | 2026-09-01 | Note 4 | Note 4 | NO
GRDA | AG2-2024-012 | 104592720 | WFEC | OKGE | 85 | 2026-06-01 | 2041-06-01 | 2026-06-01 | 2041-06-01 | 2026-06-01 | 2041-06-01 | YES
GRDA | AG2-2024-013 | 104592682 | OKGE | OKGE | 220 | 2026-01-01 | 2041-01-01 | 2026-01-01 | 2041-01-01 | 2026-01-01 | 2041-01-01 | YES
KCPS | AG2-2024-014 | 104466011 | KCPL | WR | 18 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-015 | 104467169 | WR | WR | 1 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-016 | 104568815 | MPS | WR | 5 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-017 | 104569703 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-018 | 104569705 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-019 | 104569714 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-020 | 104569750 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KCPS | AG2-2024-021 | 104569753 | MPS | WR | 45 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | NO
KEPC | AG2-2024-022 | 104590860 | N/A | WR | 5 | 2025-06-01 | 2045-12-01 | 2025-06-01 | 2045-12-01 | 2025-06-01 | 2045-12-01 | NO
KPP | AG2-2024-023 | 104578939 | WR | WR | 5 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | Note 4 | Note 4 | NO
NMCA | AG2-2024-024 | 104541564 | WAUE | WAUE | 46 | 2025-06-01 | 2034-01-01 | 2025-06-01 | 2034-01-01 | Note 4 | Note 4 | YES
NWPS | AG2-2024-025 | 104448554 | SPRM | WAUE | 20 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | Note 4 | Note 4 | YES
NPPM | AG2-2024-026 | 104543483 | NPPD | NPPD | 3 | 2025-06-01 | 2036-01-01 | 2025-06-01 | 2036-01-01 | Note 4 | Note 4 | NO
NPPM | AG2-2024-027 | 104543734 | NPPD | NPPD | 6 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | Note 4 | Note 4 | NO
NPPM | AG2-2024-028 | 104543795 | NPPD | NPPD | 14 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | Note 4 | Note 4 | NO
NPPM | AG2-2024-029 | 104543833 | NPPD | NPPD | 20 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | Note 4 | Note 4 | NO
OGE | AG2-2024-033 | 104531843 | OKGE | OKGE | 11 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | Note 4 | Note 4 | NO
OGE | AG2-2024-034 | 104531866 | OKGE | OKGE | 9 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | Note 4 | Note 4 | NO
OGE | AG2-2024-045 | 104543096 | OKGE | OKGE | 27 | 2025-06-01 | 2040-12-01 | 2025-06-01 | 2040-12-01 | Note 4 | Note 4 | NO
OGE | AG2-2024-046 | 104543109 | OKGE | OKGE | 10 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | Note 4 | Note 4 | NO
OGE | AG2-2024-052 | 104569395 | OKGE | OKGE | 40 | 2025-06-01 | 2047-09-01 | 2026-12-01 | 2049-03-01 | Note 4 | Note 4 | YES
SECI | AG2-2024-055 | 104572834 | SECI | WR | 20 | 2025-06-01 | 2033-06-01 | 2025-06-01 | 2033-06-01 | 2025-06-01 | 2033-06-01 | NO
TNSK | AG2-2024-056 | 104466676 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2024-057 | 104466699 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2024-058 | 104466725 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2024-059 | 104466738 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | NO
TNSK | AG2-2024-060 | 104466745 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | NO
TNSK | AG2-2024-061 | 104466749 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-062 | 104466778 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-063 | 104466795 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-064 | 104466801 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-065 | 104466815 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-066 | 104466843 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
TNSK | AG2-2024-067 | 104466845 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | NO
WFEC | AG2-2024-068 | 104518032 | OKGE | WFEC | 52 | 2025-12-01 | 2035-01-01 | 2025-12-01 | 2035-01-01 | Note 4 | Note 4 | NO
WFEC | AG2-2024-069 | 104518045 | OKGE | WFEC | 250 | 2025-12-01 | 2035-01-01 | 2025-12-01 | 2035-01-01 | Note 4 | Note 4 | NO
WRGS | AG2-2024-070 | 104449152 | WR | WR | 3 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | NO
WRGS | AG2-2024-071 | 104449198 | KCPL | WR | 18 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | NO
WRGS | AG2-2024-072 | 103056291 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2030-12-01 | 2032-02-01 | 2030-12-01 | 2032-02-01 | YES
2511
Note 1: Start and Stop Dates with interim redispatch are determined based on customers choosing option to pursue redispatch to start service at Requested Start and Stop Dates or earliest date possible.
Note 2: Start dates with and without redispatch are based on the assumed completion dates of previous Aggregate Transmission Service Studies currently being conducted. Actual start dates may differ from the potential start dates upon completion of the previous studies.
Note 3: Request is unable to be deferred due to fixed stop dates.
Note 4: Transmission customer did not select “remain in the study using interim redispatch” option.
Note 5: Request paramaters have been exceeded.

## Table2
Customer | Study Number | Reservation | Engineering and Construction Cost of Upgrades Allocated to Customer for Revenue Requirements | 1Letter of Credit Amount Required (Parameter 4) | 2Potential Base Plan Engineering and Construction Funding Allowable | Notes | 4Additional Engineering and Construction Cost for 3rd Party Upgrades (Parameter 2) | 3Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation NOT COVERED by Base Plan Funding | 3,5Total Revenue Requirements for Assigned Service Upgrades Over Term of Reservation COVERED by Base Plan Funding | 6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period NOT COVERED by Base Plan Funding | 5,6,7Total Gross CPOs for Creditable Upgrades Over Reservation Period COVERED by Base Plan Funding | 4,9Point-to-Point Base Rate Available to Offset Revenue Requirements Over Reservation Period | 4Total Cost of Reservation Assignable to Customer Contingent Upon Base Plan Funding | Directly Assigned Upgrade Cost (DAUC) (Parameter 1)
AECC | AG2-2024-001 | 104466080 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
AECC | AG2-2024-002 | 104466104 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BEPM | AG2-2024-003 | 104500844 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
BRPS | AG2-2024-004 | 104569021 | 8260.69 | 0 | 0 |  | 0 | 0 | 0 | 11662.56 | 0 | 0 | 11662.56 | 8260.69
BRPS | AG2-2024-005 | 104569051 | 8260.69 | 0 | 0 |  | 0 | 0 | 0 | 11662.56 | 0 | 0 | 11662.56 | 8260.69
BRPS | AG2-2024-006 | 104569765 | 17441.16 | 0 | 0 |  | 0 | 0 | 0 | 121228.56 | 0 | 0 | 121228.56 | 17441.16
ETEC | AG2-2024-007 | 104410475 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
ETEC | AG2-2024-008 | 104410485 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
ETEC | AG2-2024-009 | 104410559 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
ETEC | AG2-2024-010 | 104410578 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
GPW1 | AG2-2024-011 | 104591934 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 9205665.336 | 9205665.336 | 0
GRDA | AG2-2024-012 | 104592720 | 1878243.3 | 1523597 | 0 | 10 | 0 | 4256838.67 | 0 | 3077557.2 | 0 | 0 | 7334395.87 | 1878243.3
GRDA | AG2-2024-013 | 104592682 | 4167774.37 | 2976403 | 0 | 10 | 0 | 8040945.58 | 0 | 3532172.4 | 0 | 0 | 11573117.98 | 4167774.37
KCPS | AG2-2024-014 | 104466011 | 7375.36 | 0 | 7375.36 |  | 0 | 0 | 0 | 0 | 91257.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-015 | 104467169 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-016 | 104568815 | 42506.3 | 0 | 42506.3 |  | 0 | 0 | 0 | 0 | 99228.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-017 | 104569703 | 41036.02 | 0 | 41036.02 |  | 0 | 0 | 0 | 0 | 306921.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-018 | 104569705 | 41036.02 | 0 | 41036.02 |  | 0 | 0 | 0 | 0 | 306921.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-019 | 104569714 | 41036.02 | 0 | 41036.02 |  | 0 | 0 | 0 | 0 | 306921.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-020 | 104569750 | 41036.02 | 0 | 41036.02 |  | 0 | 0 | 0 | 0 | 306921.6 | 0 | Schedule 9 & 11 Charges | 0
KCPS | AG2-2024-021 | 104569753 | 36931.56 | 0 | 36931.56 |  | 0 | 0 | 0 | 0 | 276223.2 | 0 | Schedule 9 & 11 Charges | 0
KEPC | AG2-2024-022 | 104590860 | 225.69 | 0 | 225.69 |  | 0 | 0 | 0 | 0 | 4878.18 | 0 | Schedule 9 & 11 Charges | 0
KPP | AG2-2024-023 | 104578939 | 38594.91 | 0 | 38594.91 |  | 0 | 0 | 0 | 0 | 85192.8 | 0 | Schedule 9 & 11 Charges | 0
NMCA | AG2-2024-024 | 104541564 | 2725448.94 | 0 | 0 |  | 0 | 0 | 0 | 3630673.78 | 0 | 0 | 3630673.78 | 2725448.94
NWPS | AG2-2024-025 | 104448554 | 31112.27 | 0 | 0 |  | 0 | 0 | 0 | 61082.76 | 0 | 0 | 61082.76 | 31112.27
NPPM | AG2-2024-026 | 104543483 | 3701.87 | 0 | 3701.87 |  | 0 | 0 | 0 | 0 | 6596.38 | 0 | Schedule 9 & 11 Charges | 0
NPPM | AG2-2024-027 | 104543734 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
NPPM | AG2-2024-028 | 104543795 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
NPPM | AG2-2024-029 | 104543833 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OGE | AG2-2024-033 | 104531843 | 29637 | 0 | 29637 | 10 | 0 | 0 | 107116.29 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OGE | AG2-2024-034 | 104531866 | 24247 | 0 | 24247 | 10 | 0 | 0 | 87635.33 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OGE | AG2-2024-045 | 104543096 | 56866 | 0 | 56866 | 10 | 0 | 0 | 164329.05 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OGE | AG2-2024-046 | 104543109 | 21064 | 0 | 21064 | 10 | 0 | 0 | 76131.1 | 0 | 0 | 0 | Schedule 9 & 11 Charges | 0
OGE | AG2-2024-052 | 104569395 | 1592182.49 | 0 | 1592182.49 | 10 | 0 | 0 | 6838071.48 | 0 | 168658.56 | 0 | Schedule 9 & 11 Charges | 0
SECI | AG2-2024-055 | 104572834 | 343439.23 | 0 | 343439.23 |  | 0 | 0 | 0 | 0 | 560273.28 | 0 | Schedule 9 & 11 Charges | 0
TNSK | AG2-2024-056 | 104466676 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-057 | 104466699 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-058 | 104466725 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-059 | 104466738 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-060 | 104466745 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-061 | 104466749 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-062 | 104466778 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-063 | 104466795 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-064 | 104466801 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-065 | 104466815 | 1253993.44 | 0 | 0 |  | 0 | 0 | 0 | 1253993.44 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-066 | 104466843 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 5200702.5 | 5200702.5 | 0
TNSK | AG2-2024-067 | 104466845 | 1266059.06 | 0 | 0 |  | 0 | 0 | 0 | 1266059.06 | 0 | 5200702.5 | 5200702.5 | 0
WFEC | AG2-2024-068 | 104518032 | 572038 | 0 | 572038 | 10 | 0 | 0 | 767961.96 | 0 | 900500.23 | 0 | Schedule 9 & 11 Charges | 0
WFEC | AG2-2024-069 | 104518045 | 2650206.34 | 0 | 2650206.34 | 10 | 0 | 0 | 3692102.83 | 0 | 4164440.92 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2024-070 | 104449152 | 10261.78 | 0 | 10261.78 |  | 0 | 0 | 0 | 0 | 17973.6 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2024-071 | 104449198 | 69261.17 | 0 | 69261.17 |  | 0 | 0 | 0 | 0 | 210213.6 | 0 | Schedule 9 & 11 Charges | 0
WRGS | AG2-2024-072 | 103056291 | 35000000 | 35000000 | 0 | 10 | 0 | 70000000 | 0 | 0 | 0 | 5200702.5 | 70000000 | 35000000
Grand Total |  |  | 52019276.7 |  | 5662682.78 |  |  | 82297784.25 | 11733348.04 | 12966092.32 | 7813123.35 |  |  | 43836541.42
Note 1: Letter of Credit required for financial security for transmission owner for network upgrades is determined by allocated engineering and construction costs less engineering and construction costs for upgrades when network customer is the transmission owner less the E & C allocation of expedited projects. Letter of Credit is required for upgrades assigned to PTP requests. The amount of the letter of credit will be adjusted down on an annual basis to reflect cost recovery based on revenue allocation. This letter of credit is not required for those facilities that are fully base plan funded. The Letter Of Credit Amount listed is based on meeting OATT Attachment J requirements for base plan funding.
Note 2: If potential base plan funding is applicable, this value is the lesser of the Engineering and Construction costs of assignable upgrades or the value of base plan funding calculated pursuant to Attachment J, Section III B criteria. Allocation of base plan funding is contingent upon verification of customer agreements meeting Attachment J, Section II B criteria. Not applicable if Point-to-Point base rate exceeds revenue requirements.
Note 3: Revenue Requirements (RR) are based upon deferred end dates if applicable. Deferred dates are based upon customer's choice to pursue redispatch. Achievable Base Plan Avoided RR in the case of a Base Plan upgrade being displaced or deferred by an earlier in service date for a Requested Upgrade shall be determined per Attachment J, Section VII.C methodology. Assumption of a 40 year service life is utilized for Base Plan funded projects. A present worth analysis of RR on a common year basis between the Base Plan and Requested Upgrades was performed to determine avoided Base Plan RR due to the displacement or deferral of the Base Plan upgrade by the Requested Upgrade. The incremental increase in present worth of a Requested Upgrade on a common year basis as a Base Plan upgrade is assigned to the transmission requests impacting the upgrade based on the displacement or deferral. If the displacement analysis results in lower RR due to the shorter amortization period of the requested upgrade when compared to a base plan amortization period, then no direct assignment of the upgrade cost is made due to the displacement to an earlier start date.
Note 4: For Point-to-Point requests, total cost is based on the higher of the base rate OR assigned upgrade revenue requirements. For Network requests, the total cost is based on the directly assigned upgrade revenue requirements AND Schedules 1, 1A, 2, 9, 11, & 12 charges. Network cost amounts populated in this column are reduced by offsets (if available) from base plan funding, which is determined using Attachment J, Section II B Criteria. Additionally E & C of 3rd Party upgrades is assignable to Customer. This includes prepayments required for any SWPA upgrades. Revenue requirements for 3rd Party facilities are not calculated. Total cost to customer is based on assumption of Revenue Requirements with confirmation of base plan funding. Customer is responsible for negotiating redispatch costs if applicable. Customer is also responsible to pay credits for previously assigned upgrades that are impacted by their request. Credits can be paid from base plan funding if applicable.
Note 5: RR with base plan funding may increase or decrease even if no base plan funding is applicable to a particular request if another request that shares the upgrade is now full base plan funded resulting in a different amortization period for the upgrade and thus different RR.
Note 6: RR for creditable upgrades.
Note 7: CPOs for creditable upgrades may be calculated based on estimated upgrade cost and are subject to change.
Note 8: CPOs for creditable upgrade(s) may be required based on completion of GI review.
Note 9: Point-To-Point Base Rate used to offset Revenue Requirements are calculated using the following available rate(s): Schedule 7, Schedule 11 Base Plan Zonal, Schedule 11 Base Plan Regional. The ancillary rates (Schedules 1, 1A, 2, and 12) are not included in the Point-to-Point Base Rate. These rate(s) are subject to change.
Note 10: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.

## Table3
Customer | Study Number
AECC | AG2-2024-001
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AECC | 104466080 | CSWS | OKGE | 51 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466080 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
AECC | AG2-2024-002
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
AECC | 104466104 | CSWS | OKGE | 51 | 2025-12-01 | 2030-12-01 | 2025-12-01 | 2030-12-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466104 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
BEPM | AG2-2024-003
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BEPM | 104500844 | WAUE | NPPD | 157 | 2025-06-01 | 2031-06-01 | 2025-06-01 | 2031-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104500844 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
BRPS | AG2-2024-004
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 104569021 | NPPD | NPPD | 4 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 0 | 0 | 8260.69 | 11662.56
[9 empty] | 0 | 0 | 8260.69 | 11662.56
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569021 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569021 | Antelope - County Line - 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 2769.66 | 3762.36
| Battle Creek - County Line 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 2642.01 | 3588.96
| Neligh - Petersburg North 115kV Ckt 1 | 2012-12-31 | 2012-12-31 |  |  | 2617.39 | 4013.52
| Twin Church - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 231.63 | 297.72
[5 empty] | Total | 8260.69 | 11662.56
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG2-2024-005
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 104569051 | NPPD | NPPD | 4 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 0 | 0 | 8260.69 | 11662.56
[9 empty] | 0 | 0 | 8260.69 | 11662.56
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569051 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569051 | Antelope - County Line - 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 2769.66 | 3762.36
| Battle Creek - County Line 115kV Rebuild | 2017-05-01 | 2017-05-01 |  |  | 2642.01 | 3588.96
| Neligh - Petersburg North 115kV Ckt 1 | 2012-12-31 | 2012-12-31 |  |  | 2617.39 | 4013.52
| Twin Church - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 231.63 | 297.72
[5 empty] | Total | 8260.69 | 11662.56
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
BRPS | AG2-2024-006
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
BRPS | 104569765 | MPS | NPPD | 35 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 0 | 0 | 17441.16 | 121228.56
[9 empty] | 0 | 0 | 17441.16 | 121228.56
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569765 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569765 | CLIFTON - GREENLEAF 115KV CKT 1 | 2011-06-01 | 2013-06-01 |  |  | 14709.01 | 110716.68
| GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | 2013-06-01 | 2013-06-01 |  |  | 1121.46 | 8441.4
| Twin Church - Dixon County 230kV Line Upgrade | 2015-10-24 | 2015-10-24 |  |  | 1610.69 | 2070.48
[5 empty] | Total | 17441.16 | 121228.56
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
ETEC | AG2-2024-007
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 104410475 | CSWS | CSWS | 114 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104410475 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
ETEC | AG2-2024-008
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 104410485 | CSWS | CSWS | 114 | 2031-04-01 | 2040-06-01 | 2031-04-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104410485 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
ETEC | AG2-2024-009
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 104410559 | CSWS | CSWS | 36 | 2025-06-01 | 2040-06-01 | 2025-06-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104410559 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
ETEC | AG2-2024-010
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
ETEC | 104410578 | CSWS | CSWS | 36 | 2031-04-01 | 2040-06-01 | 2031-04-01 | 2040-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104410578 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
GPW1 | AG2-2024-011
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GPW1 | 104591934 | SPS | SPS | 126 | 2025-09-01 | 2026-09-01 | 2025-09-01 | 2026-09-01 | 0 | 9205665.336 | 0 | 0
[9 empty] | 0 | 9205665.336 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104591934 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
GRDA | AG2-2024-012
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDA | 104592720 | WFEC | OKGE | 85 | 2026-06-01 | 2041-06-01 | 2026-06-01 | 2041-06-01 | 0 | 0 | 1878243.3 | 7334395.866
[9 empty] | 0 | 0 | 1878243.3 | 7334395.866
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104592720 | Reconductor 21St Tap - Mingo North 138kV | 2034-06-01 | 2034-06-01 | 2028-06-01 |  | 1523597 | 4500000 | 4256838.666
[5 empty] | Total | 1523597 | 4500000 | 4256838.67
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104592720 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 102545.81 | 1016838
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 198216.04 | 1951516.8
| MCNAB REC - Turk 115KV CKT 1 #2 (AEP) | 2011-12-01 | 2011-12-01 |  |  | 44024.18 | 89218.8
| TURK 138/115KV TRANSFORMER CKT 1 | 2011-12-01 | 2011-12-01 |  |  | 9860.27 | 19983.6
[5 empty] | Total | 354646.3 | 3077557.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
GRDA | AG2-2024-013
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
GRDA | 104592682 | OKGE | OKGE | 220 | 2026-01-01 | 2041-01-01 | 2026-01-01 | 2041-01-01 | 0 | 0 | 4167774.37 | 11573117.982
[9 empty] | 0 | 0 | 4167774.37 | 11573117.982
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104592682 | Reconductor 21St Tap - Mingo North 138kV | 2034-06-01 | 2034-06-01 | 2028-06-01 |  | 2976403 | 4500000 | 8040945.582
[5 empty] | Total | 2976403 | 4500000 | 8040945.58
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
104592682 | Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 0 | 103607.14 | 103607.14 | 195863.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 951946.84 | 951946.84 | 2959057.8
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 0 | 135817.39 | 135817.39 | 377251.2
[5 empty] | Total | 0 | 1191371.37 | 1191371.37 | 3532172.4
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
KCPS | AG2-2024-014
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104466011 | KCPL | WR | 18 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 7375.36 | 0 | 7375.36 | 91257.6
[9 empty] | 7375.36 | 0 | 7375.36 | 91257.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466011 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104466011 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 7375.36 | 91257.6
[5 empty] | Total | 7375.36 | 91257.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-015
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104467169 | WR | WR | 1 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104467169 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
KCPS | AG2-2024-016
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104568815 | MPS | WR | 5 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 42506.3 | 0 | 42506.3 | 99228.6
[9 empty] | 42506.3 | 0 | 42506.3 | 99228.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104568815 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104568815 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 3.29 | 18
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 827.2 | 10235.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 36474.37 | 78918.6
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 5201.44 | 10056.6
[5 empty] | Total | 42506.3 | 99228.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-017
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104569703 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 41036.02 | 0 | 41036.02 | 306921.6
[9 empty] | 41036.02 | 0 | 41036.02 | 306921.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569703 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569703 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 23835.38 | 150142.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 5455.19 | 67498.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 11745.45 | 89280.6
[5 empty] | Total | 41036.02 | 306921.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-018
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104569705 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 41036.02 | 0 | 41036.02 | 306921.6
[9 empty] | 41036.02 | 0 | 41036.02 | 306921.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569705 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569705 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 23835.38 | 150142.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 5455.19 | 67498.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 11745.45 | 89280.6
[5 empty] | Total | 41036.02 | 306921.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-019
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104569714 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 41036.02 | 0 | 41036.02 | 306921.6
[9 empty] | 41036.02 | 0 | 41036.02 | 306921.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569714 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569714 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 23835.38 | 150142.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 5455.19 | 67498.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 11745.45 | 89280.6
[5 empty] | Total | 41036.02 | 306921.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-020
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104569750 | MPS | WR | 50 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 41036.02 | 0 | 41036.02 | 306921.6
[9 empty] | 41036.02 | 0 | 41036.02 | 306921.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569750 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569750 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 23835.38 | 150142.2
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 5455.19 | 67498.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 11745.45 | 89280.6
[5 empty] | Total | 41036.02 | 306921.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KCPS | AG2-2024-021
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KCPS | 104569753 | MPS | WR | 45 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 36931.56 | 0 | 36931.56 | 276223.2
[9 empty] | 36931.56 | 0 | 36931.56 | 276223.2
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569753 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569753 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 21451.78 | 135127.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 4909.66 | 60748.8
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 10570.12 | 80346.6
[5 empty] | Total | 36931.56 | 276223.2
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KEPC | AG2-2024-022
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KEPC | 104590860 | N/A | WR | 5 | 2025-06-01 | 2045-12-01 | 2025-06-01 | 2045-12-01 | 225.69 | 0 | 225.69 | 4878.18
[9 empty] | 225.69 | 0 | 225.69 | 4878.18
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104590860 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104590860 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 225.69 | 4878.18
[5 empty] | Total | 225.69 | 4878.18
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
KPP | AG2-2024-023
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
KPP | 104578939 | WR | WR | 5 | 2025-06-01 | 2030-06-01 | 2025-06-01 | 2030-06-01 | 38594.91 | 0 | 38594.91 | 85192.8
[9 empty] | 38594.91 | 0 | 38594.91 | 85192.8
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104578939 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104578939 | DEARING 138KV | 2012-06-01 | 2012-06-01 |  |  | 3.11 | 16.8
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 272 | 3365.4
| Neosho - Riverton 161kV Line Rebuild (EMDE) | 2023-10-01 | 2023-10-01 |  |  | 33537.22 | 72564
| Neosho - Riverton 161kV Line Rebuild (WERE) | 2023-10-01 | 2023-10-01 |  |  | 4782.58 | 9246.6
[5 empty] | Total | 38594.91 | 85192.8
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NMCA | AG2-2024-024
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NMCA | 104541564 | WAUE | WAUE | 46 | 2025-06-01 | 2034-01-01 | 2025-06-01 | 2034-01-01 | 0 | 0 | 2725448.94 | 3630673.78
[9 empty] | 0 | 0 | 2725448.94 | 3630673.78
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104541564 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Base Plan Funding for Wind | Directly Assigned for Wind | Allocated E & C Cost | Total Revenue Requirements
104541564 | Kelly - Madison County 230kV Ckt 1 | 2014-11-01 | 2014-11-01 |  |  | 0 | 14980.64 | 14980.64 | 24929.09
| MAURINE - NEWELL - ELK CREEK - RAPID CITY 115 KV | 2020-02-28 | 2020-02-28 |  |  | 0 | 756185.27 | 756185.27 | 1005955.68
| Sulphur 115 kV Switchyard - Butte Addition (SANU) | 2020-09-15 | 2020-09-15 |  |  | 0 | 1954283.03 | 1954283.03 | 2599789.01
[5 empty] | Total | 0 | 2725448.94 | 2725448.94 | 3630673.78
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NWPS | AG2-2024-025
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NWPS | 104448554 | SPRM | WAUE | 20 | 2025-06-01 | 2026-06-01 | 2025-06-01 | 2026-06-01 | 0 | 0 | 31112.27 | 61082.76
[9 empty] | 0 | 0 | 31112.27 | 61082.76
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104448554 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104448554 | Fort Randall - Madison County 230kV Ckt 1 | 2014-10-01 | 2014-10-01 |  |  | 29426.06 | 43449.96
| LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 1686.21 | 17632.8
[5 empty] | Total | 31112.27 | 61082.76
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NPPM | AG2-2024-026
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NPPM | 104543483 | NPPD | NPPD | 3 | 2025-06-01 | 2036-01-01 | 2025-06-01 | 2036-01-01 | 3701.87 | 0 | 3701.87 | 6596.38
[9 empty] | 3701.87 | 0 | 3701.87 | 6596.38
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543483 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104543483 | Neligh - Petersburg North 115kV Ckt 1 | 2012-12-31 | 2012-12-31 |  |  | 3701.87 | 6596.38
[5 empty] | Total | 3701.87 | 6596.38
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
NPPM | AG2-2024-027
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NPPM | 104543734 | NPPD | NPPD | 6 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543734 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
NPPM | AG2-2024-028
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NPPM | 104543795 | NPPD | NPPD | 14 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543795 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
NPPM | AG2-2024-029
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
NPPM | 104543833 | NPPD | NPPD | 20 | 2025-06-01 | 2029-06-01 | 2025-06-01 | 2029-06-01 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543833 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
OGE | AG2-2024-033
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 104531843 | OKGE | OKGE | 11 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | 29637 | 0 | 29637 | 107116.2882
[9 empty] | 29637 | 0 | 29637 | 107116.2882
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104531843 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 29637 | 2000000 | 107116.2882
[5 empty] | Total | 29637 | 2000000 | 107116.29
*Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
OGE | AG2-2024-034
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 104531866 | OKGE | OKGE | 9 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | 24247 | 0 | 24247 | 87635.3274
[9 empty] | 24247 | 0 | 24247 | 87635.3274
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104531866 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 24247 | 2000000 | 87635.3274
[5 empty] | Total | 24247 | 2000000 | 87635.33
*Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
OGE | AG2-2024-045
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 104543096 | OKGE | OKGE | 27 | 2025-06-01 | 2040-12-01 | 2025-06-01 | 2040-12-01 | 56866 | 0 | 56866 | 164329.047
[9 empty] | 56866 | 0 | 56866 | 164329.047
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543096 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 56866 | 2000000 | 164329.047
[5 empty] | Total | 56866 | 2000000 | 164329.05
*Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
OGE | AG2-2024-046
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 104543109 | OKGE | OKGE | 10 | 2025-06-01 | 2047-09-01 | 2025-06-01 | 2047-09-01 | 21064 | 0 | 21064 | 76131.0984
[9 empty] | 21064 | 0 | 21064 | 76131.0984
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104543109 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 21064 | 2000000 | 76131.0984
[5 empty] | Total | 21064 | 2000000 | 76131.1
*Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
OGE | AG2-2024-052
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
OGE | 104569395 | OKGE | OKGE | 40 | 2025-06-01 | 2047-09-01 | 2026-12-01 | 2049-03-01 | 1592182.49 | 0 | 1592182.49 | 7006730.0382
[9 empty] | 1592182.49 | 0 | 1592182.49 | 7006730.0382
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104569395 | AES Cogen & Tarby 115kV Terminal Upgrades | 2026-04-01 | 2026-12-01 |  |  | 1566485 | 1566485 | 6838071.4782
[5 empty] | Total | 1566485 | 1566485 | 6838071.48
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104569395 | BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | 2009-06-01 | 2009-06-01 |  |  | 612.03 | 10319.55
| EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | 2009-03-23 | 2009-03-23 |  |  | 1703.46 | 23851.11
| EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | 2009-06-01 | 2009-06-01 |  |  | 1265.8 | 21341.31
| HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 5878.85 | 76685.07
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 16237.35 | 36461.52
[5 empty] | Total | 25697.49 | 168658.56
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
SECI | AG2-2024-055
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
SECI | 104572834 | SECI | WR | 20 | 2025-06-01 | 2033-06-01 | 2025-06-01 | 2033-06-01 | 343439.23 | 0 | 343439.23 | 560273.28
[9 empty] | 343439.23 | 0 | 343439.23 | 560273.28
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104572834 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104572834 | Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | 2015-05-01 | 2015-05-01 |  |  | 64249.34 | 101208.96
| North Ft. Dodge - Spearville 115kV Ckt 2 | 2015-05-01 | 2015-05-01 |  |  | 47776.91 | 75261.12
| Rice - Circle 230 kV Ckt 1 (MIDW portion) | 2012-11-07 | 2012-11-07 |  |  | 39811.93 | 68183.04
| Rice - Circle 230 kV Ckt 1 (WR portion) | 2012-11-29 | 2012-11-29 |  |  | 52828.18 | 90231.36
| Rice - Lyons 115 kV Ckt 1 | 2013-04-01 | 2013-04-01 |  |  | 59297.22 | 100194.24
| Spearville 345/115 kV Transformer CKT 1 | 2015-05-01 | 2015-05-01 |  |  | 79475.65 | 125194.56
[5 empty] | Total | 343439.23 | 560273.28
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
TNSK | AG2-2024-056
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466676 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466676 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-057
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466699 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466699 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-058
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466725 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466725 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-059
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466738 | CSWS | ERCOTE | 50 | 2025-07-01 | 2026-09-01 | 2025-07-01 | 2026-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466738 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-060
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466745 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2026-07-01 | 2027-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466745 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-061
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466749 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466749 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-062
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466778 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466778 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-063
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466795 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466795 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-064
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466801 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466801 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-065
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466815 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 1253993.44 | 1253993.44
[9 empty] | 0 | 5200702.5 | 1253993.44 | 1253993.44
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466815 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104466815 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 907418.54 | 907418.54
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 163458.12 | 163458.12
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 183116.78 | 183116.78
[5 empty] | Total | 1253993.44 | 1253993.44
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
TNSK | AG2-2024-066
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466843 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 0 | 0
[9 empty] | 0 | 5200702.5 | 0 | 0
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466843 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Customer | Study Number
TNSK | AG2-2024-067
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
TNSK | 104466845 | CSWS | ERCOTE | 50 | 2027-07-01 | 2028-09-01 | 2027-07-01 | 2028-09-01 | 0 | 5200702.5 | 1266059.06 | 1266059.06
[9 empty] | 0 | 5200702.5 | 1266059.06 | 1266059.06
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104466845 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104466845 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 896081.06 | 896081.06
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 161117.74 | 161117.74
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 208860.26 | 208860.26
[5 empty] | Total | 1266059.06 | 1266059.06
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WFEC | AG2-2024-068
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 104518032 | OKGE | WFEC | 52 | 2025-12-01 | 2035-01-01 | 2025-12-01 | 2035-01-01 | 572038 | 0 | 572038 | 1668462.1934
[9 empty] | 572038 | 0 | 572038 | 1668462.1934
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104518032 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 321676 | 2000000 | 767961.9634
[5 empty] | Total | 321676 | 2000000 | 767961.96
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104518032 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 7162.82 | 55123.48
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 9370.34 | 71598.83
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 147867.78 | 248416.45
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 50270.32 | 466496.02
| Renfrow-Renfrow Tap 138kV Ckt 1 | 2017-09-25 | 2017-09-25 |  |  | 35690.74 | 58865.45
[5 empty] | Total | 250362 | 900500.23
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
WFEC | AG2-2024-069
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WFEC | 104518045 | OKGE | WFEC | 250 | 2025-12-01 | 2035-01-01 | 2025-12-01 | 2035-01-01 | 2650206.34 | 0 | 2650206.34 | 7856543.747
[9 empty] | 2650206.34 | 0 | 2650206.34 | 7856543.747
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104518045 | Reconductor Midwest - Franklin 138kV Line | 2034-06-01 | 2034-06-01 | 2027-06-01 |  | 1546510 | 2000000 | 3692102.827
[5 empty] | Total | 1546510 | 2000000 | 3692102.83
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104518045 | HUGO - VALLIANT 345KV CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 34436.76 | 265016.06
| HUGO 345/138KV TRANSFORMER CKT 1 | 2012-07-01 | 2012-07-01 |  |  | 45050.12 | 344228.54
| Kingfisher Co Tap - Mathewson 345kV CKT 1 | 2018-03-01 | 2018-03-01 |  |  | 710902.13 | 1194309.73
| NORTHWEST - WOODWARD 345KV CKT 1 | 2010-01-01 | 2010-01-01 |  |  | 241682.33 | 2242753.48
| Renfrow-Renfrow Tap 138kV Ckt 1 | 2017-09-25 | 2017-09-25 |  |  | 71625 | 118133.11
[5 empty] | Total | 1103696.34 | 4164440.92
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
**Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.
Customer | Study Number
WRGS | AG2-2024-070
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 104449152 | WR | WR | 3 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | 10261.78 | 0 | 10261.78 | 17973.6
[9 empty] | 10261.78 | 0 | 10261.78 | 17973.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104449152 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104449152 | Rice - Lyons 115 kV Ckt 1 | 2013-04-01 | 2013-04-01 |  |  | 7028.13 | 12247.2
| Rice County 230/115 kV transformer Ckt 1 | 2012-10-01 | 2012-10-01 |  |  | 3233.65 | 5726.4
[5 empty] | Total | 10261.78 | 17973.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2024-071
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 104449198 | KCPL | WR | 18 | 2025-06-01 | 2035-06-01 | 2025-06-01 | 2035-06-01 | 69261.17 | 0 | 69261.17 | 210213.6
[9 empty] | 69261.17 | 0 | 69261.17 | 210213.6
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
104449198 | None |  |  |  |  | 0 | 0 | 0
[5 empty] | Total | 0 | 0 | 0
Credits may be required for the following Network Upgrades in accordance with Attachment Z2 of the SPP OATT.
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total Revenue Requirements
104449198 | LACYGNE - WEST GARDNER 345KV CKT 1 | 2006-06-01 | 2006-06-01 |  |  | 6684.04 | 100610.4
| Rice - Lyons 115 kV Ckt 1 | 2013-04-01 | 2013-04-01 |  |  | 42882.92 | 74725.2
| Rice County 230/115 kV transformer Ckt 1 | 2012-10-01 | 2012-10-01 |  |  | 19694.21 | 34878
[5 empty] | Total | 69261.17 | 210213.6
*Note: CPOs may be calculated based on estimated upgrade cost and are subject to change.
Customer | Study Number
WRGS | AG2-2024-072
Customer | Reservation | POR | POD | Requested Amount | Requested Start Date | Requested Stop Date | Deferred Start Date Without Redispatch | Deferred Stop Date Without Redispatch | Potential Base Plan Funding Allowable | Point-to-Point Base Rate | Allocated E & C Cost | Total Revenue Requirements
WRGS | 103056291 | CSWS | ERCOTE | 50 | 2026-07-01 | 2027-09-01 | 2030-12-01 | 2032-02-01 | 0 | 5200702.5 | 35000000 | 70000000
[9 empty] | 0 | 5200702.5 | 35000000 | 70000000
Reservation | Upgrade Name | DUN | EOC | Earliest Start Date | Redispatch Available | Allocated E & C Cost | Total E & C Cost | Total Revenue Requirements
103056291 | ERCOT East DC Tie Upgrade | 2026-07-01 | 2030-12-01 | 2030-12-01 |  | 35000000 | 35000000 | 70000000
[5 empty] | Total | 35000000 | 35000000 | 70000000
*Note: Upgrade cost and RR may increase or decrease due to estimated assumptions and is subject to change.

## Table4
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
AEPW | Reconductor 21St Tap - Mingo North 138kV | Reconductor 0.64 mile of 138 kV conductor and replace double-circuit towers | 2034-06-01 | 2034-06-01 | 4500000
OGE | AES Cogen & Tarby 115kV Terminal Upgrades | Upgrade various CT ratios, upgrade line switch and various jumpers at Tarby and AES Cogen. AEP CT coordination | 2026-04-01 | 2026-12-01 | 1566485
OGE | Reconductor Midwest - Franklin 138kV Line | Rebuild 1.3 miles of 138kV to 2000A 478MVA SN/SE/WN/WE | 2034-06-01 | 2034-06-01 | 2000000
AEPW | ERCOT East DC Tie Upgrade | Add additional 50 MW DC tie | 2026-07-01 | 2030-12-01 | 35000000
Network Upgrades requiring credits per Attachment Z2 of the SPP OATT.
Transmission Owner | Upgrade | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Total Gross CPO Allocation
AEP | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (AEP) | Reconductor 1.82 miles with ACCC. Replace wave trap jumpers at Riverside. | 2009-03-23 | 2009-03-23 | 23851.11
AEP | MCNAB REC - Turk 115KV CKT 1 #2 (AEP) | Build a new two mile, 138kV, 1590 ACSR line section (operated at 115kV) from Turk Substation to the existing Okay-Hope 115kV line to form a Turk - Hope 115kV line. | 2011-12-01 | 2011-12-01 | 89218.8
AEP | TURK 138/115KV TRANSFORMER CKT 1 | Build Turk 138-115 kV station and relocate autotransformer (and spare) from Patterson to this new Turk station | 2011-12-01 | 2011-12-01 | 19983.6
EDE | Neosho - Riverton 161kV Line Rebuild (EMDE) | Rebuild 28.41 miles of 161kV line from Neosho to Riverton and upgrade any necessary terminal equipment | 2023-10-01 | 2023-10-01 | 3110540.4
ITCM | HUGO - VALLIANT 345KV CKT 1 | New 19 miles 345 KV | 2012-07-01 | 2012-07-01 | 3952858.81
ITCM | HUGO 345/138KV TRANSFORMER CKT 1 | New 345/138 kv Auto | 2012-07-01 | 2012-07-01 | 2691920.03
KCPL | LACYGNE - WEST GARDNER 345KV CKT 1 | KCPL Sponsored Project to Reconductor Line to be In-Service by 6/1/2006 | 2006-06-01 | 2006-06-01 | 558723.78
MIDW | Rice - Circle 230 kV Ckt 1 (MIDW portion) | ALL WORK REQUIRED TO CONVERT RICE - CIRCLE 115KV TO 230KV OPERATION. INCLUDES NEW 230KV 3 BREAKER RING BUS, AN EXTENSION OF THE 230KV FROM CURRENT RICE STATION TO NEW RICE SUBSTATION, AND ANY ADDITIONAL WORK REQUIRED FOR THE CONVERSION. | 2012-11-07 | 2012-11-07 | 68183.04
MIDW | Rice - Lyons 115 kV Ckt 1 | Rebuild and extend 115 kV transmission line from existing Rice Co. substation to new Rice Co. substation, including engineering, surveying, and modification of existing easements as required. | 2013-04-01 | 2013-04-01 | 187166.64
MIDW | Rice County 230/115 kV transformer Ckt 1 | Install 230/115 kV transformer at Rice County. | 2012-10-01 | 2012-10-01 | 40604.4
MKEC | CLIFTON - GREENLEAF 115KV CKT 1 | Rebuild 14.4 miles | 2011-06-01 | 2013-06-01 | 110716.68
MKEC | Ft. Dodge - North Ft. Dodge 115 kV Ckt 2 | Build appoximately 0.5 mile 115 kV line | 2015-05-01 | 2015-05-01 | 101208.96
MKEC | GREENLEAF - KNOB HILL 115KV CKT 1 (MKEC) | Rebuild 43.5% Ownership of 20.9 miles | 2013-06-01 | 2013-06-01 | 8441.4
MKEC | North Ft. Dodge - Spearville 115kV Ckt 2 | Build appoximately 20 mile 115 kV line | 2015-05-01 | 2015-05-01 | 75261.12
MKEC | Spearville 345/115 kV Transformer CKT 1 | Spearville Substation - Add 345/115kV autotransformer and 345kV and 115kV terminal positions for autotransformer. Needed as Network Upgrade for GEN-2008-079 but cost shared with GEN-2006-006. - Update! GEN-2006-006 withdrawn, sole cost to GEN-2008-079. | 2015-05-01 | 2015-05-01 | 125194.56
NPPD | Antelope - County Line - 115kV Rebuild | Rebuild/Upgrade the Antelope GÇô County Line 115kV to rerate line segments to greater than 125 MVA. | 2017-05-01 | 2017-05-01 | 7524.72
NPPD | Battle Creek - County Line 115kV Rebuild | Rebuild/Upgrade the Battle Creek – County Line 115kV to rerate line segments to greater than 125 MVA. | 2017-05-01 | 2017-05-01 | 7177.92
NPPD | Fort Randall - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320 MVA | 2014-10-01 | 2014-10-01 | 43449.96
NPPD | Kelly - Madison County 230kV Ckt 1 | Raise structures and line clearances as necessary to re-rate the transmission line to 320MVA | 2014-11-01 | 2014-11-01 | 24929.09
NPPD | Neligh - Petersburg North 115kV Ckt 1 | Replace Breaker 1106, jumpers, & 115kV Switch 1106-D2; Replace Petersburg 115kV Substation main bus; Upgrade and replace transmission structures on 115kV lines TL1168 A & B to facilitate 100 degrees Centigrade line operation | 2012-12-31 | 2012-12-31 | 14623.42
NPPD | Twin Church - Dixon County 230kV Line Upgrade | Increase clearances to accommodate 320MVA facility rating | 2015-10-24 | 2015-10-24 | 2665.92
OGE | BEELINE - EXPLORER GLENPOOL 138KV CKT 1 | Reconductor .92miles of line with Drake ACCC/TW. | 2009-06-01 | 2009-06-01 | 10319.55
OGE | EXPLORER GLENPOOL - RIVERSIDE STATION 138KV CKT 1 (OGE) | Reconductor 1.82 miles line with Drake ACCC/TW. | 2009-06-01 | 2009-06-01 | 21341.31
OGE | Kingfisher Co Tap - Mathewson 345kV CKT 1 | Replace terminal equipment to achieve conductor limit | 2018-03-01 | 2018-03-01 | 2067028.14
OGE | NORTHWEST - WOODWARD 345KV CKT 1 | Build 345 kV line | 2010-01-01 | 2010-01-01 | 3146718.5
OGE | Renfrow-Renfrow Tap 138kV Ckt 1 | Replace terminal equipment. | 2017-09-25 | 2017-09-25 | 176998.56
WAPA | MAURINE - NEWELL - ELK CREEK - RAPID CITY 115 KV | Replace thirty-five (35) 115 kV transmission structures. Replace the 115 kV strain bus, circuit switchers, and jumpers at Newell. Reset relays. Replace the main and transfer 115 kV buses of Rapid City substation, transfer bay, and transmission line bay | 2020-02-28 | 2020-02-28 | 1005955.68
WAPA | Sulphur 115 kV Switchyard - Butte Addition (SANU) | Construct new 115 kV switchyard in a three breaker ring bus configuration. Construction to include the addition of three (3) 115 kV power circuit breakers, four (4) 115 kV disconnect switches, two (2) 115 kV disconnect switches with ground blades, instrument transformers, associated control and protection equipment, control building, high voltage bus, transmission line take-off structures, and conductor. | 2020-09-15 | 2020-09-15 | 2599789.01
WR | DEARING 138KV | Dearing 138 kV 20 MVAR Capacitor Addition | 2012-06-01 | 2012-06-01 | 34.8
WR | Neosho - Riverton 161kV Line Rebuild (WERE) | Rebuild 2.44 miles of Neosho-Riverton 161kV line using bundled 1590 Lapwing ACSR and OPGW. Remove the wavetrap. | 2023-10-01 | 2023-10-01 | 396554.4
WR | Rice - Circle 230 kV Ckt 1 (WR portion) | Install necessary equipment and perform line work at Circle substation to accommodate new bus position. | 2012-11-29 | 2012-11-29 | 90231.36
*Note: CPOs may be calculated based on upgrade(s) currently in study and/or estimated upgrade cost(s), which may be subject to change.

## Table5
Transmission Owner | UpgradeName | Solution | Earliest Date Upgrade Required (DUN) | Estimated Date of Upgrade Completion (EOC) | Estimated Engineering & Construction Cost
None

## Table6
Reserved

## Table7
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
AES Cogen & Tarby 115kV Terminal Upgrades | OGE | AG2-2024-052 | 104569395 | 100% | 1566485
|  |  |  | Total: | 1566485
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Reconductor 21St Tap - Mingo North 138kV | GRDA | AG2-2024-012 | 104592720 | 33.86% | 1523596.7357
Reconductor 21St Tap - Mingo North 138kV | GRDA | AG2-2024-013 | 104592682 | 66.14% | 2976403.2643
|  |  |  | Total: | 4500000
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
Reconductor Midwest - Franklin 138kV Line | OGE | AG2-2024-033 | 104531843 | 1.482% | 29636.8248
Reconductor Midwest - Franklin 138kV Line | OGE | AG2-2024-034 | 104531866 | 1.212% | 24246.8715
Reconductor Midwest - Franklin 138kV Line | OGE | AG2-2024-045 | 104543096 | 2.843% | 56866.3835
Reconductor Midwest - Franklin 138kV Line | OGE | AG2-2024-046 | 104543109 | 1.053% | 21063.5787
Reconductor Midwest - Franklin 138kV Line | WFEC | AG2-2024-068 | 104518032 | 16.08% | 321676.2174
Reconductor Midwest - Franklin 138kV Line | WFEC | AG2-2024-069 | 104518045 | 77.33% | 1546510.124
|  |  |  | Total: | 2000000
Upgrade Name | Customer | Study Number | Reservation | Allocation Percentage | Allocated E & C Cost
ERCOT East DC Tie Upgrade | WRGS | AG2-2024-072 | 103056291 | 100% | 35000000
|  |  |  | Total: | 35000000