western area power administration – rocky mountain region

Transferred Facilities

Table 1

| Transmission Lines/Equipment | Description | Balancing Authority Area |
| --- | --- | --- |
| Yellowtail-Yellowtail (PACE) 230kV | YT-PY | PACE |
| Thermopolis-Badwater 230kV | THE-BDW | PACE |
| Badwater-Buffalo Head 230kV | BDW-BHD | PACE |
| Buffalo Head-Spence 230kV | BHD-SCE | PACE |
| Spence-Casper 230kV | SCE-CPL | PACE |
| North Range-Warren 115kV | NOG-WAF | BHE |

Table 2

| Substations | Facilities ID, Description | Balancing Authority Area |
| --- | --- | --- |
| Buffalo Head Switchyard | BHD 230kV (WAPA-RMR) | PACE |
| Badwater Substation | BDW 230kV (WAPA-RMR) | BHE |
| Spence Substation | SCE 230kV (WAPA-RMR) | BHE |
| Dave Johnston | DJ 230kV (TS MBPP) | PACE |
| Yellowtail (PACE) | YT, WAPA owned 230kV line to and equipment inside Yellowtail (PACE) | PACE |
| Happy Jack Substation | HJ, WAPA-RMR portion of WAPA owned 115kV facilities (162, 362, 562) | BHE |

Table 3

| Non-Western Substations | Facility ID, Description | Balancing Authority Area |
| --- | --- | --- |
| Warren Substation | WAF 115kV | BHE |