tri-state generation and transmission association, inc.

list of Transferred Facilities

Table 1

| Transmission Lines/Equipment | Description | Balancing Authority Area |
| --- | --- | --- |
| Hayden – Gore Pass – Blue River 230kV | HDN-GORP-BLUE | PSCO |
| Greenhouse – JM Shafer 230kV | GHSE-JMSH | PSCO |
| Rifle (WAPA) – Rifle (UTE) 230kV | RIFL-RIFP | PSCO |
| Four Corners – San Juan 345kV | FOURCORNE345-SJ345 | PNM |
| Shiprock 345 kV – San Juan 345kV | SHIPROCK345-SJ345 | PNM |

Table 2

| Substations | Facilities ID, Description | Balancing Authority Area |
| --- | --- | --- |
| Blue River | BLUE, 230kV Line Bay and associated breaker (5533) | PSCO |
| Dave Johnston | DJ, 230kV Line Bay and associated breakers (1H244, 1H268) | PACE |
| Gore Pass | GORP, All 230kV assets | PSCO |
| Henry Lake | HNLK, All 230kV assets and 230/115kV transformer | PSCO |
| JM Shafer | JMSH, All 230kV assets | PSCO |
| Mill | MILL, 230kV Line Bay and associated breaker (8053) | PSCO |
| Reunion | REUN, All 230kV assets and 230/115kV transformer | PSCO |
| Rifle (UTE) | RIFP, Capacity share of 230/138kV and 138/69kV transformers and associated terminal equipment | PSCO |